MONTREAL PROTOCOL

ON SUBSTANCES THAT DEPLETE

THE OZONE LAYER

[image: image48.png]AS MIT4 - Total demand HFC (kt CO2)
1400000

1200000

1000000

800 000

600 000

400 000

200 000

0
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

BMAC WDOMESTIC mCommRef =INDUSTRIAL BTRANSPORT M SAC





UNEP

Report Of The

Technology and Economic Assessment Panel

March 2016
Decision XXVII/4 Task Force Report

Further Information on Alternatives to 
Ozone-Depleting Substances

UNEP

March 2016 Report of the

Technology and Economic

Assessment Panel

 Decision XXVII/4 Task Force Report 

Further Information on Alternatives

to Ozone-Depleting Substances

Montreal Protocol

On Substances that Deplete the Ozone Layer

Report of the

UNEP Technology and Economic Assessment Panel

March 2016
Decision XXVII/4 Task Force Report:

Further Information on Alternatives to Ozone Depleting Substances
The text of this report is composed in Times New Roman.

Co-ordination:
TEAP and its XXVII/4 Task Force 
Composition and layout:
Lambert Kuijpers 

Final formatting:
Ozone Secretariat and Lambert Kuijpers
Reproduction:
UNON Nairobi

Date:
March 2016
Under certain conditions, printed copies of this report are available from:

UNITED NATIONS ENVIRONMENT PROGRAMME
Ozone Secretariat, P.O. Box 30552, Nairobi, Kenya

This document is also available in electronic form from http:// ozone.unep.org/en/assessment-panels/technology-and-economic-assessment-panel
No copyright involved. This publication may be freely copied, abstracted and cited, with acknowledgement of the source of the material.
ISBN: 978-9966-076-17-5
UNEP

March 2016 Report of the

Technology and Economic

Assessment Panel

 Decision XXVII/4 Task Force Report 

Further Information on Alternatives 

to Ozone-Depleting Substances
DISCLAIMER

The United Nations Environment Programme (UNEP), the Technology and Economic Assessment Panel (TEAP) co-chairs and members, the Technical Options Committee, chairs, co-chairs and members, the TEAP Task Forces co-chairs and members, and the companies and organisations that employ them do not endorse the performance, worker safety, or environmental acceptability of any of the technical options discussed. Every industrial operation requires consideration of worker safety and proper disposal of contaminants and waste products. Moreover, as work continues - including additional toxicity evaluation - more information on health, environmental and safety effects of alternatives and replacements will become available for use in selecting among the options discussed in this document.

UNEP, the TEAP co-chairs and members, the Technical Options Committee, chairs, co-chairs and members, and the Technology and Economic Assessment Panel Task Forces co-chairs and members, in furnishing or distributing the information that follows, do not make any warranty or representation, either express or implied, with respect to the accuracy, completeness, or utility; nor do they assume any liability of any kind whatsoever resulting from the use or reliance upon any information, material, or procedure contained herein.

Although all statements and information contained in this XXVII/4 report are believed to be accurate and reliable, they are presented without guarantee or warranty of any kind, expressed or implied. Information provided herein does not relieve the reader from the responsibility of carrying out its own tests and experiments, and the reader assumes all responsibility for use of the information and results obtained. Statements or suggestions concerning the use of materials and processes are made without representation or warranty that any such use is free of patent infringement and are not recommendations to infringe on any patents. The user should not assume that all toxicity data and safety measures are indicated herein or that other measures may not be required.
ACKNOWLEDGEMENT

The UNEP Technology and Economic Assessment Panel and the XXVII/4 Task Force co-chairs and members wish to express thanks to all who contributed from governments, both Article 5 and non-Article 5, furthermore in particular to the Ozone Secretariat and the Multilateral Fund Secretariat, as well as to a large number of individuals involved in Protocol issues, without whose involvement this Update Task Force report would not have been possible.

The opinions expressed are those of the Panel and its Task Force and do not necessarily reflect the reviews of any sponsoring or supporting organisation.

Preface
This report is a follow up to the September 2015 TEAP XXVI/9 Update Task Force Report, submitted to the 27th Meeting of the Parties in Dubai, November 2025.
This March 2016 TEAP XXVII/4 Task Force report is being submitted by the TEAP to the 37th Meeting of the Open-ended Working Group of the Parties to the Montreal Protocol, Geneva,                        4-8 April 2016. 

 The UNEP Technology and Economic Assessment Panel (TEAP):

	Bella Maranion, co-chair
	USA
	Keiichi Ohnishi
	J

	Marta Pizano, co-chair
	COL
	Fabio Polonara
	I

	Ashley Woodcock, co-chair
	UK
	Roberto Peixoto
	BRA

	Mohamed Besri
	MOR
	Jose Pons-Pons
	VEN

	Suely Carvalho
	BRA
	Ian Porter
	AUS

	David Catchpole
	UK
	Helen Tope
	AUS

	Marco Gonzalez
	CR
	Dan Verdonik
	USA

	Sergey Kopylov
	RF
	Shiqiu Zhang
	PRC

	Lambert Kuijpers
	NL
	Jianjun Zhang
	PRC


UNEP

March 2016 Report of the

Technology and Economic Assessment Panel

Decision XXVII/4 Task Force Report 

Further Information on Alternatives 

to Ozone-Depleting Substances
Table of Contents
Page

viiPreface

Executive summary
1
ES1.
  Introduction
1
ES2.
  Update on the status of refrigerants
1
ES3.
  Suitability of alternatives under high ambient temperature (HAT) conditions
2
ES4.
  BAU and mitigation demand scenarios for R/AC
3
1
Introduction
7
1.1
Terms of Reference for the XXVII/4 Task Force report
7
1.2
Scope and coverage
7
1.3
Composition of the Task Force and approach
8
2
Update of the status on refrigerants
11
2.1
 Introduction
11
2.2
 Refrigerant data
11
2.3
 Refrigerant classification and standards
18
2.4
 Likelihood of new molecules and new radically different blends
18
2.5
 Road to availability of alternative refrigerants
19
2.6
 Energy efficiency in relation to refrigerants
20
2.7
 Climate impact related to refrigerants
21
2.8
The GWP classification issue
22
2.9
 References
23
3
Suitability of Alternatives under High Ambient Temperature  (HAT) Conditions
27
3.1 
 HAT considerations
27
3.2
Testing at HAT conditions
28
3.2.1
PRAHA and EGYPRA projects
28
3.2.2 
ORNL project
29
3.2.3 
AREP project
31
3.2.4
Common remarks on the three testing projects
32
3.3 
Further considerations
34
3.4
References
35
4
BAU and MIT scenarios for Article 5 and non-Article 5 Parties for 1990-2050: Refrigeration and Air Conditioning
38
4.1
 Expansion of scenarios
38
4.2 
 Method used for calculation
39
4.3 
 HFC consumption and production data
40
4.4
 Non-Article 5 scenarios up to 2050
42
4.4.1
BAU scenario
42
4.4.2 
MIT-3 scenario
44
4.4.3 
MIT-5 scenario
46
4.5 
 Article 5 scenarios
48
4.5.1
BAU scenario
48
4.5.2
MIT-3 scenario
51
4.5.3 
Impact of manufacturing conversion periods in the MIT-3 scenario
52
4.5.4
MIT-4 scenario
53
4.5.5
Impact of manufacturing conversion periods in the MIT-4 scenario
55
4.5.6
MIT-5 scenario
56
4.5.7
Impact of manufacturing conversion periods in the MIT-5 scenario
57
4.6 
Refrigerant demand and mitigation benefit numbers
58
4.7
 References
66
5
List of acronyms and abbreviations
67
Annex 1 - Updated Tables for total, new manufacturing, and servicing demand
69



Executive summary

ES1.
  Introduction 
· In response to Decision XXVII/4, this report provides an update from TEAP of information on alternatives to ozone-depleting substances listed in the September 2015 Update XXVI/9 Task Force report and considering the specific parameters outlined in the current Decision. 

· Given that Parties will hold two Open-ended Working Group (OEWG) meetings this year, the short timeframe until OEWG-37 in April (focusing on discussion of Decision XXVII/1 on matters related to hydrofluorocarbons (HFCs)), TEAP has taken the approach to provide two reports responding to Decision XXVII/4. This first March 2016 report submitted to the OEWG-37 focuses on the refrigeration and air conditioning (R/AC) sector, and includes updates on alternatives, testing on alternatives under high ambient temperature conditions, discussion of other parameters outlined in the decision, and an extension of the mitigation scenarios to 2050. 
· This report also provides revised scenarios of avoiding high-GWP refrigerants and considers how the start date for conversion (2020 versus 2025) and the length of conversion over the extended period affect overall costs and climate impacts. 

· A second report will be submitted for OEWG-38 providing updates as new information will become available as well as any updates based on feedback received on the first report at OEWG-37. It will also cover the other sectors (foams, fire protection, metered dose inhalers (MDIs), other medical and non-medical aerosols, and solvents) and other topics not covered in the first report (e.g., alternatives for refrigeration systems on fishing vessels). 
The following sections ES2, ES3 and ES4 further elaborate on the highlights and provide the technical summaries of the report’s three main chapters.
ES2.
  Update on the status of refrigerants 

· Chapter 2 mentions 80 fluids which have either been proposed or are being tested in industry programmes, or are pending publication, or have been published in ISO 817 and ASHRAE 34 refrigerant standards since the 2014 RTOC Assessment Report. The majority of these are new mixtures, but traditional fluids and two new molecules are also included. Chapter 2 includes discussions on how refrigerants are classified in refrigerant standards and why safety has become more important.

· There are alternative refrigerants available today with negligible ODP and lower GWP, however, for some applications it can be challenging to reach the same lifetime cost level of the conventional systems while keeping the same performance and size. The search for new alternative fluids may yield more economical solutions, but the prospects of discovering new, radically different fluids are minimal.

· Market dynamics are critical in the rate of adoption of new refrigerants. There is a limit to the number of different refrigerants that a market (customers, sales channels, service companies) can manage. Hence, companies will be selective about where they launch a product, avoiding areas which are saturated, and promoting sales where they see the greatest market potential. 
· It is difficult to assign energy efficiency to a refrigerant, because energy efficiency of refrigeration systems is in addition to the refrigerant choice and further related to system configuration and component efficiencies. One approach when assessing the energy efficiency related to a refrigerant is to start with a specific refrigerant and use a system architecture suitable for this refrigerant, while comparing with a reference system for the refrigerant to be replaced. Other approaches screen alternative refrigerants suitable for a given system architecture. The common methods can be divided into: theoretical and semi-theoretical cycle simulations, detailed equipment simulation models, and laboratory tests of the equipment. In practice the achievable energy efficiency is limited by the cost of the system, as the success in the market depends on a cost-performance trade-off.

· The difficulties in assessing the total warming impact related to refrigerants is discussed, including the difficulty of defining low global warming potential and assessing the energy efficiency related to the use of a refrigerant.

· Total climate impact related to refrigerants consists of direct and indirect contributions. The direct contribution is a function of a refrigerant’s GWP, charge amount, emissions due to leakage from the air-conditioning and refrigeration equipment and those associated with the service and disposal of the equipment. The definition of the qualifiers “high”, “medium” and “low” in relation to GWP is a qualitative, non-technical choice related to what is acceptable in specific applications. The indirect contribution accounts for the kg CO2-equivalent emissions generated during the production of the energy consumed by the refrigeration, air- conditioning, and heat pump (RAC&HP) equipment, its operating characteristics, which includes the emissions factor of the local electricity production. In addition, since the indirect contribution (the largest contributor in very low to no leakage or “tight systems”) is a function of energy consumption, it is affected by the operating conditions, operating profile, system capacity, system hardware, among others, which makes a comparison difficult in many instances.

ES3.
  Suitability of alternatives under high ambient temperature (HAT) conditions 
· Chapter 3 updates information on research projects testing alternative refrigerants at HAT conditions and on the design of products using alternatives in new and retrofit applications.

· Results from the three projects, PRAHA, AREP-II, and ORNL, indicate a way forward in the search for efficient low-GWP alternatives for high ambient temperature conditions especially when coupled with a full system redesign.  The scope of the research for AREP-II and ORNL mostly covered soft-optimized testing (i.e., adjusted expansion device or adjusted charge amount). While the PRAHA project included a change of compressors, suppliers did not custom-design those compressors for the particular applications. 

· Further improvements are likely through optimizing heat exchangers circuitry for heat transfer properties and proper compressor sizing and selection.

· Full  redesign of systems, including new components, will likely be needed to realise systems, using new alternative refrigerants, to match the performance of existing systems in both capacity as well as energy efficiency. When selecting new refrigerants it is important to consider further increases on the current energy efficiency requirements.

· While the commercialization process of refrigerants can take up to ten years, the commercialization of products using these alternatives will take further time.
· In HAT conditions, the cooling load of a conditioned space can be up to three times that for moderate climates. Therefore larger capacity refrigeration systems may be needed which implies a larger refrigerant charge. Due to the requirements for charge limitation according to certain safety standards, the possible product portfolio suitable for HAT conditions is more limited than for average climate conditions when using the same safety standards.

· Although risk assessment work on flammable refrigerants is an on-going research in some countries, there is a need for a comprehensive risk assessment for A2L & A3 alternatives at installation, servicing and decommissioning at HAT conditions.  

ES4.
  BAU and mitigation demand scenarios for R/AC
· The revised scenarios in this report include an extension of the timescale used from the year 2030 to 2050 and a consideration of the BAU scenario for non-Article 5 countries that includes the EU F-gas regulation as well as the US HFC regulations for specific sectors and sub-sectors. The mitigation scenarios remain the same as in the September 2015 XXVI/9 report as follows:
· MIT-3: conversion of new manufacturing by 2020 (completed in non-Article 5 Parties; starting in Article 5 Parties) 
· MIT-4: same as MIT-3 with delayed conversion of stationary AC to 2025 
· MIT-5: conversion of new manufacturing by 2025 (completed in non-Article 5 Parties; starting in Article 5 Parties)
· These scenarios (in principle for the R/AC sector only) were cross-checked against current estimated HFC production data that became available in May 2015 (June and September XXVI/9 Task Force report) and shortly thereafter. Estimates made for the 2015 global production of the four main HFCs
 are presented in the table below (some revisions were made in this report); it shows an upper limit for the combined total of about 510 ktonnes.

	Chemical
	Best estimate for global HFC production in year 2015 (ktonnes)

	HFC-32
	94

	HFC-125
	130

	HFC-134a
	253

	HFC-143a
	28


· Over the period 2015-2050, the revised BAU scenario shows  
· 250% growth in the demand in tonnes and in tonnes CO2-eq. in non-Article 5 Parties;

· 700% growth in tonnes and a 800% growth in tonnes CO2-eq. in Article 5 Parties;

· Growth in demand in the stationary AC and the commercial refrigeration sub-sectors is particularly significant where the stationary AC sub-sector is the one determining the total HFC demand in the sum of the four main HFCs used in R/AC. The total global R/AC demand is calculated to be about 510 ktonnes for the year 2015 for these four HFCs.

· Conversion period: the longer the conversion period in mitigation scenarios, the greater the climate impacts (see MIT-3 or MIT-5 from 6 to 12 years) and the resulting overall costs in particular because of continuing servicing needs. 
Delaying the start of conversion: MIT-3 assumes that conversion in all sub-sectors starts in 2020, MIT-5 assumes that conversion starts in 2025. In terms of overall climate impact, the total integrated HFC demand for the R/AC sector in Article 5 Parties over the period 2020-2030 was previously estimated in the different scenarios as follows:
· BAU: 

16,000 Mt CO2 eq.

· MIT-3:   
  6,500 Mt CO2 eq.; a 60% reduction to BAU (2020-2030)

· MIT-4:   
  9,800 Mt CO2 eq.; a 40% reduction to BAU (2020-2030)

· MIT-5:

12,000 Mt CO2 eq.; a 30% reduction to BAU (2020-2030)

· With the scenarios extended to 2050 in this report, the BAU demand for the extended period 2020-2050 increases almost five-fold. In this context, although the differences in reduction between the various mitigation scenarios MIT-3, -4 and -5 remain large, they become proportionately less compared to BAU. Consideration of the intermediate period 2020-2040 may provide a more realistic estimate of the savings that can be realised via the various MIT scenarios in Article 5 countries. The total integrated HFC demand for the R/AC sector in Article 5 Parties over 2020-2040 is as follows:  

· BAU: 

42,300 Mt CO2-eq. 

· MIT-3:

10,600 Mt CO2-eq.; a 75% reduction to BAU (2020-2040)
· MIT-4:   
15,600 Mt CO2-eq.: a 63% reduction to BAU (2020-2040)

· MIT-5:

18,800 Mt CO2-eq.; a 56% reduction to BAU (2020-2040)

·  The MIT-3 and MIT-5 scenarios are given for all Parties, but predominantly reflect demand in Article 5 Parties: 

· MIT-3 substantially reduces the high-GWP HFC demand compared to BAU since it addresses all manufacturing conversions in all R/AC sub-sectors as of 2020. As manufacturing with high-GWP refrigerants is phased down, the servicing demand becomes dominant. The stationary AC sub-sector is the principal source of the HFC demand. 

· MIT-5 delays manufacturing conversion of all sub-sectors, including the rapidly expanding stationary AC sector from 2020 until 2025, so that HFC demand initially rises, but then falls as of the year 2025. Servicing rises substantially as a consequence, and persists for much longer than in MIT-3. MIT-5 defers the conversion periods for R/AC sub-sectors and shows the impact of the persisting servicing needs as a result.

· For demand in Article 5 Parties, the following is also of importance: 
· Peak values determined for the refrigerant demand increase with later start of conversion. The peak value for MIT-3 in 2020 is about 820 Mt CO2-eq. The peak value for MIT-4 in the year 2023, with conversion of stationary AC starting in 2025, is 25% higher (at 1025 Mt CO2-eq.), whereas the peak value for demand for MIT-5 in the year 2025 is 62% higher than the one for MIT-3 (at 1330 Mt CO2-eq.). 

· For MIT-3, the average decline over a period of 10 years after the peak year is 5.3% per year (from 820 down to 390 Mt CO2-eq. in 2030), for MIT-4 it is 4.5% per year (from 1025 down to 570 Mt CO2-eq. in 2033) and for MIT-5 it is 5.5% per year (from 1330 down to 605 Mt CO2-eq.). If the freeze year (which coincides with the peak year) is chosen as the starting point, an average annual reduction of 5% in total demand (manufacturing and servicing) seems feasible for all types of scenarios. These values all apply to a manufacturing conversion period of six years.
· For each separate Article 5 country the peak (freeze) values will still be in the same years for the various MIT scenarios considered, however, annual reduction percentages achievable thereafter may be significantly different per country. 

1
Introduction

1.1
Terms of Reference for the XXVII/4 Task Force report

Decision XXVII/4 of the Twenty-seventh Meeting of the Parties requested the Technology and Economic Assessment Panel (TEAP) to prepare a draft report for consideration by the Open-ended Working Group (OEWG) at its thirty–seventh meeting, and thereafter an updated report to be submitted to the Twenty Eighth Meeting of the Parties in 2016. In their discussions prior to adoption of this decision, Parties considered a focus primarily on areas where updates to the September 2015 report of the task force of the TEAP addressing the issues of decision XXVI/9, including with regard to information on the availability of alternatives and to extending the mitigation scenarios from the previous report to 2050.

In Decision XXVII/1, paragraph 1, Parties agreed to “work within the Montreal Protocol to an HFC amendment in 2016 by first resolving challenges by generating solutions in the contact group on the feasibility and ways of managing HFCs during Montreal Protocol meetings.” Further, in paragraph 4 of that decision, Parties agreed to “hold in 2016 a series of Open-ended Working Group meetings and other meetings, including an extraordinary meeting of the parties.” Subsequently, in 2016, Parties will hold the thirty-seventh and thirty-eighth OEWG meetings on 4-8 April and 18-21 July, respectively, along with the third Extraordinary Meeting of the Parties 22-23 July. Given the two OEWG meetings and understanding that the focus of the first OEWG-37 will be on issues related to HFCs, TEAP is providing its response to Decision XXVII/4 in two parts: this first report submitted to OEWG-37 primarily focuses on the refrigeration and air conditioning sector; the second report to be submitted to OEWG-38 will address comments received at OEWG-37 plus focus on updates related to the other sectors including foams, fire protection, medical aerosols, non-medical or technical aerosols, and solvents, where updated information is available to the TEAP. An update report, if appropriate, will be submitted to the Twenty-eighth Meeting of the Parties (MOP-28). The approach taken by TEAP is further discussed below.

1.2
Scope and coverage

The text of Decision XXVII/4 (“Response to the report by the Technology and Economic Assessment Panel on information on alternatives to ozone-depleting substances”), as it relates to this report is as follows: 

Decision XXVII/4: Response to the report by the Technology and Economic Assessment Panel on information on alternatives to ozone-depleting substances

Noting with appreciation the September 2015 report of the task force of the Technology and Economic Assessment Panel addressing the issues listed in subparagraphs 1 (a)–(c) of decision XXVI/9,     
1.
To request the Technology and Economic Assessment Panel, if necessary in consultation with external experts, to prepare a report for consideration by the Open-ended Working Group at its thirty–seventh meeting, and thereafter an updated report to be submitted to the Twenty‑Eighth Meeting of the Parties to the Montreal Protocol on Substances that Deplete the Ozone Layer in 2016, that would: 
(a)
Update, where necessary, and provide new information on alternatives to ozone-depleting substances, including not-in-kind alternatives, based on the guidance and assessment criteria provided in subparagraph 1 (a) of decision XXVI/9, and taking into account the most recent findings on the suitability of alternatives under high-ambient temperatures, highlighting in particular: 

(i) the availability and market penetration of these alternatives in different regions; 


(ii) the availability of alternatives for replacement and retrofit of refrigeration systems in  fishing vessels, including in small island countries;


(iii) new substances in development that could be used as alternatives to ODS and that could become available in the near-future;


(iv) the energy efficiency associated with the use of these alternatives; 


(v) The total warming impact and total costs associated with these alternatives and the systems where they are used;

(b)
Update and extend to 2050 all the scenarios in the Decision XXVI/9 report.
1.3
Composition of the Task Force and approach

The TEAP established a Task Force to prepare the reports responding to Decision XXVII/4. The composition of the Task Force is as follows:

Co-chairs

· Lambert Kuijpers (The Netherlands, Senior Expert member TEAP, RTOC)

· Bella Maranion (USA, co-chair TEAP) 

· Roberto Peixoto (Brazil, co-chair RTOC)

Members:

· Denis Clodic (France, outside expert) 

· Daniel Colbourne (UK, member RTOC)

· Martin Dieryckx (Belgium, member RTOC)
· Piotr Domanski (USA, outside expert (NIST))

· Dave Godwin (USA, member RTOC)

· Bassam Elassaad (Lebanon, member RTOC)

· Armin Hafner (Norway, outside expert)

· Samir Hamed (Jordan, member RTOC)

· D. Mohin Lal (India, member RTOC) 

· Richard Lawton (UK, member RTOC)
· Simon Lee (UK, member FTOC)
· Tingxun Li (PR China, member RTOC)

· Richard Lord (USA, outside expert)

· Carloandrea Malvicino (Italy, member RTOC)

· Keiichi Ohnishi (Japan, co-chair MCTOC)

· Alaa A. Olama (Egypt, member RTOC) 

· Xueqin Pan (France, outside expert)

· Fabio Polonara (Italy, co-chair RTOC) 

· Rajan Rajendran (USA, member RTOC)

· Helen Tope (Australia, co-chair MCTOC)

· Dan Verdonik (USA, co-chair HTOC)

· Samuel Yana-Motta (Peru, member RTOC)

· Asbjørn Vonsild (Denmark, member RTOC)

· Jianjun Zhang (PR China, c-chair MCTOC)

· Shiqiu Zhang (PR China, Senior Expert member TEAP) 
The structure of the TEAP XXVII/4 Task Force Report was considered by the Task Force and also by TEAP prior to the final formulation of this first report. The factors considered include:

· The relatively short period between the delivery of the final XXVII/9 Report (September 2015) and the preparation of the first XXVII/4 Report to be submitted for OEWG-37.

· The similarity of the criteria set out within Decision XXVII/4 and Decision XXVI/9.

· The importance of avoiding too much repetition and bringing focus on updated information from the previous report. 

· Recognition that some sectors (specifically refrigeration, air conditioning and foam) have data which allow for the characterisation of a Business-As-Usual (BAU) case and related mitigation scenarios. Recognition that other sectors (specifically fire protection, solvents and medical uses) do not have reliable data from which relevant mitigation scenarios can be derived or for which mitigation scenarios were not derived. 

Given the two OEWG meetings, the short timeline for OEWG-37, and understanding that the focus of the first OEWG-37 will be on issues related to HFCs, TEAP has taken an approach of providing a response to Decision XXVII/4 as follows:

· For OEWG-37, TEAP is providing this first Task Force report focused on R/AC only addressing the relevant paragraphs under paragraph 1(a) of the decision including updates on alternatives, research studies on alternatives under high ambient temperature conditions, and extension of mitigation scenarios to 2050.

· For OEWG-38, TEAP is providing a second Task Force report that may incorporate updates to the R/AC sector information based on discussions at OEWG-37, and responds to other parts of the decision, including information on alternatives to refrigeration systems on fishing vessels, and updating and extending scenarios for sectors other R/AC to the extent new information is available.

· For MOP-28, TEAP will provide a Task Force update report, as appropriate, following discussions during OEWG-38).

The chapter layout of this first XXVII/4 Task Force report is as follows:

Executive Summary

Chapter 1 – Intro

Chapter 2 – Update on the status of refrigerants

Chapter 3   – Suitability of alternatives under high ambient temperature conditions

Chapter 4   – BAU and MIT scenarios for A5/non-A5 countries for 1990-2050: R/AC
2
Update of the status on refrigerants

2.1

Introduction

This chapter provides updated information on alternatives in the refrigeration and air conditioning sectors since the TEAP Task Force Decision XXVI/9 report, September 2015 (UNEP, 2015) and as requested in Decision XXVII/4. It includes:

· A presentation of 80 fluids that have been proposed for testing or are being tested in industry programmes, are pending publication, or have been published in ISO 817 and ASHRAE 34 refrigerant standards since the 2014 RTOC Assessment Report. The majority of these are new mixtures, but traditional fluids and two new refrigerants based on a new molecule are also included. 

· A description of how refrigerants are classified in the refrigerant standards, while also noting that with the introduction and potential widespread adaptation of refrigerants which are flammable, have higher toxicity and/or operate at notably higher pressures than the conventional ODS refrigerants or alternative non-flammable HFC refrigerants, safety matters have become more important.

· A discussion of the process of making refrigerants available to the market, including the market mechanisms that decides where a refrigerant will be available.

· A discussion the methods of assessing the energy efficiency related to the use of a refrigerant.

· A discussion on the discovery of new refrigerants is included. There are alternative refrigerants available today with negligible ODP and lower GWP, but for some applications it can be challenging to reach the same lifetime cost level of the systems while keeping the same performance or to keep the equipment within a reasonable size. The search for new alternative fluids may yield more economical system designs, but the prospects of discovering new, radically different fluids are minimal.

· A discussion of the total warming impact related to refrigerants is discussed, including the difficulty of defining low global warming potential, which plays an essential role in the total warming impact calculation. 

2.2

Refrigerant data

A total of 80 fluids, new and “old”, are under investigation as alternatives to ODS refrigerants or higher GWP refrigerants (see (UNEP, 2014) for comparison). The fluids have been proposed for testing, are being tested in industry programmes or are pending publication or have been published in ISO 817 (ISO 817:2014) or ASHRAE 34 (ASHRAE 34:2013) since the 2014 RTOC Assessment report (UNEP, 2014). Of the 80 fluids, 11 are pure substances, of which 10 have been published in ISO 817 or ASHRAE 34, while of the 69 mixtures, 55 have publicly known compositions, but only 17 have been published in the ISO 817 or ASHRAE 34 standards, and of these, 11 were included in the RTOC report (UNEP, 2014).

It is expected that after the first introduction of all 80 fluids, testing, development and commercialization will decrease the number of viable candidates. The subsequent increasing number of experiences from the market will likely further narrow down the number of viable lower GWP candidates in the future.

For ease of reference, the names of the five largest industry test programs are provided below:
· AHRI Low-GWP Alternative Refrigerants Evaluation Program (AREP). This project is divided into two phases: Phase I (AREP-I), which is finished, and phase II (AREP-II), which is still ongoing.

· “Promoting low-GWP Refrigerants for Air-Conditioning Sectors in High-Ambient Temperature Countries” (PRAHA)
· “Egyptian Project for Refrigerant Alternatives” (EGYPRA)
· the Oak Ridge National Laboratory (ORNL) “High-Ambient-Temperature Evaluation Program for Low-Global Warming Potential (Low-GWP) Refrigerants”, Phase I (and a new Phase II)
In addition to the programs listed above, several independent or industry-led test campaigns for specific refrigerants are being performed for various applications and climate conditions, for which results will be published when available.

The fluids participating in the five programmes named above and the refrigerants proposed under ASHRAE (ASHRAE, 2015), are presented in Table 2-1 for pure fluids and in Table 2-2 for blends with publicly known compositions. For ease of reference, key properties for selected commonly used refrigerants are given in Table 2-3 and Table 2-4.

The fluids for which composition is not yet public are (with safety class in brackets):

· ARC-1 (A1) and LPR1A (A2L) for replacing HCFC-123;

· BRB36 (A1) for replacing HFC-134a;

· ARM-32c (A1), D542HT (A1), DR-91 (A1), and N-20b (A1) for replacing HCFC-22,    R-407C;

· ARM-20b (A2L) for replacing HCFC-22, R-404A, R-407C;

· ARM-32b (A1), D42Yb (A1), D42Yz (A1), and ARM-25a (A2) for replacing R-404A;

· ARM-71a (A2L) and HPR2A (A2L) for replacing R-410A.

Table 2-1: Pure substances proposed under various test programs and in ASHRAE 34
	Refrigerant Designation
	Proposed to replace
 (from AREP phase I)
	Safety Class
	Participation in
 AREP program
	High ambient programmes for HCFC-22 and R-410A alternatives
	Chemical Formula
	Chemical Name
	Molecular Weight
	Boiling Point (°C)
	ATEL/ODL (kg/m3)
	LFL (kg/m3)
	GWP 100 Year (IPCC5)
	GWP 100 Year (RTOC)
	

	
	
	
	Phase 1
	Phase 2
	PRAHA
	EGYPRA
	US DoE
	
	
	
	
	
	
	
	
	

	HFC-32
	R-404A, R-410A×
	A2L
	X
	X
	X
	X
	X
	CH2F2
	Difluoro-methane (methylene fluoride)
	52,0
	−52
	0,30
	0,307
	677
	704
	

	HC-290
	HCFC-22, 
R-404A, R-407C
	A3
	X
	
	X
	X
	X
	CH3CH2CH3
	propane
	44,1
	−42
	0,09
	0,038
	
	5
	


	HC-600a
	HFC-134a
	A3
	X
	
	
	
	
	CH(CH3)2-CH3
	2-methyl-propane (isobutane)
	58,1
	−12
	0,059
	0,043
	
	~20
	

	R-717
	HCFC-22, 
R-407C
	B2L
	X
	
	
	
	
	NH3
	ammonia
	17,0
	−33
	0,000 22
	0,116
	
	
	

	R-744
	R-404A, R-410A
	A1
	X
	
	
	
	
	CO2
	carbon dioxide
	44,0
	−78◊
	0,072
	NF
	1
	1
	

	HCFC-1233zd(E)
	HCFC-123
	A1
	
	X
	
	
	
	CF3CH=

CHCl
	trans-1-chloro-3,3,3-trifluoro-1-propene
	130,5
	18,1
	0
	NF
	1
	1
	

	HFC-1234yf
	HFC-134a
	A2L
	X
	X
	
	
	
	CF3CF=CH2
	2,3,3,3-tetrafluoro-1-propene
	114,0
	−29,4
	0,47
	0,289
	<1
	<1
	

	HFC-1234ze(E) 
	HFC-134a
	A2L
	X
	X
	
	
	
	CF3CH=
CHF
	trans-1,3,3,3-tetrafluoro-1-propene
	114,0
	−19,0
	0,28
	0,303
	<1
	<1
	

	HC-1270
	HCFC-22, 
R-407C
	A3
	X
	
	
	
	
	CH3CH=
CH2
	propene (propylene)
	42,1
	−48
	0,001 7
	0,046
	
	1,8
	

	HFC-1336mzz
(Z)
	HCFC-123
	A1
	
	
	
	
	
	CF3CH=CH-CF3
	cis-1,1,1,4,4,4-hexafluoro-2-butene
	164,1
	33,4
	0
	NF
	2
	2
	

	HCC-1130(E)**
	HCFC-123
	B2
	
	
	
	
	
	CHCl=CHCl
	trans-dichloro-ethene
	96,9
	47,7
	
	
	<1
	<1
	

	Notes:

Fluids given with a green background are fluids which were not previously mentioned in the XXVI/9 Task Force report.

× HFC-32 was proposed to replace R-404A and R-410A in phase I of the AREP program, but is only proposed to replace R-410A in phase II of same and later projects.

◊ For R-744 the sublimation temperature is given instead of boiling point. Triple point is −56,6 °C at 5,2 bar.

**HCC-1130(E) is pending official ASHRAE 34 approval, submitted January 2016. 
	


Table 2-2: Blend refrigerants proposed under various test programs or in ASHRAE 34
	Refrigerant Designation
	Refrigerant development name
	Proposed to replace 
(from AREP phase I)
	Safety Class
	Participation in AREP program
	High ambient programmes for HCFC-22 and R-410A alternatives
	Composition
	Molecular Weight
	Bubble point/dew or 
Normal boiling point (°C)
	GWP 100 Year (IPCC5)
	GWP 100 Year (RTOC)

	
	
	
	
	Phase 1
	Phase 2
	PRAHA
	EGYPRA
	US DoE
	
	
	
	
	

	R-514A**
	DR-10 (XP30)
	HCFC-123
	B1
	
	
	
	
	
	R-1336mzz(Z)/1130 (E) (74,7/25,3)
	139,6
	
	1,7
	1,7

	—
	ARM-41a
	HFC-134a
	A1
	X
	
	
	
	
	R-134a/1234yf/32 (63/31/6)
	99,5
	
	860
	900

	R-513A
	XP10
	HFC-134a
	A1
	X
	X
	
	
	
	R-1234yf/134a (56/44)
	108,4
	−29,2
	570
	600

	—
	N-13a
	HFC-134a
	A1
	X
	
	
	
	
	R-134a/1234ze(E)/1234yf (42/40/18)
	108,7
	
	550
	570

	R-450A
	N-13b
	HFC-134a
	A1
	X
	X
	
	
	
	R-1234ze(E)/134a (58/42)
	108,7
	–23,4/
–22,8
	550
	570

	R-515A**
	HDR-115
	HFC-134a
	A1
	
	
	
	
	
	R-1234ze(E)/227ea (88/12)
	118,7
	-19,2
	400
	380

	R-513B*
	
	HFC-134a
	A1
	
	
	
	
	
	R-1234yf/134a (58,5/41,5)
	108,7
	−29,9
	540
	560

	—
	D-4Y
	HFC-134a
	A1
	X
	X
	
	
	
	R-1234yf/134a (60/40)
	108,9
	
	520
	540

	—
	AC5X
	HFC-134a
	A1
	X
	X
	
	
	
	R-1234ze(E)/134a/32 (53/40/7)
	100,9
	
	570
	590

	—
	ARM-42a
	HFC-134a
	A2L
	X
	X
	
	
	
	R-1234yf/152a/134a (82/11/7)
	104,8
	
	110
	110

	R-444A
	AC5
	HFC-134a
	A2L
	X
	X
	
	
	
	R-1234ze(E)/32/152a (83/12/5)
	96,7
	–34,3/
–24,3
	89
	93

	R-445A
	AC6
	
	A2L
	
	
	
	
	
	R-744/134a/1234ze(E) (6/9/85)
	103,1
	–50,3/

–23,5
	120
	120

	—
	R290/R600a
	HFC-134a
	A3
	X
	
	
	
	
	R-600a/290 (60/40)
	51,6
	
	
	14

	R-456A**
	
	HFC-134a
	A1
	
	
	
	
	
	R-32/134a/1234ze(E) (6/45/49)
	101,4
	-31,1/ -25,7
	630
	650

	R-407G
	
	HFC-134a
	A1
	
	
	
	
	
	R-32/125/134a         (2,5/2,5/95,0)
	100,0
	-29,1/ -27,2
	1 300
	1 400

	—
	LTR4X
	HCFC-22, 
R-407C
	A1
	X
	X
	
	
	
	R-1234ze(E)/32/125/134a (31/28/25/16)
	85,1
	
	1 200
	1 300

	—
	N-20
	HCFC-22, 
R-407C
	A1
	X
	X
	
	
	
	R-134a/1234ze(E)/1234yf/
32/125 (31,5/30/13,5/12,5/12,5)
	96,7
	
	890
	950

	—
	D52Y
	HCFC-22, 
R-407C
	A2L
	X
	X
	
	
	
	R-1234yf/125/32 (60/25/15)
	97,8
	
	890
	970

	—
	L-20
	HCFC-22, 
R-407C
	A2L
	X
	
	
	
	
	R-32/1234ze(E)/152a (45/35/20)
	67,8
	
	330
	350

	—
	LTR6A
	HCFC-22, 
R-407C
	A2L
	X
	X
	
	
	
	R-1234ze(E)/32/744 (63/30/7)
	77,6
	
	200
	210

	R-444B
	L-20a
	HCFC-22, 
R-407C
	A2L
	
	X
	X
	X
	X
	R-32/1234ze(E)/152a (41,5/48,5/10)
	72,8
	–44,6/
–34,9
	300
	310

	—
	ARM-32a
	HCFC-22, 
R-404A, R-407C
	A1
	X
	
	
	
	
	R-125/32/134a/1234yf (30/25/25/20)
	86,9
	
	1 400
	1 600

	R-442A
	
	HCFC-22, 
R-404A, R-407C
	A1
	
	X
	
	
	
	R-32/125/134a/152a/227ea (31,0/31,0/30,0/3,0/5,0)
	81,8
	–46,5/
–39,9
	1 800
	1 900

	R-449B
	
	HCFC-22, 
R-404A, R-407C
	A1
	
	
	
	
	
	R-32/125/1234yf/134a (25,2/24,3/23,2/27,3)
	86,4
	−46,1/
−40,2
	1 300
	1 400

	R-449C*
	DR-93
	HCFC-22, 
R-407C
	A1
	
	
	
	
	X
	R-32/125/1234yf/134a (20/20/31/29)
	90,3
	−45,5/−38,5
	1 100
	1 200

	R-453A
	RS-70
	HCFC-22, 
R-407C
	A1
	
	
	
	
	
	R-32/125/134a/227ea/600/

601a (20,0/20,0/53,8/5,0/0,6/0,6)
	88,8
	-42,2/ -35,0
	1 600
	1 700

	R-407H*
	
	HCFC-22, R-407C
	A1
	
	
	
	
	
	R-32/125/134a    (32,5/15,0/52,5)
	79,1
	-44,6/ -37,6
	1 400
	1 500

	R-449A
	DR-33 (XP40)
	R-404A
	A1
	X
	X
	
	
	
	R-32/125/1234yf/134a (24,3/24,7/25,3/25,7)
	87,2
	–46,0/
–39,9
	1 300
	1 400

	—
	N-40a
	R-404A
	A1
	X
	
	
	
	
	R-32/125/134a/1234ze(E)/
1234yf (25/25/21/20/9)
	87
	
	1 200
	1 300

	—
	N-40b
	R-404A
	A1
	X
	
	
	
	
	R-1234yf/32/125/134a (30/25/25/20)
	87,1
	
	1 200
	1 300

	R-452A
	DR-34 (XP44)
	R-404A
	A1
	
	X
	
	
	
	R-1234yf/32/125 (30/11/59)
	103,5
	−47,0/
−43,2
	1 900
	2 100

	R-452C**
	ARM-35
	R-404A
	A1
	
	
	
	
	
	R-32/125/1234yf (12,5/61,0/26,5)
	101,9
	-47,8/ -44,4
	2 000
	2 200

	R-448A
	N-40c
	R-404A
	A1
	
	X
	
	
	
	R-32/125/1234yf/134a/
1234ze(E) (26,0/26,0/20,0/21,0/7,0)
	86,3
	–45,9/
–39,8
	1 300
	1 400

	—
	R32/R134a
	R-404A
	A2L
	X
	
	
	
	
	R-32/134a (50/50)
	68,9
	
	990
	1 000

	—
	ARM-31a
	R-404A
	A2L
	X
	
	
	
	
	R-1234yf/32/134a (51/28/21)
	83,9
	
	460
	480

	—
	L-40
	R-404A
	A2L
	X
	X
	
	
	
	R-32/1234ze(E)/1234yf/
152a (40/30/20/10)
	73,6
	
	290
	300

	R-454A
	DR-7◊
	R-404A
	A2L
	X
	X
	
	
	
	R-1234yf/32 (65/35)
	80,5
	−48,4/
−41,6
	240
	250

	R-454C*
	DR-3
	R-404A
	A2L
	
	X
	X
	X
	X
	R-1234yf/32 (78,5/21,5)
	90,8
	−45,8/
−38,0
	150
	150

	R-454A
	D2Y-65
	R-404A
	A2L
	X
	X
	
	
	
	R-1234yf/32 (65/35)
	80,5
	−48,4/
−41,6
	240
	250

	R-457A**
	ARM-20a
	R-404A
	A2L
	
	
	
	
	
	R-32/1234yf/152a (18/70/12)
	87,6
	
	140
	150

	—
	ARM-30a
	R-404A
	A2L
	X
	
	
	
	
	R-1234yf/32 (71/29)
	84,7
	
	200
	200

	R-455A
	HDR-110
	R-404A
	A2L
	
	X
	
	
	
	R-32/1234yf/744 (21,5/75,5/3)
	87,5
	-51,6/ -39,1
	150
	150

	—
	R32/R134a
	R-410A
	A2L
	X
	
	
	
	
	R-32/134a (95/5)
	53,3
	
	710
	740

	—
	R32/R152a
	R-410A
	A2L
	X
	
	
	
	
	R-32/152a (95/5)
	52,6
	
	650
	680

	—
	DR-5
	R-410A
	A2L
	X
	
	
	
	
	R-32/1234yf (72,5/27,5)
	61,2
	
	490
	510

	—
	L-41a
	R-410A
	A2L
	X
	
	
	
	
	R-32/1234yf/1234ze(E) (73/15/12)
	61
	
	490
	510

	—
	L-41b
	R-410A
	A2L
	X
	
	
	
	
	R-32/1234ze(E) (73/27)
	61
	
	490
	510

	—
	ARM-70a
	R-410A
	A2L
	X
	
	
	
	
	R-32/1234yf/134a (50/40/10)
	70,9
	
	470
	490

	—
	HPR1D
	R-410A
	A2L
	X
	X
	
	
	
	R-32/1234ze(E)/744 (60/34/6)
	63
	
	410
	420

	—
	D2Y-60
	R-410A
	A2L
	X
	X
	
	
	
	R-1234yf/32 (60/40)
	77,2
	
	270
	280

	R-454B
	DR-5A
	R-410A
	A2L
	
	X
	X
	X
	X
	R-32/1234yf (68,9/31,1)
	62,6
	−50,9/
−50,0
	470
	490

	R-452B**
	DR-55

(XL55)
	R-410A
	A2L
	
	
	
	
	X
	R-32/1234yf/125 (67/26/7)
	63,5
	-50,9/-50,0
	680
	710

	R-446A
	L-41-1
	R-410A
	A2L
	
	X
	
	
	
	R-32/1234ze(E)/600 (68,0/29,0/3,0)
	62
	–49,4/
–44,0
	460
	480

	R-447A
	L-41-2
	R-410A
	A2L
	
	X
	X
	X
	X
	R-32/125/1234ze(E) (68,0/3,5/28,5)
	63
	–49,3/
–44,2
	570
	600

	R-447B**
	L-41z
	R-410A
	A2L
	
	
	
	
	
	R-32/125/1234ze(E) (68,0/8,0/24,0)
	63,1
	–50,3/
–46,2
	710
	750

	Notes:
Fluids given with a green background are fluids which were not mentioned in the XXVI/9 Task Force report.

* Indicates refrigerants pending official ASHRAE 34 approval, submitted June 2015.

** Indicates refrigerants pending official ASHRAE 34 approval, submitted January 2016.

◊ DR-7 has changed nominal composition slightly from originally R-1234yf/32 (64/36) to R-1234yf/32 (65/35).


Table 2-3:  Currently commonly used pure substances for reference
	Refrigerant Designation
	Safety Class
	Chemical Formula
	Chemical Name
	Molecular Weight
	Boiling Point (°C)
	ATEL/ODL (kg/m3)
	Atmospheric Lifetime (Years)
	Radiative Efficiency 
(W/m/ ppm)
	
	GWP 100 Year (IPCC5)
	GWP 100 Year (RTOC)
	ODP

	HCFC-22
	A1
	CHClF2
	chlorodifluoromethane
	86,5
	-41
	0,21
	12
	0,21
	
	1 760
	1 780
	0,034

	HCFC-123
	B1
	CHCl2CF3
	2,2-dichloro-1,1,1-trifluoroethane
	152,9
	27
	0,057
	1,3
	0,15
	
	79
	79
	0,01

	HFC-134a
	A1
	CH2FCF3
	1,1,1,2-tetrafluoroethane
	102,0
	-26
	0,21
	14
	0,16
	
	1 300
	1 360
	

	HC-290
	A3
	CH3CH2CH3
	propane
	44,1
	−42
	0,09
	12,5 days
	
	
	
	5
	

	HC-600a
	A3
	CH(CH3)2-CH3
	2-methyl-propane (isobutane)
	58,1
	−12
	0,059
	6,0 days
	
	
	
	~20
	

	R-717
	B2L
	NH3
	ammonia
	17,0
	−33
	0,000 22
	
	
	
	
	
	

	R-744
	A1
	CO2
	carbon dioxide
	44,0
	−78◊
	0,072
	
	
	
	1
	1
	


Table 2-4:  Currently commonly used blend refrigerants for reference
	Refrigerant Designation
	Safety Class
	Refrigerant Composition 
 (Mass %)
	Molecular Weight
	Bubble / Dew  or Normal Boiling Point (°C)
	ATEL/ODL (kg/m3)
	GWP 100 Year (IPCC)
	GWP 100 Year (RTOC)
	ODP

	R-404A
	A1
	R-125/143a/134a (44,0/52,0/4,0)
	97,6
	-46,6/-45,8
	0,52
	3 900
	4 200
	

	R-407A
	A1
	R-32/125/134a (20,0/40,0/40,0)
	90,1
	-45,2/-38,7
	0,31
	1 900
	2 100
	

	R-407C
	A1
	R-32/125/134a (23,0/25,0/52,0)
	86,2
	-43,8/-36,7
	0,29
	1 600
	1 700
	

	R-407F
	A1
	R-32/125/134a (30,0/30,0/40,0)
	82,1
	-46,1/-39,7
	0,32
	1 700
	1 800
	

	R-410A
	A1
	R-32/125 (50,0/50,0)
	72,6
	-51,6/-51,5
	0,42
	1 900
	2 100
	

	R-507A
	A1
	R-125/143a (50,0/50,0)
	98,9
	-47,1/-47,1
	0,53
	4 000
	4 300
	


As in the previous Decision XXVI/9 Task Force report, the data sources for Tables 2-1 through 2-4 are as follows:

· “GWP (RTOC)” values are taken from the 2014 RTOC report (UNEP, 2014) where available (they are based on (WMO, 2014)); where not available the value is calculated based on values for pure fluids from the 2014 RTOC report (UNEP, 2014). 

· “GWP (IPCC5)” values are taken from the IPCC AR5 report (IPCC, 2014) for pure fluids; for mixtures values are calculated based values for pure fluids from the IPCC AR5 report (IPCC, 2014). 
· For Tables 2-1 and 2-2, refrigerant designations, safety classes and compositions are taken from the AHRI AREP program where available, and where not available from ASHRAE 34 public review (ASHRAE, 2015).

· All other data in Tables 2-1 through 2-4 are taken from the 2014 RTOC report (UNEP, 2014).
2.3

Refrigerant classification and standards

Refrigerants are classified by the refrigerant standard ISO 817 and ASHRAE 34 into 8 classes depending on toxicity and flammability, for instance: A1, A2L, A3 or B2L. The first a letter A or B indicates the toxicity of the fluid:

· A, lower chronic toxicity, have an occupational exposure limit of 400 ppm or greater

· B, higher chronic toxicity, have an occupational exposure limit of less than 400 ppm

The suffix 1, 2L, 2 or 3 indicates the flammability:

· 1, no flame propagation, measured at 60 °C

· 2L, lower flammability, burning velocity not higher than 10cm/s, energy of combustion below 19 MJ/kg and not flammable below 3.5 % volume concentration.

· 2, flammable, energy of combustion below 19 MJ/kg and not flammable below 3.5 % volume concentration.

· 3, higher flammability.

These safety classes are used by the system safety standards, such as ISO 5149, IEC 60335-2-24, IEC 60335-2-40, IEC 60335-2-89, EN378 and ASHRAE 15. 

With the introduction and potentially wide use of refrigerants that are flammable, have higher toxicity and/or operate at notably higher pressures than the conventional ODS refrigerants or alternative non-flammable HFC refrigerants, consideration of safety matters has become more important. Accordingly, more attention is presently being paid to the requirements of safety standards and regulations that directly relate to refrigerants that exhibit these characteristics. 

For instance, the safety standards sets upper limits on how much refrigerant charge is allowed in a refrigerant circuit, primarily depending on the safety class, location of the equipment, and on the type of people who have access to the equipment; the amount of charge is related to the cooling or heating capacity of the equipment. Using a wall mounted split A/C unit in a 30m2 room as an example, the safety standard, in this case IEC 6335-2-40, allows 413 g of HC-290 per refrigeration circuit, while for HFC-32 it allows 5.6 kg charge, due to the different flammability characteristics of the substances. Clearly a more than 10 times higher charge allows higher cooling capacity with HFC-32, and requires higher level of optimising for the low charge when using HC-290.
2.4

Likelihood of new molecules and new radically different blends

There are alternative refrigerants available today with negligible ODP and (lower or) low GWP, but for some applications it can be challenging to reach the same lifetime cost level of the systems while keeping the same performance. The search for new alternative fluids may yield more economical system designs, but as will be explained below, the prospects of discovering new, radically different fluids are minimal.

The alternative refrigerants must have suitable thermodynamic properties, which determine the efficiency and capacity of the system. In addition, they need to satisfy several other criteria, such as zero ODP, low GWP, low toxicity, stability in the system, materials compatibility, acceptable cost, and, if possible, non-flammability, low flammability or low-risk due to flammability. These requirements are difficult to balance. 

The list of proposed R-410A and HCFC-22 replacement candidates includes single-component refrigerants (HFC-32, HC-290, HC-1270, HFC-161, R-717, R-744). The list also includes blends, which, in addition to the listed single-component candidates, comprise the unsaturated HFC’s such as HFC-1234yf and HFC-1234ze(E), along with traditional HFC refrigerants to achieve the desired attributes of the blend, e.g., low GWP, low flammability, or lubricant compatibility. Through ongoing evaluation studies, the performance potentials of these alternatives are being established. 

Significant efforts have been done in the past to find new fluids. A recent study (McLinden, 2015) started with a database of over 150 million chemicals, screening the more than 56,000 small molecules and finding none of them ideal. It can be concluded from the study that the prospects of discovering new refrigerants that would offer better performance than the fluids currently known are minimal.

2.5

Road to availability of alternative refrigerants

As discussed in the Task Force Decision XXVI/9 Report (UNEP, 2015), developing a new fluid is a process where uncertainties are addressed, both regarding what is technically feasible and regarding what can be accepted by the market. It is a process structured in discrete steps, where some are visible to the industry. The commercialisation of a new molecule is complicated and can take significant time, while for mixtures consisting of existing molecules the commercialisation is much faster. Once the fluid is launched in the market, the availability is largely controlled by where there is a market need.

The technical uncertainty includes how to produce the fluid, and whether the preferred properties can be attained. The market uncertainty includes uncertainty about what properties the customer prefers, and what fluids the competitors will market.

 

The development process requires a series of investments, such as researching the toxicity of candidate fluids, or doing field tests at potential customers with a candidate fluid. The investment pattern is similar from fluid to fluid, and companies therefore manage the process with a state-gate process (Cooper, 1988). The state-gate process is a process, where a “gate” is placed just in-front of each major investment, and a “gate” is simply a decision point where management evaluates whether or not to accept the next investment or stop the development project. While the exact gates are not visible from outside the company, some of the steps will be visible in the market. Examples of such steps could be:

-        Research, possibly in collaboration with a few selected system builders;

-        Fluid released for small scale testing in industry test programs (with a research  acronym);

-        R-number applied for through ASHRAE 34 (or ISO 817) and is normally accepted;

-        Testing in the market to see whether the market is interested in larger capacities;

-        Broad market launch (large scale production set-up);

-        Market adoption, where the market actually starts using the refrigerant in larger quantities.

Within the context of development of low GWP refrigerants, one of the most important incentives is the occurrence of relevant legislation that hinders competing fluids or opens pathways for new fluids and creates some measure of certainty for investments into the market.

 

The investment sizes and time needed for each step for new molecules (pure refrigerants) are much larger and longer than for refrigerant mixtures. Especially the research and toxicity evaluation are expensive in the early phases, and the production set in the later stages, are expensive for new molecules. While for new mixtures, the major uncertainty is related to the market, and the large investments are primarily on research, especially market research, to find a composition which matches the needs of the customers as well as possible, and on the market launch with investments in marketing. 

 

This means that the commercialisation of a new fluid can take 10 years, while for mixtures the commercialisation takes closer to 5 years. A issue for the new mixtures is that many contain one of the two new molecules, HFC-1234yf or HFC-1234ze(E), which may have had only limited production until recently.

Once the fluid is launched in the market, companies will invest in sales where they see the greatest market potential. There is a limit to how many different refrigerants customers, service companies, and sales channels in a given market will accept, and market shares obtained in the early phase tends to be relatively easy to sustain, why companies can be very picky about where they launch a product. Although current availability to the markets and market launch plans for specific fluids are proprietary information, there is however the general rule of thumb that new fluids will be available where a sufficiently large share of users request it.

Two examples of the step from commercial productions to market launch in specific markets are as follows:
· Commercial production of HFC-1234ze(E) started at the end 2014 in manufacturing plants in the US. It is now already commercially used in chillers by companies in the US, EU and Japan; besides this, it is also applied in one-component foam applications. Within two years after the start of commercial production, it is currently commercially available in the US, Europe and most of Asia.

· Commercial production of HCFC-1233zd(E) started by mid-year of 2014 in plants located in the USA. It is used in low pressure centrifugal chillers, which have been released in Europe, the Middle East and other 50 Hz markets; besides that, it is also used in foam applications as a replacement for HFC-245fa. Within two years after the start of commercial production, it is currently commercially available in the US, Europe and most of Asia.
2.6

Energy efficiency in relation to refrigerants

Assessing the energy efficiency associated with a refrigerant is a complicated process, and the results depend on the approach taken. Energy efficiency of refrigeration systems is in addition to the refrigerant choice related to system configuration, component efficiencies, operating conditions, operating profile, system capacity, and system hardware, among others, which makes a consistent comparison difficult in many instances.

One approach is to start with a target refrigerant and use a system architecture suitable for this specific refrigerant, while comparing it with a reference system for the refrigerant to be replaced.

Another approach is to screen for alternative refrigerants suitable for a given system architecture. The common methods for determining the efficiency in this case can be placed into one of three categories:

· theoretical and semi-theoretical cycle simulations 

· detailed equipment simulation models, and 

· laboratory tests of the equipment. 

In a refrigerant selection process, great reliance is placed on cycle simulations for selecting best candidate fluids for further examination either by equipment simulation models or tests of actual equipment. 

Most often, cycle simulations employ a refrigerant’s thermodynamic properties along with fixed values for temperatures inside the system and fixed compressor isentropic efficiency. These models are popular among refrigeration practitioners because they are simple in principle and easy to use.  However, the shortcomings to be kept in mind includes not taking into account the heat transfer properties and pressure drops in a system. Detailed simulation models do not have this shortcoming (Domanski, 2006).

Laboratory tests provide the ‘most trusted’ information about performance of a refrigerant in a given system. It must be recognized that tests of a new refrigerant in a system optimized for a different refrigerant do not demonstrate the performance potential of the refrigerant tested (Abdelaziz, 2015). In addition to system ‘soft-optimization’, which includes adjustment of the refrigerant charge and expansion device, ‘hard optimization’ is necessary, which includes, among others, optimization of the compressor (including the size), refrigerant circuitry in the evaporator and condenser, and the overall system balance. 

Hard optimization is a rather involved process. Usually, it is most effectively implemented by concurrent detailed simulations and extensive testing. It can be particularly complicated with blends of significant temperature glide, which offer special challenges in heat exchanger design. Hence, overall system design and successful optimization play a significant role in achieving the refrigerant performance potential in a commercialized product. In practice the hard optimization is also limited by the cost of the system, as the success in the market depends on a cost/performance trade-off. In addition, it is also constrained by commercial availability (e.g., manufacturing ability) for certain components, such as availability of preferred compressor displacement, heat exchanger dimensioning and capability to produce preferred circuitry.

To illustrate the difficulties of assessing the energy efficiency associated with a refrigerant, consider the tests under high ambient temperature conditions described in Chapter 3 of this report:

· Testing temperatures differs from test program to test program.

· Obviously no single temperature can accurately match a real geographical location, so the results do not relate directly to the actual energy consumption in a real situation.

· The units (including technologies) used for testing varied within the same test programs.

· In some tests only the refrigerant is changed, in others the oil or even the compressor. 

· Differences in test protocols further contributed to differences in results, for example, adjusting the expansion device, adjusting the charge, or adjusting compressor displacement to match compressor and heat exchanger capacity.
· The cost/performance ratio is an important factor (see above) but it is difficult to analyse in the test programs as other long term parameters need to be considered.
2.7

Climate impact related to refrigerants

There are a number of difficulties in assessing the climate impact including the difficulties of obtaining reliable and accurate data on system leakage rates and determining the carbon emissions generated, now and in the future, and in producing the energy necessary to power the RAC&HP system. 

Climate impact related to refrigerants consists of direct and indirect contributions. The direct contribution is a function of a refrigerant’s GWP, charge amount and leakage rates (annual, catastrophic, and during servicing and decommissioning) from the air-conditioning and refrigeration (RAC&HP) equipment. The indirect contribution accounts for the kg CO2-equivalent emissions generated during the production of the energy consumed by the RAC&HP equipment, its operating characteristics and the emissions factor of the local electricity production. The relative importance of the direct and indirect contributions will depend on the type of system. Systems that are “more leaky”, e.g., automotive vehicle air conditioning, typically have larger relative contributions from direct warming than would “tighter systems”, e.g., hermetically sealed chiller systems, although this can be offset for systems that have much shorter operating periods or where power is supplied from a source with low carbon content.

There are several metrics that measures the total emissions from a system. Most common are Total Equivalent Warming Impact (TEWI) and Life Cycle Climate Performance (LCCP) which attempts to quantify the total global warming impact by evaluating the RAC&HP system during its lifetime from “cradle to grave” (IIR, 2016). Sometimes, a TEWI calculation may be simplified by neglecting broader effects including manufacture of the refrigerant and equipment, and disposal of the refrigerant and equipment after decommissioning. More in-depth analyses not usually performed also look at the emissions associated with the production and disposal of the equipment, e.g., including the mining and recycling of the metal used to manufacture compressors, heat exchangers, and other components.   

To summarize, the most important factors determining the climate impact are: 

· The GWP of the refrigerant multiplied with the amount leaking from the system, this is the direct contribution.

· Energy consumption of the system multiplied with the amount of CO2 generated per unit of energy, this is part of the indirect contribution.

The uncertainty on energy consumption and leakage makes determining the total climate impact difficult.
2.8
The GWP classification issue 

To minimize direct climate impact a lower GWP refrigerant can be used. The RTOC 2014 Assessment Report included a taxonomy of GWP values, including what constitutes high, medium, and low GWP (again given in Table 2-5 below). This taxonomy is based on fixed GWP values.

Table 2-5 defines “low” as smaller than 300 and “high” as more than 1000. There are sources that define low as lower than 25, as lower than 100, or as lower than 150 (which results from the 2006 EU MAC directive). It will be clear that “high”, “medium” and “low” are qualifiers, related to a scale, and that a number definition of these levels would be a non-technical choice.  This also because it is somehow related to what is acceptable in specific applications. 
Table 2-5:   Classification of 100 year GWP levels

	100 Year GWP
	Classification

	< 30
	Ultra-low or Negligible

	< 100
	Very low

	< 300
	Low

	300-1000
	Medium

	> 1000
	High

	> 3000
	Very high

	> 10000
	Ultra-high


For instance, there is a relationship between the pressure, the GWP and the flammability of a refrigerant, as illustrated in Table 2-6, which is also from the RTOC 2014 Assessment Report (UNEP, 2014). The trend can be described as “the higher the pressure, the higher the minimum GWP which is needed for fluids to be non-flammable”. The exception to this relationship is R-717 and R-744, which do not fit this pattern. Therefore, what could be an “acceptable” GWP for a high pressure fluid replacing R-410A may not be “acceptable” for a low pressure fluid replacing HFC-134a. But this does not relate to a definition of a GWP classification in an absolute sense.

Table 2-6:  100 year GWPs for synthetic refrigerants and hydrocarbons

	Safety Class
	Range of GWP for Alternatives to

	
	HFC-134a
	HCFC-22, R-404A, 
R-407C, and R-507A
	R-410A

	A1
	540 – 900
	950 – 1600
	

	A2L
	≤ 110
	200 – 970
	280 – 740

	A3
	14 – 20
	1,8 – 5
	


The two refrigerants that do not fit this pattern, both being in the category with ultra-low GWP, are R-717 and R-744. These are for many applications considered as alternatives to the current higher GWP HFCs. R-744 is a safety class A1 refrigerant, while R-717 are in class B2L.

2.9

References

AHRI, 2015
AHRI Low GWP Alternative Refrigerants Evaluation Program, (Low-GWP AREP), Participants Handbook, 2015

ASHRAE 15-2013
ANSI/ASHRAE, 2015. Standard 15-2013 with addendum a, Designation and Safety Classification of Refrigerants American Society of Heating, Refrigerating, and Air-Conditioning Engineers (ASHRAE), Atlanta, GA, USA

ASHRAE 34-2013
ANSI/ASHRAE, 2015. Standard 34-2013 with addenda a to x, Designation and Safety Classification of Refrigerants American Society of Heating, Refrigerating, and Air-Conditioning Engineers (ASHRAE), Atlanta, GA, USA

ASHRAE, 2015
Online Standards Actions & Public Review Drafts, https://osr.ashrae.org/default.aspx (documents only available during the review period)

Domanski, 2006
Domanski, P.A., Yashar, D., 2006. Comparable Performance Evaluation of HC and HFC Refrigerants in an Optimized System, 7th IIR Gustav Lorentzen Conference on Natural Working Fluids, Trondheim, Norway, May 28-31.

Abdelaziz, 2015
Abdelaziz, O. et al., 2015. Alternative Refrigerant Evaluation for High-Ambient-Temperature Environments:R-22 and R 410A Alternative for Mini-Split Air Conditioners, ORNL/TM-1015/536

Cooper, 1988
Cooper, R. G., 1988. The New Product Process: A Decision Guide for Management. Journal of Marketing Management 2:238-255

EN 378 
EN 378-1:2008+A2:2012, EN 378-2:2008+A2:2012, EN 378-3:2008+A1:2012. EN 378-4:2008+A1:2012, Refrigeration Systems and Heat Pumps – Safety and Environmental Requirements

IEC 60335-2-24 
IEC 60335-2-24:2010, Specification for safety of household and similar electrical appliances. Particular requirements for refrigerating appliances, ice-cream appliances and ice-makers

IEC 60335-2-40 
IEC 60335-2-40:2003+A13:2012, Specification for safety of household and similar electrical appliances. Safety. Particular requirements for electrical heat pumps air-conditioners, and dehumidifiers

IEC 60335-2-89 
IEC 60335-2-89:2010, Specification for safety of household and similar electrical appliances. Safety. Particular requirements for commercial refrigerating appliances with an incorporated or remote refrigerant condensing unit or compressor
IIR, 2016
The LCCP Working Group, International Institute of Refrigeration (IIR), 2016. Guideline for Life Cycle Climate Performance.

IPCC, 2014

Myhre, G., D. Shindell, F.-M. Bréon, W. Collins, J. Fuglestvedt, J. Huang, D. Koch, J.-F. Lamarque, D. Lee, B. Mendoza, T. Nakajima, A. Robock, G. Stephens, T. Takemura and H. Zhang, 2013. Anthropogenic and Natural Radiative Forcing. In: Climate Change 2013: The Physical Science Basis. Contribution of Working Group I to the Fifth Assessment Report of the Intergovernmental Panel on Climate Change [Stocker, T.F., D. Qin, G.-K. Plattner, M. Tignor, S.K. Allen, J. Boschung, A. Nauels, Y. Xia, V. Bex and P.M. Midgley (eds.)]. Cambridge University Press, Cambridge, United Kingdom and New York, NY, USA

ISO 817:2014
ISO 817: 2014. Refrigerants — Designation and safety classification. International Organization for Standardization (ISO)
ISO 5149
ISO 5149: 2014, Refrigerating systems and heat pumps — Safety and environmental requirements. International Organization for Standardization (ISO)

McLinden 2015
McLinden, M. O., Kazakov, A. F., Brown, J. S. & Domanski, P. A. Hitting the bounds of chemistry:  Limits and tradeoffs for low-GWP refrigerants. 24th Int. Congress of Refrig. (Yokohama, Japan, August 16-22, 2015).

UNEP, 2014

UNEP Nairobi, Ozone Secretariat, 2015. Report of the Refrigeration, Air Conditioning and Heat Pumps Technical Option Committee, 2014 Assessment. ISBN: 978-9966-076-09-0.
UNEP, 2015
UNEP, Update Report of the XXVI/9 TEAP Task Force, September 2015, ISBN 978-9966-076-14-4 

WMO, 2014

Assessment for Decision-makers, Scientific Assessment of Ozone Depletion: 2014. WMO Global Ozone Research and Monitoring Project - Report No. 56, published online September 2014, in print January 2015, ISBN 978-9966-076-00-7. 

3
Suitability of Alternatives under High Ambient Temperature  (HAT) Conditions
This chapter updates information on the results of research projects for testing alternative refrigerants at HAT conditions and on further considerations with respect to designing products using alternatives in new and retrofit applications.  For a comprehensive understanding of high ambient and the implications on refrigerant selection, please refer to chapter 7 of (UNEP, 2015), which remains relevant.

3.1 

HAT considerations

HAT conditions are an important issue for the design of refrigeration and AC systems. While 35 °C has been designated as comparison condition for performance of standard ambient, there is no definition currently for what constitutes a High Ambient Temperature and consequently a high ambient temperature country (or region). Ambient temperatures are also used in cooling load calculation and building envelope design.

A high ambient temperature can be defined as the incidence over a number of hours per year of a certain temperature. If this temperature is set above the standard ambient of 35 °C, the question becomes at what incidence this occurrence will be considered to constitute a high ambient condition. 

Chapter 7 of the XXVI/9 report (UNEP, 2015) lists several methods to define HAT conditions using weather profiles, cooling degree days, bin weather data, or the occurrence of a certain temperatures above the globally accepted standard temperature. One of the most used is to define values of ambient dry bulb, dew point, wet bulb temperature, and wind speed corresponding to the various annual percentiles of that are exceeded on average by 0.4%, 1%, 2%, and 5% of the total number of hours in a year equivalent to 8,760 hours (ASHRAE, 2013). These values correspond to 35, 88, 175, and 438 hours per year respectively, for the period of record. By defining the value of the high ambient temperature and using information about the percentiles, the appropriate design conditions for refrigeration and air conditioning equipment can be adopted. There are important references that present the information about temperatures profiles and percentiles of incidence in the several regions of the planet.

As the ambient temperature increases, system load increases and capacity decreases. With increasing ambient temperatures, the condensing pressure and compressor discharge temperatures also increase, thus leading to possible reliability issues. ISO and EN (European Standards) prescribe pressures corresponding to certain design temperatures for the safe operation of a system.  This information is required by design engineers to specify material and pipe wall thickness requirements in a system.  Table 3-1 is taken from EN378-2:2008 and the equivalent ISO 5149 based on IEC 60721-2-1. The table does not specify what is classified as high ambient temperature.

Table 3-1: Specified Design Temperatures
	Ambient Conditions
	< 32 °C
	<38 °C
	< 43 °C
	< 55 °C

	High pressure side with air cooled condenser
	55 °C
	59 °C
	63 °C
	67 °C

	Low pressure side with heat exchanger exposed to ambient temperature
	32 °C
	38 °C
	43 °C
	55 °C


While normally systems are designed for 35 °C (T1 in ISO 5151:2010) with appropriate performance (cf. for example, under standards requirements) up to 43 °C in some countries, the high ambient temperature condition requires a design at 46 °C (T3 in ISO 5151:2010) with appropriate operation up to 52 °C. 

3.2
Testing at HAT conditions
Most of the research and development has traditionally been made at the “standard ambient” of 35°C dry bulb temperature; even lower temperatures are used for some tests (e.g., under AHRI Standard 210/240). The performance of units at different ambient temperatures would then be simulated or extrapolated. The status of the following projects testing refrigerants used in specific equipment operating under high ambient temperature conditions are discussed below:

· “Promoting low GWP Refrigerants for Air-Conditioning Sectors in High-Ambient Temperature Countries” (PRAHA) and “Egyptian Project for Refrigerant Alternatives” (EGYPRA);
· the Oak Ridge National Laboratory (ORNL) “High-Ambient-Temperature Evaluation Program for Low-Global Warming Potential (Low-GWP) Refrigerants”, Phase I (and ongoing Phase II); and

· the AHRI Low GWP Alternative Refrigerants Evaluation Program (AREP) Phase I (and ongoing Phase II).
3.2.1
PRAHA and EGYPRA projects
To shed light into what can be considered as sustainable technologies for high ambient temperature conditions. UNEP and UNIDO launched a project to study and compare refrigerants working in machines specifically built for those refrigerants and operating at high ambient temperatures. PRAHA was launched in 2013 and completed at the end 2015. The project is implemented at the regional level in consultation with National Ozone Units of Bahrain, Iraq, Kuwait, Qatar, Oman, Saudi Arabia, and the UAE to ensure incorporating the project outputs within the HCFC Phase-out Management Plans (HPMPs) particularly for the preparation of post 2015 policies and action-plans.

Building up on PRAHA and the linkage to country phase-out plans, Egypt adopted a similar initiative as part of the HPMP to test refrigerant alternatives for air-conditioning units built in Egypt. The initiative EGYPRA tests more blends in different applications. The initiative was launched back in June 2014 and is expected to have the results by the end of 2016. 

Both projects built custom made units and testing was done at independent labs at 35, 46, and 50 °C ambient temperatures for PRAHA and an additional 27 °C for EGYPRA, with an “endurance” test at 55°C ambient to ensure continuous operation for two hours when units are run at that temperature. The proposed refrigerants are shown in table 32 below:
Table 3-2: Alternative refrigerants used in PRAHA and EGYPRA projects

	Comparable to HCFC-22
	Comparable to R-410A

	R-290
	HFC-32

	R-444B (L-20)
	R-447A (L-41-1)

	DR-3
	R-454B (DR-5A)

	R-457A (ARM-20a)
	ARM-71a


The main finding of the PRAHA project is that some of the alternative refrigerants with higher relative volumetric capacity than HCFC-22 show better COP than was theoretically expected and that the R-410A units and their equivalents are more technologically advanced than the HCFC-22 unit because the development of HCFC-22 units has been stopped for some time.  The test results from the rooftop packaged units with larger capacity than the other categories were better than those for smaller units possibly indicating that the capacity of the air conditioner affects the outcome (Chakroun, 2016). Results indicate a way forward in the search for efficient low-GWP alternatives for high ambient temperatures especially when coupled with a full system redesign. 

The summary of results will be available when the final report will be published in April 2016.  The outcome of the PRAHA project, other than the testing results, are:

· There is a need to do risk assessment studies at HAT conditions in countries that experience HAT conditions;  

· There is a need for a full product re-design taking into consideration the technical issues of heat exchanger optimisation, expansion device selection, charge optimisation, excessive pressure, temperature glide, flammability, oil, and energy efficiency issues;

· The economic impact is still to be considered when the availability and cost of components have been determined by market factors. Todays’ price on the market of components is not representative for the cost in the longer term, so alternative methods have to be used to analyse future cost; 

· There is need for field testing of the units once a design and alternative refrigerants have been selected by the concerned OEMs

The work by PRAHA and EGYPRA will facilitate the technology transfer and the exchange of experience with low-GWP alternatives for air-conditioning applications operating in high-ambient temperature countries. The other indirect objective is to encourage the development of local/regional codes and standards that ease the introduction of alternatives needing special safety or handling considerations, and to ensure that national and regional energy efficiency programs are linked to the adoption of low-GWP long term alternatives (PRAHA, 2013).

3.2.2 
ORNL project
The ORNL project aims to develop an understanding of the performance of low-GWP alternative refrigerants to HCFC and HFC refrigerants under HAT conditions in mini-split air conditioners under Phase I and in roof-top units under the ongoing Phase II. 
Phase I: ORNL in cooperation with a panel of international experts designed a test matrix of 84 tests. ORNL and the panel selected the refrigerants based on their GWP, commercial availability and physical properties while considering whether information about the characteristics of the refrigerants is readily available. ORNL conducted tests using two “soft-optimized” ductless mini-split air conditioners have a cooling capacity of 5.25 kWh (1.5 TR). One unit is designed to operate with HCFC-22 refrigerant (2.78 coefficient of performance [COP], equivalent to a 9.5 energy efficiency ratio [EER]). The other is designed to use R-410A refrigerant (3.37 COP, equivalent to an 11.5 EER).
Table 3-3: Alternative refrigerants used in ORNL Project

	Comparable to HCFC-22
	Comparable to R-410A

	N-20b
	HFC-32

	DR-3
	R-447A (L-41-1)

	ARM-20b
	DR-55

	R-444B (L-20a)
	ARM-71a

	R-290
	HPR-2A


The ORNL/TM-1015/536 report has the following conclusion appearing as part of its Executive Summary (reproduced here without changes):

 The test results from this evaluation program demonstrate that there are several viable alternatives to both R-22 and R-410A at high ambient temperatures. In some cases, there was a significant improvement in the performance of the alternatives over that of the baseline, in terms of both COP and cooling capacity. In other cases, the performance of the alternatives fell within 10% of the baseline, which suggests that parity with baseline performance would likely be possible through additional engineering design.

The R-22 alternative refrigerants showed promising results at high ambient temperatures: although both of the A1 alternative refrigerants lagged in performance, some of the A2L refrigerants showed capacity within 5% and efficiency within approximately 10% of the baseline system. The A3 refrigerant (R-290) exhibited higher efficiency consistently; however, it did not match the cooling capacity of the baseline system. The most promising A2L refrigerants exhibited slightly higher compressor discharge temperatures, while the A3 refrigerant exhibited lower compressor discharge temperatures.

The R-410A alternative refrigerants are all in the A2L safety category. Most of them showed significant potential as replacements. R-32 was the only refrigerant that showed consistently better capacity and efficiency; however, it resulted in compressor discharge temperatures that were 12–21°C higher than those observed for the baseline refrigerant. These higher temperatures may negatively impact compressor reliability. DR-55 and HPR-2A had higher COPs than the baseline and matched the capacity of the baseline at both the hot and extreme test conditions. R-447A and ARM-71a had lower cooling capacity than the baseline at all ambient conditions. The system efficiency of R-447A showed improvement over the baseline at high ambient temperatures; for ARM-71a, the efficiency was similar to the baseline at all test conditions.

The efficiency and capacity of the alternative refrigerants could be expected to improve through design modifications that manufacturers would conduct before introducing a new product to market. However, given that the scope of this study covered only soft-optimized testing, no detailed assessment can be made of the extent of potential improvements through design changes. Within the bounds of what is possible in optimizing the units for soft-optimized tests, the ORNL test plan included only minor optimizations, including refrigerant charge, capillary tube length, and lubricant change. Therefore, these are conservative results that probably could be improved through further optimization. Additional optimization, including heat transfer circuiting and proper compressor sizing and selection, would likely yield better performance results for all of the alternative refrigerants.

Losses in cooling capacity are typically easier to recover through engineering optimization than are losses in COP. The primary practical limit to improvements in capacity is the physical size of the unit; but that is not expected to be a significant concern in this case, based on the magnitude of the capacity losses exhibited in this evaluation program. Thus, the COP losses and the increases in compressor discharge temperature are particularly important results of this testing program, in that these variables will be the primary focus of future optimization efforts.

This performance evaluation shows that viable replacements exist for both R-22 and R-410A at high ambient temperatures. Multiple alternatives for R-22 performed well. Many R-410A alternatives matched or exceeded the performance of R-410A. These low-GWP alternative refrigerants may be considered as prime candidate refrigerants for high ambient temperature applications. Before commercialization, engineering optimization carried out by manufacturers can address performance loss, the increase in compressor discharge temperature that many alternatives exhibited (particularly the R-410A alternatives), and any safety concerns associated with flammable alternatives. (Abdelaziz, 2015)

Phase II: ORNL started the second phase of the program testing “Low GWP Refrigerants in High Ambient Temperature Countries” in February 2016, covering roof-top air conditioners in this phase. Results will be published in the second half of 2016.
3.2.3 
AREP project

AREP, a project launched by the Air-Conditioning, Heating, and Refrigeration Institute (AHRI) is a cooperative research program to identify suitable alternatives to high GWP refrigerants without prioritizing them. 

In the first phase of the project, 21 companies evaluated 38 refrigerant candidates for replacing HCFC-22 and three HFCs, R-410A, HFC-134a, and R-404A (Amrane, 2013), in applications varying from air conditioners and heat pumps (both package, split and variable refrigerant flow), chillers (screw and centrifugal), refrigeration (commercial and ice machines), refrigerated transport, and bus air-conditioning.  Phase II tested 17 refrigerants plus doing more tests at high ambient temperature conditions.
Table 3-4: AREP Phase II low-GWP High Ambient Testing 
	AREP Phase II Low-GWP High Ambient Test Matrix

	Product
	Test companies
	High Ambient Conditions
	Baseline Refrigerant
	ARM-71a
	DR-5A
	DR-55
	HPR2A
	L-41-1
	L-41-2
	HFC-32

	34 MBH  chiller
	Armines
	115F
	410A
	 
	X
	 
	 
	X
	X
	X

	14 SEER 3-ton HP
	Carrier
	125F
	410A
	X
	X
	 
	X
	X
	X
	 

	13 SEER 3-ton HP
	Danfoss
	115F and 125F
	410A
	 
	X
	 
	 
	 
	X*
	X**

	14 SEER 3-ton split HP
	Goodman
	115F and 125F
	410A
	 
	 
	 
	 
	 
	 
	X***

	5-ton packaged
	Lennox
	115F
	410A
	X
	X
	X
	X
	 
	X
	X

	4-ton packaged 
	Trane
	125F
	410A
	 
	X
	X
	 
	 
	 
	X

	6-ton packaged 
	Zamilac
	125F
	410A
	 
	 
	 
	 
	 
	 
	X


* L-41-2 at wet suction, no HAT 

**HFC-32 with same charge and with optimized charge

*** HFC-32 with standard POE oil and with prototype POE oil

AREP concluded its first phase in 2013 and the second phase began in early 2014.
For high ambient testing, seven entities tested three residential split units, four rooftops, one chiller, and several compressors. The results were compared to baseline of R-410A units. Refrigerant candidates are shown in table 3-5 below (Schultz, 2016a).  Refrigerants were tested at 115 °F (46.1 °C) and 125 °F (52.6 °C).  The tests were either a drop-in or a soft optimization with a change in refrigerant charge and/or expansion device.  
The conclusion from AREP-II (Schultz, 2016a) is that general trends in HAT performance are similar for all alternative refrigerants. Systems with alternatives generally provided similar to higher capacities than R-410A systems at HAT conditions, i.e., showing a smaller decrease in capacity as ambient temperatures increase. 

AREP-II was conducted by several entities with different test protocols which contributed to differences in results. The different tests varied from drop-in to soft-optimized tests adjusting the expansion device for similar superheat, or adjusting the charge for a similar sub-cooling. The results shown below are extracted from some of the test reports of AREP-II that are available publically on-line and are as presented at a special ASHRAE session in January 2016. They do not represent a conclusion on behalf of AREP-II since there was none published. 

A drop-in test for ARM-71a, R-454B (DR-5A), HPR2A, R-446A (L-41-1), and R-447A (L-41-2) at 125 °F (51.6 °C) showed slightly less capacity for all systems compared to systems with R-410A. ARM-71a, DR-5A, and HPR2A charged systems resulted in 3-6% better efficiency. The discharge pressure at that condition was lower for all refrigerants compared to R-410A, while the discharge temperatures were equal or slightly higher than R-410A (Burns, 2016). 
A test using a prototype oil for HFC-32 prevented breaks in the operation of the unit at 52 °C as it did when the original polyolester (POE) oil was used. HFC-32 showed higher compressor (isentropic) efficiency and lower volumetric efficiency with POE oil than R-410A at rating conditions, but better efficiencies in both tests with prototype HFC-32 oil (Li, 2016). 

In another test, a variable speed drive was used to equalize the capacity with the R-410A base unit capacity.  DR-55 and DR-5A required no to little adjustment to the compressor displacement, while HFC-32 required a 8% reduction in compressor displacement to match heat exchanger capacity. All three refrigerants were slightly less sensitive to variations in ambient temperatures resulting in somewhat higher capacities and efficiencies at high ambient temperatures compared to R-410A (Schultz, 2016b). 
AREP-II included a system drop-in test for a water chiller, a category not tested by the other projects, for ARM-71a, R-454B (DR-5A), HPR2A, R-446A (L-41-1), and R-447A (L-41-2), and HFC-32 at various temperatures between 30 °C and 46 °C. The test showed a similar degradation in relative efficiency for all refrigerants of about 30% between and 35 and 46 °C.  The degradation in relative cooling capacity on the other hand was less steep. HFC-32 showed an increase in discharge pressure at higher temperatures; however, using a receiver resulted in reducing that pressure (Zoughaib, 2016).

3.2.4
Common remarks on the three testing projects
A summary of the four projects is found in Table 3-5 below. The table outlines the types of equipment and alternative refrigerants tested, the conditions at which the tests were carried out, and the constraints on the prototype building or optimization process.

As mentioned in Chapter 2 above, assessing the R/AC equipment energy efficiency associated with a refrigerant is a complicated process, and the results depend on the approach taken. Energy efficiency of R/AC systems is in addition to the refrigerant thermodynamic and transport properties related to system configuration, component efficiencies, operating conditions, operating profile, system capacity, and system hardware, among others, which makes a consistent comparison difficult in many instances. Laboratory tests provide the ‘most trusted’ information about performance of a refrigerant in a given system. It is recognized that tests of a new refrigerant in a system optimized for a different refrigerant do not demonstrate the performance potential of the refrigerant tested (Abdelaziz, 2015). In addition to system ‘soft-optimization’, which includes adjustment of the refrigerant charge and expansion device, ‘hard optimization’ is necessary, which is a rather involved process and includes, amongst others, optimization of the compressor (including the size), refrigerant circuitry in the evaporator and condenser, and the overall system balance. Hard optimization is usually most effectively implemented by concurrent detailed simulations and extensive testing. It can be particularly complicated with refrigerant blends characterized by a significant temperature glide, which offer special challenges in heat exchanger design. Hence, overall system design and successful optimization play a significant role in achieving the refrigerant performance potential in a commercialized product. In practice, the hard optimization is also limited by the cost of the system, as the success in the market depends on a cost/performance trade-off. In addition, it is also constrained by commercial availability (e.g., manufacturing ability) for certain components, such as availability of preferred compressor displacement, heat exchanger dimensioning and capability to produce preferred circuitry.

Table 3-5: Summary of the three testing projects

[image: image2.emf]AREP-II

1 Type of test

Soft optimization or drop in of 

individual units tested against a 

base R-410A unit

2

No. of 

prototypes

22 units from different OEMs 

ranging from splits to water 

chillers

60Hz

Window

Mini 

Split

DuctedPackaged

Mini 

Split

Mini 

Split

Mini 

Split

Central

Micro 

Chann

el

Split unit Split unit

18 MBH 24 MBH 36 MBH 90 MBH 12 MBH18 MBH24 MBH

120 

MBH

120 

MBH

18 MBH R22 eq. 18 MBH R-410A eq.

4

Testing 

conditions

ANSI/AHRI 210/240, at T1, T3, and 

125 °F

5

Prototypes 

supplied and 

tests performed

Individual suppliers, testing at 

own premises

8 Constraints

(1) Drop-in; (2)Soft optimization by 

advjusting expansion device, 

adjusting charge amount; (3) One 

case of compressor speed 

adjustment using variable speed 

drives

9

Other 

components

N/A

Program PRAHA EGYPRA

Custom built test prototypes, 

comparing with base units: HCFC-22 

and R-410A

Custom built test prototypes, comparing 

with base units: HCFC-22 and R-410A

3

No. of 

categories

60 Hz 50 Hz 50 Hz

6

Refrigerants 

tested

Eq. to HCFC-22: HC-290, R-444B (L-20), 

DR-3

Eq. to R-410A: HFC-32, R-447A (L-41-1), R-

454B (DR-5A)

Eq. to HCFC-22: HC-290, R-444B (L-20), DR-3, 

R-457A (ARM-32d)

Eq. to R-410A: HFC-32, R-447A (L-41-1), R-

454B (DR-5A), ARM-71d

7

Expected 

delivery dates

Testing completed end of 2015

Final report end March 2016

Final Report end of 2016

ORNL – Phase I (Mini-split AC)

Soft optimization tests, comparing 

with base units: HCFC-22 and R-410A

2 commercially available units, soft 

modified to compare with base 

refrigerants: HCFC-22 and R-410a

60 Hz

To build new prototypes with 

dedicated compressors for the 

selected refrigerants fitting in the 

same box dimensions as the original 

design and comparing performance 

and efficiency to base models with 

HCFC-22 and R-410A units

To build new prototype with dedicated 

compressors for the selected refrigerants 

with the condition to meet same design 

capacities of the selected models in 

comparison to the HCFC-22 and R-410A 

units

Prototypes built at six OEMs, test at 

Intertek

Prototypes built at eight OEMs, test at 

NREA (local test laboratory in Egypt)

ANSI/AHRI Standard 210/240 and ISO 

5151 at T1, T3 and T3+ (50°C) and a 

continuity test for 2 hours at 52°C

EOS 4814 and 3795 (ISO 5151) T1, T2, and 

T3 conditions

13 prototypes, each specific capacity 

and refrigerant built by one or two 

OEMs, compared with base 

refrigerants: HCFC-22 and R-410A. 

Total prototype and base units = 22 

28 prototypes, each specific one capacity 

and one refrigerant built by one OEM, 

compared with base refrigerants: HCFC-22 

and R-410A.  Total prototype and base 

units = 37

Final Report October 2015

To change some components of the 

two prototypes to accommodate the 

different refrigerants, within a “soft 

optimisation” process

The project includes other non-testing 

elements to assess relevant issues of 

energy efficiency (EE) standards, 

technology transfer and economics in 

addition to special reporting on the 

potential of District Cooling to reduce 

the use of high-GWP alternatives

N/A

34 MBH chiller, 2x 36 MBH split, 48 

MBH packaged, 60 MBH packaged, 

72 MBH packaged

Eq. to R-410A: HFC-32, DR-5A, DR-55, 

L-41-1, L-41-2, ARM-71a, HPR2A

Final Report October 2015

N/A

ANSI/AHRI Standard 210/240 and 

ISO 5153 T3 (2010) condition

ORNL, one supplier – soft 

optimization in situ

Eq. to HCFC-22:N-20B, DR-3, ARM-20B, 

R-444B (L-20A), HC-290

Eq. to R-410A: HFC-32, R-447A (L-41-

1), DR-55, ARM-71d, HPR-2A


The tests under high ambient temperature conditions described above illustrate the difficulties of assessing the energy efficiency associated with a refrigerant, considering:

•
Testing temperatures differs from test program to test program.

•
Obviously no single temperature can accurately match a real geographical location, so the results do not relate directly to the actual energy consumption in a real situation.

•
The units used for testing vary within the same test programs.

•
In some tests only the refrigerant is changed, in others the oil is changed or even the compressor. 

•
Differences in test protocols further contributed to differences in results, for example: adjusting the expansion device for similar evaporator superheat, adjusting the charge for a similar sub-cooling, or adjusting compressor displacement to match compressor capacity to heat exchanger capacity.
The efficiency and capacity of the alternative refrigerants could be expected to improve through design modifications that manufacturers would conduct before introducing a new product to market. However, given that the scope of the research mostly covered soft-optimized testing, no detailed assessment can be made of the extent of potential improvements through design changes (Abdelaziz, 2015). Soft optimization affected limited areas such as capillary tube length or expansion device changes, refrigerant charge, and the type of lubricant. While the PRAHA project included a change of compressors, suppliers had no time to properly design those compressors for the particular applications. Results could probably be improved through further optimization such as heat transfer circuiting and proper compressor sizing and selection; however, there is a particular need for a redesign of systems including new components. 

Losses in cooling capacity are typically easier to recover through engineering optimization than are losses in COP. The primary practical limit to improvements in capacity and COP is the physical size of the unit. COP losses and the increases in compressor discharge temperature are particularly important in so far that these variables will be the primary focus of future optimization efforts. Before commercialization, engineering optimization carried out by manufacturers can address performance loss and the increase in compressor discharge temperature that many alternatives exhibited as well as safety concerns associated with flammable alternatives. The cost/performance ratio in the long term will be an important factor.
3.3 
Further considerations
Chapter 7 of the September 2015 XXVI/9 Task Force Report (UNEP, 2015) discussed additional topics related to HAT conditions: a definition of options for HAT conditions, design considerations, research projects, energy efficiency and regulations related to energy efficiency, current/future alternative chemicals and technologies for air conditioning under HAT conditions, and considerations for refrigeration systems under HAT conditions including not-in-kind technologies (UNEP, 2015). That information is not repeated here, but in view of the initial results of the testing under HAT conditions discussed above, some of those considerations are further highlighted below.

On energy efficiency: In regions with HAT conditions, legislations which set minimum energy performance standard (MEPS) values on air conditioners are emerging quickly. Most of the countries require third party verification of declared performance.  Higher minimum energy efficiencies are being announced on a regular basis, and this tendency may continue. As examples, Bahrain recently announced MEPS values and regulation of labelling air conditioners and Saudi Arabia is moving closer to releasing their regulation for large air conditioners and chillers expected in the second quarter of 2016.

When selecting new refrigerants, it is important to consider further increases on the current minimum energy efficiency requirements. To the extent increases in MEPS are not met by current models, this offers the opportunity for manufacturers to implement new refrigerants while redesigning equipment for those new refrigerants.
On design and availability: The design for HAT conditions needs special care to avoid excessive condensing temperatures and getting close to the critical temperature for each type of refrigerant. Other issues such as safety, refrigerant charge quantity, and improving the energy efficiency for both partial and full load have to be taken into consideration

In HAT conditions, the cooling load of a conditioned space can be up to three times that for moderate climates. Therefore larger capacity refrigeration systems may be needed which implies a larger refrigerant charge. Due to the requirements for charge limitation according to certain safety standards, the possible product portfolio suitable for high ambient conditions is more limited than for average climate conditions when using the same safety standards.

As concluded from the testing projects, special design of both components and products is needed for the new alternatives to meet the performance of systems in both capacity as well as efficiency requirements. While the commercialization process of refrigerants can take up to ten years, as seen from chapter 2, the commercialization of products using these alternatives will take further time.

As HCFC-22 air conditioning products get phased-out for some applications, the industry is turning to available technology using higher GWP refrigerants with higher discharge pressures like R-410A or comparable pressures like R-407C, depending on the application. One exception is HFC-32 which has seen a limited release for room air conditioners following the change-over to HFC-32 in Japan. HC-290 products, which have potential due to the favourable performance of HC-290 compared to HCFC-22 at HAT conditions, are not yet commercially available in many countries although some of the local suppliers are busy researching and designing such products.
On retrofits: It is important to note that any change of refrigerant in an existing design requires careful considerations. Theoretical calculations can give an idea about what is generally to be expected with a change in refrigerant, but specific details on the system design are needed. Modifying the electrical connections to meet the requirements needed for flammable refrigerants is an additional cost that needs to be taken into consideration. This cost is the same for A3 or A2L refrigerants and mostly due to changing the location of the controls in order to reduce the risk of a spark.  
For HAT conditions, the design and sizing of heat exchanger will impact how the system capacity and energy efficiency is influenced by a change in refrigerant. For system builders this means that each system design needs to be optimized for each type of refrigerant. This requires an investment similar to what has been spent on optimizing the system for the current refrigerant, and for highly cost optimized systems this investment might be considerable. 
On safety: Standards for the new refrigerants (that are mostly flammable), like ISO 5149, EN 378, IEC 60335-2-40 for air conditioners and heat pump systems and IEC 60335-2-89 for some commercial refrigeration appliances, are available, although IEC 60335-2-89 needs to be adapted to allow larger charges of flammable refrigerants that are required for the bigger capacities of air conditioners working at HAT conditions. IEC standards are a de facto legal requirement in several countries as the Certification Body (CB) scheme is the actual requirement for import and sales of products. In some countries, the implementation of old standards in the legislation, for instance building codes or other mandatory safety regulations, blocks the uptake of especially flammable refrigerants.
Another important aspect of safety standards is that their value is tied to the degree of compliance, and this makes training of system builders and service technicians an important part of implementing safety standards. The cost of the above certification, including the third-party certification cost and including the training cost, should be considered.

Although risk assessment work on flammable refrigerants is an on-going research in some countries, there is a need for a comprehensive risk assessment for A2L & A3 alternatives at installation, servicing and decommissioning practices at HAT conditions and field testing of units.
3.4
References

Abdelaziz, 2015
Abdelaziz, O. et al., 2015. Alternative Refrigerant Evaluation for High-Ambient-Temperature Environments:R-22 and R-410A Alternative for Mini-Split Air Conditioners, ORNL/TM-1015/536

Amrane, 2013
Amrane, K. Overview of AHRI Research on Low-GWP Refrigerants. Webinar, August 2013
ASHRAE, 2013
ASHRAE Handbook – Fundamentals. 2013

Burns, 2016
Burns, L. System Drop-in Tests of R-410A Alternative Refrigerants ARM-71a, R-454B, HPR2A, R-446A, R-447A in a Heat Pump. AHRI conference, Orlando, January 2016.

Chakroun, 2016
Chakroun, W. Evaluating Low-GWP Refrigerants for Air-Conditioning Industry in High Ambient Temperature Countries, Methodology and Final Results. ASHRAE Conference, Orlando, January 2016.
EN378-2:2008
The European Standard for the design and construction of refrigeration systems “Refrigerating systems and heat pumps — Safety and environmental requirements”. 2008.

IEC 60721-2-1
International Electro-technical Commission, “Classification of environmental conditions - Part 2-1: Environmental conditions appearing in nature - Temperature and humidity”. 2013
ISO 5151:2010 
International Organization for Standardization (ISO). Non-ducted air conditioners and heat pumps -- Testing and rating for performance. 
Li, 2016
Li, S. Soft-optimization test of R-410A alternative Refrigerant R-32 in a split condensing unit.  AHRI conference, Orlando, January 2016 

PRAHA, 2013 
PRAHA project document, 2013

UNEP, 2015
UNEP, Update Decision XXVI/9 Task Force report, Additional information on alternatives to ozone-depleting substances, September 2015, ISBN 978-9966-076-14-4
Schultz, 2016a
Schultz, K. Summary of High Ambient Temperature (HAT) Tests, Conducted Under AREP II, AHRI Conference, Orlando, January 2016
Schultz, 2016b
Schultz, K. Soft-Optimized System Test of R-410A, DR-55, R-32, and DR-5 in a 4-RT Unitary Rooftop Heat Pump. AHRI conference, Orlando, January 2016

Zoughaob, 2016
Zoughaib, A. System Drop in Test of R-410A Alternative Refrigerant DR5A, L1-1, L41-2, R32 and ARM71a in a Water Chiller. AHRI conference, Orlando, January 2016.

4
BAU and MIT scenarios for Article 5 and non-Article 5 Parties for 1990-2050: Refrigeration and Air Conditioning

This chapter is organized as follows:

4.1    
Expansion of scenarios

4.2 
Method used for calculation

4.3 
HFC consumption and production data

4.4 
Non-Article 5 scenarios

4.5 
Article 5 scenarios

4.6
Demand and benefit numbers

4.1

Expansion of scenarios
The previous Decision XXVI/9 paragraph 1 (c) asks to revise the scenarios: “Taking into account the uptake of various existing technologies, revise the scenarios for current and future demand elaborated in the October 2014 final report on additional information on alternatives to ozone-depleting substances of the Technology and Economic Assessment Panel’s task force on decision XXV/5, and improve information related to costs and benefits with regard to the criteria set out in paragraph 1 (a) of the present decision, including reference to progress identified under stage I and stage II of HCFC Phase-out Management Plans”.

The current Decision XXVII/4 requests to expand the scenarios to the period 1990-2050, twenty years after 2030 which was the last year in the scenarios used in the XXVI/9 Task Force report (UNEP, 2015).

The following scenarios have again been calculated, which apply to the R/AC sector only for this first report of the XXVII/4 Task Force submitted to OEWG-37:

a. A BAU scenario: In non-Article 5 countries this implies consideration of the F-gas regulation in the EU and regulations in the USA making certain HFCs unacceptable for certain sub-sectors by specific dates. This implies that, in the BAU calculation, certain high GWP substances in specific subsectors are replaced by low or lower  GWP substances. In this way it responds to comments the XXVI/9 Task Force already received at OEWG-36 and at MOP-27. The changes incorporated mainly apply to commercial refrigeration and, to a small degree, to stationary air conditioning. In Article 5 Parties, economic growth percentages expected for the period 2015-2050 are virtually the same as the ones in the XXVI/9 report. 

b. An MIT-3 scenario: A 2020 completion of conversion in non-Article 5 Parties of all R/AC sub-sectors and the start of the manufacturing conversion of all R/AC sub-sectors in 2020 in Article 5 Parties, now with consequences for the period 2020-2050.

c. An MIT-4 scenario: This is the same as the MIT-3 scenario, but with the assumption of 2025 for the start of the manufacturing conversion for stationary AC in Article 5 Parties, now with consequences for the period 2020-2050.

d. An MIT-5 scenario: This is the same as the MIT-3 scenario, but with the assumption of a 2025 completion of conversion in non-Article 5 Parties of all R/AC sub-sectors and the start of the manufacturing conversion of all R/AC sub-sectors in 2025 in Article 5 Parties, now with consequences for the period 2020-2050

For Article 5 Parties, manufacturing conversion projects would need preparation to be funded; it would also take a certain period of time before conversion projects would have been approved by a funding authority, so that they can be initiated. Finally, experience with CFCs and HCFCs has shown that, the slower the conversion of manufacturing, the longer the servicing tail will be, i.e., the longer servicing of equipment will be required (see sections 4.5.3 and 4.5.5 taken from UNEP, 2015). 

In this chapter the 1990-2050 scenarios will be given in the following sequence. First, the BAU scenario for non-Article 5 Parties will be dealt with, which will be analysed in tonnes and ktonnes CO2-eq. This is then followed by the MIT-3 and MIT-5 scenarios for non-Article 5 Parties; new manufacturing and servicing figures are given in ktonnes CO2-eq. (not in tonnes). As a next step, the Article 5 scenarios are given. Again, first the BAU scenario for Article 5 Parties will be dealt with, which will be presented in tonnes and ktonnes CO2-eq. This is then followed by the MIT-3, MIT-4 and MIT-5 scenarios for Article 5 Parties; new manufacturing and servicing figures are given in tonnes and in ktonnes CO2-eq.
4.2 

Method used for calculation

A “bottom-up” method has been used to predict the demand for R/AC equipment, as in the XXVI/9 Task Force report (UNEP, 2015). The RTOC 2010 Assessment Report (RTOC, 2010) describes the bottom-up method used here. A bottom up method derives the size of banks from information obtained from outside (accountancy reports on trade and exports, if possible, supplemented with a trend analysis). The banks serve to calculate emissions using agreed emission parameters. As a result, the demand (or “consumption”) can be calculated, which consists of (1) what is supplied to the existing banks (i.e., to compensate for leakage), and (2) what is added to the bank (i.e., in new equipment that has been charged) ), less (3) what is recovered and reused from the bank (i.e., material reclaimed from equipment decommissioned). In a spreadsheet analysis, this can be seen as one stream of refrigerant into a bank with equipment that has been manufactured over a number of years. In summary, the refrigerant demand or the annual sales of new or virgin refrigerant are equal to the amount of refrigerant introduced into the refrigeration and AC sector in a country (or regions) in a given year. It includes all the chemicals used for charging or recharging equipment, whether the charging is carried out in the factory, in the field after installation, or whether it concerns recharging with the appropriate equipment during maintenance operations.
In this type of “bottom-up” approach, one therefore evaluates the consumption of a certain refrigerant based on the numbers of equipment in which the fluid is charged, e.g. refrigerators, stationary air-conditioning equipment, and so on. It requires the establishment of an inventory of the numbers of equipment charged with substances (which then forms the total inventory, or the “bank”), and the knowledge related to their average lifetime, their emission rates, recycling, disposal, and other parameters. The annual emissions are estimated as functions of all these parameters during the equipment lifetime. 
Further information on sub-sectors, equations used and information on how the installed base is being considered can be found in the XXVI/9 Task Force report (UNEP, 2015).

As in the XXVI/9 report, the GWP for low GWP replacement refrigerants has been chosen as follows. In domestic refrigeration the use of isobutane is assumed with a very low GWP. In cases where the replacement refrigerant is known (ammonia, hydrocarbons) the very low GWP factors have been used. In case of commercial refrigeration, one can assume the use of carbon dioxide, pure low-GWP refrigerants or refrigerant blends in supermarkets, low GWP hydrocarbons in mass produced units, blends or carbon dioxide in condensing units (where an average GWP of 300 is used). For stationary AC as a whole, an average GWP of 300 has also been used (as an estimated average between very low GWP refrigerants and others, such as HFC-32 and various blends under investigation). The choice has been made on the basis of averaging and is not related to GWP considerations presented in Table 2-6. In MACs, replacement refrigerants are assumed to have negligible GWP. 

Growth rates for equipment production have been slightly changed (in two cases) compared to the rates used in the XXVI/9 Task Force  report, in order to give a more realistic  approach in the period after 2030. In this report, the growth rates apply as given in Table 4-1 below.

A number of considerations substantially complicate the calculations. This includes the preference to apply certain alternatives in specific equipment (and often under certain conditions), combined with the fact that the R/AC banks -the amounts present in the equipment- need recharging (i.e., servicing) over the entire lifetime of the equipment. Details on lifetime and annual leakage are given in (Table 5-2 in) the XXVI/9 report (UNEP, 2015).

Table 4-1: Growth rates for high-GWP HFCs in the various R/AC manufacturing sub-sectors during the periods 2010-2020 and 2020-2050 (a negative growth rate may still imply a positive growth in the number of equipment, assumes that low-GWP alternatives are increasingly applied in a BAU scenario and also in MIT scenarios until the conversion starts in specific years) 
	Period
	Sub-sector
	non-Article 5
	Article 5

	2010-2020
	Domestic refrigeration
	-3.9%
	5.8%

	
	Industrial refrigeration
	5.1%
	1.8%

	
	Transport refrigeration
	0.9%
	1.8%

	
	Commercial refrigeration
	-4.4%
	1.8%

	
	Stationary AC
	1.2%
	1%

	
	Mobile AC
	0.54%
	5%

	2020-2050
	Domestic refrigeration

(2030-2050)
	3%
	5.8%

(4.5%)

	
	Transport refrigeration
	
	4.5%

	
	Commercial refrigeration
	
	4.5%

	
	Stationary AC (2020-2030)
(2030-2050)
	
	1%

(1.5%)

	
	Mobile AC
	
	5%

	
	Industrial refrigeration
	4%
	3.7%


The calculation method covers the period from 1990 until 2050, as requested in Decision XXVII/4. Table 4-1 gives the growth rates assumed for new manufacturing in the various R/AC sub-sectors. The growth rate assumed in the manufacturing sector is only one parameter in the scenario calculations. The total demand for a sub-sector is calculated using parameters such as equipment lifetime, equipment leakage, charge at new manufacturing etc. This implies that, if the annual growth rate in a manufacturing sub-sector would be 1-5%, the annual growth rate of the total demand for that subsector can be several percent higher, e.g., varying from 3 to about 10%. These percentages can also be derived from the BAU Tables 4-7 and 4-8 and from the more detailed tables in the Annex. 

Depending on the application sector, uncertainties are different either because activity data include different uncertainties or because emission factors may vary significantly from one country to the other. The 2010 RTOC Assessment Report (RTOC, 2010) describes a simple approach that gives a quality index expressed in percentages. Further elaboration can be found in the XXVI/9 report. Uncertainties in banks are estimated at 12.5-22.5%, uncertainties in emissions 12.8-37%, specific numbers are dependent on the sub-sector. For the total R/AC sector, the uncertainty range in the demand calculated ranges from -10% to +30%.

As mentioned in the XXVI/9 report (UNEP, 2015), estimates should be cross-checked with reported HFC consumption and production data, specified per refrigerant (or blend).

4.3 

HFC consumption and production data

Estimates for global 2012 and 2015 HFC production can be made by combining UNFCCC data, manufacturer’s estimates for production capacity as well as global emission data. This has been given in the XXVI/9 Task Force report (UNEP, 2015). 

Data on HFC emissions are reported annually by developed countries, i.e., the Annex I Parties under the UNFCCC Kyoto Protocol; these emission data are estimated (calculated) by national agencies. 
HFC consumption and production data are also reported to the UNFCCC. Even when certain consumption and production data are missing (i.e., data not reported by some countries, or reported as HFCs in general), these reports enable a first estimate for the production of most HFCs in the Annex I Parties to be made.

Estimates for HFC production in the developing countries are often made by developed country chemical manufacturers (Kuijpers, 2015). Based on global consumption calculations, estimates for HFC production were also made by McCulloch (2015). Furthermore, global emissions data for several HFCs are available from certain literature sources, e.g. from Montzka (2015). Recently, Chinese HFC (and HCFC) production data up to the year 2013 were reported by Kaixiang (2015). Further HFC production estimates from Chinese manufacturers were also obtained through May-July 2015 (Kuijpers, 2015).    

This report uses almost the same estimates (as in the XXVI/9 report) for HFC production of the four main HFCs in Table 4-2 below (here has been added the estimated production of HFC-134a in one country). These four HFCs are the main ones used in the R/AC sector, except for HFC-134a which is also applied in several other sectors (foams, aerosols, MDIs). It shows a total HFC production of about 510 ktonnes for these four HFCs, forecast for the year 2015 (about 930 Mt CO2-eq., if calculated in climate terms). The global production capacity for these HFCs is estimated much higher, at a level of 750 ktonnes (Campbell, 2015).  

It needs to be emphasised that the global HFC production (for the four main HFCs) determined in this way is estimated to have a ± 10% uncertainty for the separate HFC chemicals. These production data for certain years are reasonably reliable global estimates and have been used in order to check the demand data determined via the bottom-up method used, which are given in the sections below for the R/AC sector.

Table 4-2: Estimates for global HFC production (for HFC-32, -125, -134a and -143a)
	Gg (ktonnes) 

for HFCs

(per year)
	(Montzka, 2015)

Emissions 
year 2012
	UNFCCC

based estimate for

non-A5 prod. (2012)
	Estimate for non-A5 production (for 2015)
	Estimate from various sources A5 production (for 2015)
	Estimate global production    year 2015 (*)

	HFC-32
	16 (21**)
	≈ 22
	23
	71
	94

	HFC-125
	41
	< 30
	31.5
	98.5
	130

	HFC-134a
	173
	< 100
	97
	156^
	253

	HFC-143a
	21
	<10
	11
	17
	28


Note: (*) Global production is equal to non-Article 5 plus Article 5 country (China, minor other) production 

Note: (**) Estimate from Rigby (2013) 
Note: (^) New value for this report
4.4

Non-Article 5 scenarios up to 2050

4.4.1
BAU scenario 
The figures below present the results of the Non-Article 5 scenario calculations:

· Non-Article 5 BAU scenario with subdivision for refrigerants.

· Non-Article 5 BAU scenario with subdivision for the various R/AC sub-sectors.

	     
	


[image: image3.png]nAS BAU Total demand HFC (tonnes)

600 000

500 000

400 000

300000

200000

100 000

1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

HR134a WR404A+R507 WR407C HR-410A M low GWP




   [image: image4.png]700 000

600 000

500 000

400 000

300000

200000

100 000

0

nAS BAU Total demand HFC (ktonnes CO2)

1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

BR134a WR404A+RS507 WRA07C ®R-410A M low GWP




Figure 4-1: Non-Article 5 BAU scenario with subdivision for the various refrigerants or refrigerant blends in tonnes and ktonnes CO2-eq.
Figure 4-1 shows the current and projected future non-Article 5 refrigerant BAU demand, with a subdivision for the commonly used high-GWP refrigerants and low-GWP refrigerants. The demand is given in tonnes and in GWP weighted terms (in ktonnes CO2-eq.). The amount of low-GWP refrigerants in the BAU scenario increases rapidly after 2020, because the BAU scenario includes the EU F-gas regulation as well as the US measures that enter into force as of 2016-2021 (e.g. low GWP in manufacturing of MACs). Over the period 2010-2050, the importance of R-410A and also R-407C for stationary AC becomes more and more dominant, with an increase of a factor 2 in tonnes and in GWP weighted tonnes between 2015 and 2050.  

Figure 4-2 shows the non-Article 5 refrigerant BAU demand, with a subdivision for the different R/AC sub-sectors (n.b., all graphs start in the year 1990). The demand is given in tonnes and in ktonnes CO2-eq.). By 2030-2050, stationary AC accounts for more than 80% of the GWP adjusted tonnage (even when using low growth percentages, as given in Table 4-1). This is due to the fact that only a small amount of regulatory restrictions have been built in.

	[image: image5.png]nAS BAU Total demand HFC (tonnes)

450 000

400 000

350 000

300000

250 000

200 000

150 000

100 000

50000

0
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

MAC ®DOMESTIC ®CommRef = INDUSTRIAL TRANSPORT —BSAC





	


[image: image6.png]NnAS BAU Total demand HFC (ktonnes CO2)

700 000

600 000

500 000

400 000

300000

200 000

100 000

0
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

MAC ®DOMESTIC ®CommRef ®INDUSTRIAL MTRANSPORT B SAC




Figure 4-2: Non-Article 5 BAU scenario; subdivision for the various R/AC sub-sectors 
Figure 4-3 below is in principle the same as in the XXVI/9 report (UNEP, 2015). It is surprising that, with the assumptions used, the percentage of R-404A in manufacturing decreases sharply, servicing remains (with the assumptions on the servicing percentage) and increases again after 2033 due to economic growth. The low GWP fraction remains very moderate in ktonnes CO2-eq., but that number implies a much larger percentage in tonnes. 
[image: image7.png]nAS BAU Manufacturing demand (ktonnes CO2)
700 000

500000
500000
400000
300 000
200000

100 000

0 = .
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

BR1342 WR404A MR4A07C ER410A WRS07 MlowGWP




[image: image8.png]nAS BAU servicing demand (ktonnes CO2)
700 000

500000
500000
400000
300 000
200000

100 000

0 .
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

HR134a WR404A MR4A07C WR4I0A WRS07 MlowGWP




Figure 4-3: New manufacturing and servicing parts of the non-Article 5 BAU scenario with a subdivision for the various R/AC sub-sectors

4.4.2 
MIT-3 scenario 

The following figures are for the MIT-3 scenario, for non-Article 5 Parties, in the various R/AC sub-sectors. This is the scenario where all sub-sectors are assumed to have converted by the year 2020. The total demand, the new manufacturing and the servicing demand are shown in Figs 4-4, 4-5 and 4-6.

[image: image9.png]nAS MIT3 - Total demand HFC (kt CO2)
700 000

500 000
500000
400000
300 000
200 000

100 000

0
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050
-100 000

HMAC BDOMESTIC mCommRef =INDUSTRIAL BTRANSPORT M SAC




Figure 4-4: Total demand for the Non-Article 5 MIT-3 scenario with a subdivision for the various R/AC sub-sectors

In MIT-3, the conversion in all sub-sectors to replace high-GWP refrigerants with a variety of refrigerants with an average GWP of 300 is assumed to be complete by 2020. Manufacturing capacity is converted in equal portions per year during the period 2017-2020. This is a major difference with the BAU scenario in which stationary AC is not addressed in this manner.

Figure 4-4 shows the steep decrease in the years before 2020, after which the curve flattens due to continued servicing needs. Since some high-GWP equipment will have been manufactured until 2020, and has an average 12 year lifetime, supplies of high-GWP refrigerants will continue to be required in decreasing amounts until about 2032. 
During 2010-2015, stationary AC and commercial refrigeration demands are assumed to increase quickly (see above). With transition in new manufacturing as of 2020, high-GWP refrigerants in these sector decrease, being replaced by low-GWP refrigerants that will account for more than 80% of total demand between 2020 and 2050. 

What becomes again clear here, that is that the minimum demand is reached by 2032-2033, after which the demand increases again, in particular due to growth in stationary AC.

So, there is a large improvement in climate impact, although with a GWP of 300, the large refrigerant volumes considered still have a certain climate impact. 

In Figure 4-5, the new manufacturing demand for the R/AC sub-sectors for high-GWP chemicals is given. By 2020, the demand for high-GWP refrigerants in new equipment manufacture falls to < 5% of the 2019 peak. 
[image: image10.png]NnAS MIT3 - Manufacturing demand HFC (kt CO2)
700 000

600000
500000
400000
300 000
200000

100 000

0

1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050
-100 000

HMAC HDOMESTIC mCommRef =INDUSTRIAL BTRANSPORT M SAC




Figure 4-5: Non-Article 5 MIT-3 scenario for new manufacturing demand for high-GWP refrigerants in the various R/AC sub-sectors in ktonnes CO2-eq. (assuming manufacturing conversion over a period of 3 years, 2017-2020).

[image: image11.png]NnAS MIT3 - Servicing demand HFC (kt CO2)
700 000

600 000
500000
400000
300 000
200 000

100 000

0
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050
-100 000

HMAC BDOMESTIC mCommRef =INDUSTRIAL BTRANSPORT M SAC




Figure 4-6: Non-Article 5 MIT-3 scenario with the servicing demand for the various sub-sectors in ktonnes CO2-eq. (assuming manufacturing conversion over the period 2017-2020)
Figure 4-6 shows the volumes of high-GWP refrigerants that will be needed for servicing the installed equipment in the MIT-3 scenario. This varies between sectors (see table in section above) and decreases rapidly between 2020 and 2032, increases again due to economic growth after 2033.

4.4.3 
MIT-5 scenario

This is the scenario where, for non-Article 5 Parties, all sub-sectors are assumed to have converted by the year 2025. The total, the new manufacturing and servicing demand are shown in Figs 4-7, 4-8 and 4-9.

[image: image12.png]nAS MITS - Total demand HFC (kt CO2)
700 000

600 000

500 000

400 000

300000

200 000

100 000

0
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

BMAC ®DOMESTIC mCommRef =INDUSTRIAL BTRANSPORT BSAC





Figure 4-7: Non-Article 5 MIT-5 scenario by R/AC sub-sectors in ktonnes CO2-eq. (compare Figure 4-4 for MIT-3)

Figure 4-7 includes both manufacturing and servicing, and is similar to Fig 4-5 for MIT-3. Figure 4-8 shows the same data for HFCs used in new manufacturing only. 

[image: image13.png]NnAS MITS - Manufacturing demand HFC (kt CO2)
700 000

500000
500000
400000
300 000

200000

100 000

0 -
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

HMAC BDOMESTIC mCommRef =INDUSTRIAL BTRANSPORT M SAC




Figure 4-8: Non-Article 5 MIT-5 scenario for new manufacturing demand for the various R/AC sub-sectors in GWP weighted terms (compare Fig. 4-5 for MIT-3)

In 2020, demand for new manufacturing is at about 180 Mt CO2-eq, and demand for servicing is also at about 180 Mt CO2-eq, but after 2025, the picture becomes different. New manufacturing demand decreases to less than 30 Mt CO2-eq, whereas this value is reached around the year 2037 in servicing. This is an issue that needs to borne in mind, i.e., that servicing will be delaying non-Article 5 reductions expressed in Mt CO2-eq. After a minimum in the demand in new manufacture and service, demand will increase again after 2035-2037 (5 years later than in MIT-3), due to economic growth assumed.
[image: image14.png]NnAS MITS - Servicing demand HFC (kt CO2)
700 000

600 000
500000
400000
300 000
200 000

100 000

0
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

HMAC WDOMESTIC mCommRef =INDUSTRIAL BTRANSPORT M SAC




Figure 4-9: Non-Article 5 MIT-5 scenario with the servicing demand for the various sub-sectors in GWP weighted terms (compare Fig. 4-6 for MIT-3)

4.5 

Article 5 scenarios

4.5.1
BAU scenario
Figure 4-10 below shows the Article 5 refrigerant BAU demand, with a subdivision for the different high GWP refrigerants and the low-GWP ones, both in tonnes and in GWP weighted terms (in CO2-eq.). 
The low-GWP refrigerants applied here are again only visible in tonnes and cannot be really seen in the scale when adjusted for GWP, shown in GWP weighted terms. In the 2020-2030 period, the high-GWP refrigerant R-404A, which is used in commercial refrigeration, becomes increasingly important in GWP weighted terms. 
The demand calculated for the year 2015 is about 300 ktonnes, a higher value than calculated for the BAU demand in non-Article 5 Parties (210-220 ktonnes, see above). 

The combined demand for non-Article 5 and Article 5 Parties of 510 ktonnes is somewhat higher than the 475 ktonnes estimate for global HFC production for the R/AC sector in 2015 (about 7% higher); total HFC production also includes HFC-134a production for other sectors. 

However, the above is likely to be caused by differences between production and calculations for stationary AC (see above; for the specific sub-sector the differences between amounts produced and calculated will be larger). 

Figure 4-11 shows the Article 5 refrigerant BAU demand for the different sub-sectors. The demand is again given in tonnes and in GWP weighted terms (ktonnes CO2-eq.). The BAU model predicts that between 2015 and 2050, overall demand increases by a factor of 7-8, to about 4.5 Gt CO2. Stationary AC increases substantially, but the commercial refrigeration sub-sector also is important in GWP terms, due to the use of the high-GWP R-404A.
[image: image15.png]2500000

2000000

1500000

1000000

500 000

0

AS BAU Total demand HFC (tonnes)

1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

HR134a WR404A+R507 WRAO7C HR-410A M low GWP




	[image: image16.png]AS BAU Total demand HFC (ktonnes CO2)

5000000
4500000
4000000
3500000
3000000
2500000
2000000
1500000
1000000
500 000

0
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

HR134a WR404A+RS507 WRAOTC HR-410A M low GWP




	


Figure 4-10: Article 5 BAU scenario with a subdivision for the various refrigerants and refrigerant blends in tonnes and ktonnes CO2-eq.
	[image: image17.png]A5 BAU Total demand HFC (tonnes)
2500000

2000000

1500000

1000000

500 000

0
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

BMAC WDOMESTIC mCommRef =INDUSTRIAL BTRANSPORT M SAC





	


[image: image18.png]A5 BAU Total demand HFC (ktonnes CO2)

1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

HMAC BDOMESTIC mCommRef =INDUSTRIAL BTRANSPORT M SAC





Figure 4-11: Article 5 BAU scenario with a subdivision for the various sub-sectors in tonnes and ktonnes CO2-eq.
[image: image19.png]A5 BAU Manufacturing demand (ktonnes CO2)
2500000

2000000

1500000

1000000

500 000

0
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

mR134a WR404A MR4A07C WR4I0A ERS07 MlowGWP




[image: image20.png]AS5 BAU servicing demand (ktonnes CO2)
2500000

2000000

1500000

1000000

500 000

0 -
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

mR134a WR404A BR4A07C WR4I0A WRS07 MlowGWP




Figure 4-12: Article 5 BAU scenario with new manufacturing and servicing demand for the various refrigerants (both in ktonnes CO2-eq.)

Figure 4-12 shows the demand for new manufacturing and for servicing. When manufacturing increases rapidly, the demand for servicing initially lags behind the volumes used for manufacturing. However, after a certain period it catches up, the servicing volumes become comparable to those used in manufacturing as follows in the BAU scenario (in ktonnes, not in ktonnes CO2-eq.): 

· 2015: new manufacturing 195 kt, servicing 100 kt
· 2020: new manufacturing 300 kt, servicing 200 kt
· 2030: new manufacturing 530 kt, servicing 515 kt

· 2050: new manufacturing 915 kt, servicing 1080 kt

4.5.2
MIT-3 scenario

In MIT-3, as of 2020, the conversion is assumed to start in all sub-sectors to replace high-GWP refrigerants with a variety of refrigerants, with the refrigerant blends assumed to have an average GWP of 300. Conversion has been assumed to take six years for Article 5 Parties, and the manufacturing capacity is modelled to convert in equal portions per year during the period 2020-2025 (six years). The following graphs are for the Article 5 MIT-3 scenario, split into in the various R/AC sub-sectors. 

[image: image21.png]AS MIT3 - Total demand HFC (kt CO2)

1400000

1200000

1000000

800 000

600 000

400 000

200 000

1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

HMAC ®DOMESTIC ®CommRef = INDUSTRIAL BTRANSPORT BSAC





Figure 4-13: Article 5 MIT-3 scenario with the demand for the R/AC sub-sectors, including both new manufacturing and servicing

Figure 4-13 shows the steep decrease in the first six years as of 2020, after which the curve flattens due to continued servicing needs only. Since some high-GWP equipment will have been manufactured until 2025, and has an average 12 year lifetime, supplies of high-GWP refrigerants will be continue to be required --in decreasing amounts-- until about 2035-37. 
During 2010-2015, stationary AC and commercial refrigeration demands increase rapidly. With controls assumed on new manufacturing as of 2020, the high-GWP refrigerant demand in these sector decreases, being replaced by low-GWP refrigerants, which will account for 80% of total demand between after 2025-2030. This is a large improvement in climate impact, although with this GWP of 300, the large refrigerant volumes considered still have a certain climate impact, the relative importance of these refrigerants is now much lower in the GWP weighted graph. The demand increases again (even with a large percentage low GWP refrigerants) after 2032, due to assumed economic growth.

In Figure 4-14, the new manufacturing demand for the R/AC sub-sectors for high-GWP chemicals is given. By 2026, the demand for high-GWP refrigerants in new equipment manufacture falls to <20% of the 2019 peak value, then starts to increase again due to economic growth.

[image: image22.png]A5 MIT3 Manufacturing demand HFC (kt CO2)

1400000

1200000

1000000

800 000

600 000

400 000

200000

0 -
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

EMAC HDOMESTIC ®CommRef HINDUSTRIAL WTRANSPORT MSAC




Figure 4-14: Article 5 MIT-3 scenario for new manufacturing demand for high-GWP refrigerants in the various R/AC sub-sectors in ktonnes CO2-eq. (compare Fig. 4-5 for non-Article 5 manufacturing demand)
[image: image23.png]1400000

1200000

1000000

800 000

600 000

400 000

200 000

0
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

HMAC ®DOMESTIC ®CommRef INDUSTRIAL WTRANSPORT MSAC




Figure 4-15: Article 5 MIT-3 scenario with the servicing demand for the various sub-sectors in ktonnes CO2-eq. (compare Fig. 4-6 for non-Article 5 servicing demand)
Figure 4-15 shows the amounts of high-GWP refrigerants in ktonnes CO2-eq. that will be needed for servicing the installed equipment. This varies between sectors and according to the speed of the manufacturing transition (the slower the manufacturing transition, the longer the servicing tail). Amounts (expressed in GWP weighted terms) will increase again after 2030-2032.

4.5.3 
Impact of manufacturing conversion periods in the MIT-3 scenario

Figure 4-16 shows the demand dependent on the rate of conversion or the length of the conversion period, which is an important parameter (unchanged from what was given in (UNEP, 2015)). The six years conversion period in manufacturing for all sub-sectors results in a decrease of approximately 40% by the year 2026, and about 50% by 2030. After 2026, the remaining demand is for servicing, and only declines by about 10% over the following four years (2026-2030). At the other extreme, a twelve years manufacturing conversion period only leads to a negligible reduction by 2026, and a 25% reduction by 2030. There is a difference of about 350 Mt CO2-eq. between the 6 and 12 year manufacturing conversion periods after 2025. 

[image: image24.png]A5 MIT3 demand HFC + GWP300 (Mt

co2)
1.000

800
600
400
200

0
2018 2020 2022 2024 2026 2028 2030 2032

——12years —M10years —A—8years —*—6years




Figure 4-16: Article 5 MIT-3 demand scenario for all R/AC sectors for new manufacturing conversion periods of 6-8-10-12 years in Mt CO2-eq. (UNEP, 2015)
A twelve year conversion period does not yield a lower demand until after 4-5 years after the start of the conversion in the year 2020. The build-up of the servicing demand (from the manufacturing that has not yet been converted) causes this increasing profile in the demand curve (2020-2025). Ten years after the start of the conversion in 2020, a demand reduction of 20-25% can be observed in this case. In the year 2026, the demand for the 12 years conversion period is almost twice as high as for the six years conversion period, which underscores that a rapid conversion will be very important. It will be clear that there is a direct relationship of the shape of the curves to the conversion period. There are also cost implications. A six year conversion period would imply twice the costs in the first six years after 2020 (2021-2026), compared to the 12 years conversion period, where the same amount will be spread over 12 years (see further in chapter 6). 

4.5.4
MIT-4 scenario 

[image: image25]
Figure 4-17: Article 5 MIT-4 total demand scenario by R/AC sub-sectors in ktonnes CO2-eq. (compare Figure 4-13 for MIT-3)

Figure 4-17 includes both manufacturing and servicing, and is the same as Fig 4-13 for MIT-3, except for the stationary AC sub-sector graph (in green), which continues to increase until 2025, before declining. MIT-4 parameters are otherwise identical to MIT-3 (replacement refrigerant blends GWP 300; 6 year manufacturing conversion). 

Figure 4-18 also shows the data for HFCs used in new manufacturing only. The various sub-sectors now decline to zero new manufacturing demand at different times. 

Demand in GWP weighted terms increases again after 2030-2032.

[image: image26.png]A5 MIT4 Manufactu

1400000

1200000

1000000

800 000

600 000

400 000

200000

0 -
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

HMAC HDOMESTIC ®CommRef INDUSTRIAL MTRANSPORT MSAC





Figure 4-18: Article 5 MIT-4 scenario for new manufacturing demand for the various R/AC sub-sectors in ktonnes CO2-eq. (compare Fig. 4-14 for MIT-3)

[image: image27]
Figure 4-19: Article 5 MIT-4 scenario with the servicing demand for the various sub-sectors in ktonnes CO2-eq. (stationary AC starting in 2025, and assuming a conversion of manufacturing over a period of six years) (compare Fig. 4-15 for MIT-3)

In 2020-2025, demand for new manufacturing peaks at about 550 Mt CO2-eq, and demand for servicing is about 300 Mt CO2-eq, but by 2026, these values are reversed. Servicing demand peaks around 2027, at a high level of about 560 Mt CO2-eq., due to the late conversion of the stationary AC sector (assumed to rely on the refrigerants R-410A and R-407C).

The above graphs give a good impression of the impact of the stationary AC sector. 
4.5.5
Impact of manufacturing conversion periods in the MIT-4 scenario

[image: image28.png]A5 MIT4 demand HFC + GWP300 (Mt

co2)
1.400

1.200
1.000
800
600
400
200

0
2018 2020 2022 2024 2026 2028 2030 2032

——12years —M10years —A—8years —*—6years




Figure 4-20: Article 5 MIT-4 demand scenario for all R/AC sectors combined for new manufacturing conversion periods of 6-8-10-12 years in Mt CO2-eq. (compare Figure 5-16 for the MIT-3 scenario) (UNEP, 2015)

Impact of the rate of manufacturing conversion: a long period of manufacturing conversion will result in an enhanced and long-lasting demand for high-GWP HFCs for servicing. 

Fig. 4-20 gives the four curves for the six, eight, ten and 12 years manufacturing conversion periods for all refrigeration and AC sub-sectors together (as in (UNEP, 2015)). The delayed manufacturing conversion for stationary AC from 2020 to 2025 makes a large difference in the high-GWP demand. 
For a six year conversion period, the HFC demand for MIT-3 and MIT-4 is projected for 2030 as (compare Figs. 4-16 and 4-20):

· MIT-3 (stationary AC conversion starting at 2020)  -  410 Mt CO2-eq

· MIT-4 (stationary AC conversion starting at 2025)  -  640 Mt CO2-eq 

The delay of five years for stationary AC conversion to 2025 results in a more than 50% increase in annual HFC climate impact by the year 2030. 

The MIT-4 scenario has a major adverse climate impact compared to MIT-3. There are cost implications of the MIT-4 scenario. 
A delay of five years for starting SAC conversion, and a six year manufacturing conversion period, means that the overall costs have to be considered over a longer period than six years (i.e., over 12 years (rather than six years)). 

4.5.6
MIT-5 scenario 


[image: image29]
Figure 4-21: Article 5 MIT-5 scenario by R/AC sub-sectors in ktonnes CO2-eq. (compare Figure 4-13 and 4-17 for MIT-3 and MIT-4)

Figure 4-21 includes both manufacturing and servicing, and is similar to Figs 4-13 and 4-17 for MIT-3 and MIT-4 (replacement refrigerant blends at a GWP of 300; six year manufacturing conversion). 

Figure 4-22 also shows the same data just for HFCs used in new manufacturing. All sub-sectors decline to zero new manufacturing demand at the same time (as in MIT-3). 

[image: image30.png]A5 MIT5 Manufactu

1400000

1200000

1000000

800 000

600 000

400000 -

200000 -

0

1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

BMAC WDOMESTIC ®CommRef INDUSTRIAL WTRANSPORT MSAC





Figure 4-22: Article 5 MIT-5 scenario for new manufacturing demand for the various R/AC sub-sectors in ktonnes CO2-eq. (manufacturing conversion over a period of six years) (compare Figure 4-14 and 4-19 for MIT-3 and MIT-4)


[image: image31]
Figure 4-23: Article 5 MIT-5 scenario with the servicing demand for the various sub-sectors in ktonnes CO2-eq. (assuming a conversion of manufacturing over a period of six years) (compare Figure 4-15 and 4-19 for MIT-3 and MIT-4)

In 2025, demand for new manufacturing peaks at about 760 Mt CO2-eq, and demand for servicing is about 650 Mt CO2-eq. After 2030, the manufacturing demand has gone down to a little more than 100 Mt CO2-eq., then increases again due to assumed economic growth to more than 200 Mt CO2-eq.
Servicing demand peaks at about 660 Mt CO2-eq., due to the late conversions of all sub-sectors, then decreases until around 2045 to about 330 Mt CO2-eq., after which year it starts to increase again (economic growth assumed).
4.5.7
Impact of manufacturing conversion periods in the MIT-5 scenario

[image: image32.png]A5 MIT5 demand HFC + GWP300 (Mt

co2)
1.500

1.000

500

0
2018 2020 2022 2024 2026 2028 2030 2032

——12years —M10years —A—8years —*—6years




Figure 4-24: Article 5 MIT-5 demand scenario for all R/AC sectors combined for new manufacturing conversion periods of 6-8-10-12 years (compare Figures 4-16 and 4-21 for the MIT-3 and MIT-4 scenarios) (UNEP, 2015)

The impact of the rate of manufacturing conversion is that a long period of manufacturing conversion will result in an enhanced and long-lasting demand for high-GWP HFCs for servicing. 

Fig. 4-24 gives the 4 curves for the six, eight, ten and 12 years manufacturing conversion periods for all refrigeration and AC sub-sectors together (again unchanged from what was given in (UNEP, 2015)). The delayed manufacturing conversion for all sub-sectors as of 2025 makes a large difference. While demand for a six year conversion period decreases substantially between 2025 and 2030, a 12 year conversion period only results in a small decrease between 2025 and 2030 (about 100 Mt CO2-eq.).

For a six year conversion period HFC demand is projected for 2030 for MIT-3 and MIT-5 as:

· MIT-3 (all conversions starting at 2020)  -  410 Mt CO2-eq.
· MIT-5 (all conversions starting at 2025)  -  810 Mt CO2-eq. 

The delay of five years for all sub-sector conversions to 2025 results in roughly a 100% increase in annual weighted climate impact by the year 2030. 

The MIT-5 scenario has a major adverse climate impact compared to MIT-3 (and also to some degree to MIT-4). Furthermore, cost implications of the MIT-5 scenario will therefore be larger than for MIT-3 and MIT-4. In the case of a six year manufacturing conversion period, overall costs will have to be covered over six years (expansion to 12 years does not seem desirable given the climate impact numbers).

4.6 
Refrigerant demand and mitigation benefit numbers

On the basis of the development of the demand for the various refrigerants and their replacements for the various sub-sectors (high-GWP and low-GWP alternatives), total demand in tonnes, as well as in GWP based CO2-eq. tonnes can be calculated. The tables below extend to 2050 the non-Article 5 and Article 5 demand in tonnes and Mt-CO2 eq. for BAU, MIT-3 and MIT-5 scenarios.
Table 4-3: Current and future refrigerant demand for (refrigerant) ODS alternatives (BAU scenario) for the period 2010-2050 in non-Article 5 Parties (tonnes)
	 
	 
	2010
	2015
	2020
	2025
	2030

	nA5 BAU
	HFC-134a
	79,097
	77,977
	72,872
	76,869
	82,356

	
	R-404A + R-507
	17,084
	18,376
	18,584
	19,357
	22,780

	
	R-407C
	11,195
	26,802
	34,942
	43,946
	50,402

	
	R-410A
	39,385
	77,354
	94,230
	114,001
	131,319

	
	Low GWP
	7,011
	11,844
	13,907
	16,802
	20,538

	
	Total
	153,772
	212,353
	234,535
	270,975
	307,395

	 
	 
	2030
	2035
	2040
	2045
	2050

	nA5 BAU
	HFC-134a
	82,356
	93,316
	108,107
	125,265
	145,166

	
	R-404A + R-507
	22,780
	26,151
	30,221
	34,960
	40,470

	
	R-407C
	50,402
	58,256
	67,534
	78,291
	90,760

	
	R-410A
	131,319
	151,966
	176,170
	204,229
	236,758

	
	Low GWP
	17,694
	21,170
	25,071
	29,334
	34,188

	
	Total
	307,395
	350,859
	407,103
	472,079
	547,342


Table 4-4: Current and future refrigerant demand for (refrigerant) ODS alternatives (BAU scenario) for the period 2010-2050 in non-Article 5 Parties (ktonnes CO2-eq.)
	 
	 
	2010
	2015
	2020
	2025
	2030

	nA5 BAU
	HFC-134a
	102,825
	101,370
	94,733
	99,930
	107,064

	
	R-404A + R-507
	67,397
	72,490
	73,312
	76,367
	89,875

	
	R-407C
	18,135
	43,419
	56,606
	71,193
	81,652

	
	R-410A
	75,619
	148,520
	180,922
	218,882
	252,133

	
	Low GWP
	8
	10
	13
	19
	27

	
	Total
	263,984
	365,809
	405,586
	466,391
	530,751

	nA5 BAU
	HFC-134a
	107,064
	121,311
	140,539
	162,845
	188,716

	
	R-404A + R-507
	89,875
	103,180
	119,238
	137,936
	159,679

	
	R-407C
	81,652
	94,374
	109,405
	126,831
	147,032

	
	R-410A
	252,133
	291,774
	338,246
	392,120
	454,575

	
	Low GWP
	27
	32
	38
	44
	51

	
	Total
	530,751
	610,671
	707,466
	819,776
	950,053


Table 4-5: Current and future refrigerant demand for (refrigerant) ODS alternatives (MIT-3 scenario) for the period 2010-2050 in non-Article 5 Parties (tonnes)
	MIT-3
	 
	2010
	2015
	2020
	2025
	2030

	nA5 3-year conversion 2020
	HFC-134a
	79,097
	77,977
	18,758
	13,415
	7,154

	
	R-404A + R-507
	17,084
	18,376
	12,882
	5,531
	2,046

	
	R-407C
	11,195
	26,802
	13,987
	10,417
	2,716

	
	R-410A
	39,385
	77,354
	22,337
	15,831
	4,127

	
	Low GWP
	7,011
	11,844
	133,007
	189,570
	252,410

	
	Total
	153,772
	212,353
	200,971
	234,764
	268,453

	 
	 
	2030
	2035
	2040
	2045
	2050

	nA5 3-year conversion 2020
	HFC-134a
	14,013
	3,941
	4,497
	5,153
	5,923

	
	R-404A + R-507
	2,046
	155
	121
	94
	73

	
	R-407C
	2,716
	0
	0
	0
	0

	
	R-410A
	4,127
	0
	0
	0
	0

	
	Low GWP
	252,410
	353,069
	409,796
	475,307
	551,172

	
	Total
	268,453
	357,165
	414,414
	480,554
	557,168


Table 4-6: Current and future refrigerant demand for (refrigerant) ODS alternatives (MIT-3 scenario) for the period 2010-2050 in non-Article 5 Parties (ktonnes CO2-eq.)
	MIT-3
	 
	2010
	2015
	2020
	2025
	2030

	nA5 3-year conversion 2020
	HFC-134a
	102,825
	101,370
	24,384
	17,441
	9,301

	
	R-404A + R-507
	67,397
	72,490
	50,811
	21,816
	8,072

	
	R-407C
	18,135
	43,419
	22,660
	16,876
	4,401

	
	R-410A
	75,619
	148,520
	42,886
	30,396
	7,923

	
	Low GWP
	8
	10
	29,826
	43,478
	58,396

	
	Total
	263,984
	365,809
	170,568
	130,007
	88,093

	 MIT-3
	 
	2030
	2035
	2040
	2045
	2050

	nA5 3-year conversion 2020
	HFC-134a
	9,301
	5,124
	5,846
	6,699
	7,700

	
	R-404A + R-507
	8,072
	611
	475
	370
	288

	
	R-407C
	4,401
	0
	0
	0
	0

	
	R-410A
	7,923
	0
	0
	0
	0

	
	Low GWP
	58,396
	72,898
	84,498
	97,948
	113,542

	
	Total
	88,093
	78,633
	90,819
	105,017
	121,530


The following can be observed for non-Article 5 Parties and the MIT-3 scenario, which results in the conversion of manufacturing by the year 2020: 
· The demand for various HFCs in non-Article 5 Parties is assumed to decrease substantially between 2015 and 2030, by more than 70% in climate weighted terms, thereafter the decrease will be much slower (values are already very low);

· The demand for the stationary AC sub-sector decreases enormously between 2025 and 2030, because virtually all requirements for high-GWP refrigerants disappear. The amount of low-GWP refrigerants in climate terms now becomes very relevant (due to the remaining GWP of 300 assumed for low-GWP refrigerant blends).

A number of tables containing the demand data in tonnes and ktonnes CO2-eq. extended to 2050 for the BAU, MIT-3 and MIT-5 scenarios in Article 5 Parties are given below.

Table 4-7: Current and future refrigerant demand for (refrigerant) ODS alternatives (BAU scenario) for the period 2010-2050 in Article 5 Parties (tonnes)
	 
	 
	2010
	2015
	2020
	2025
	2030

	A5 BAU
	HFC-134a
	54,393
	74,524
	100,162
	127,267
	161,107

	
	R-404A + R-507
	13,085
	36,404
	63,963
	111,927
	167,690

	
	R-407C
	16,543
	55,278
	101,216
	174,433
	285,500

	
	R-410A
	40,975
	106,661
	192,770
	284,682
	364,845

	
	Low GWP
	22,430
	29,318
	39,132
	51,975
	69,915

	
	Total
	147,426
	302,185
	497,243
	750,284
	1,049,057

	 
	 
	2030
	2035
	2040
	2045
	2050

	A5 BAU
	R134a
	161,107
	204,027
	257,413
	324,537
	409,494

	
	R404A + R507
	167,690
	223,579
	287,745
	361,077
	449,614

	
	R407C
	285,500
	372,998
	457,406
	532,391
	587,361

	
	R410A
	364,845
	427,266
	479,588
	524,488
	566,180

	
	Low GWP
	69,915
	85,957
	104,807
	127,577
	155,209

	
	Total
	1,049,057
	1,313,827
	1,586,959
	1,870,070
	2,167,858


Table 4-8: Current and future refrigerant demand for (refrigerant) ODS alternatives (BAU scenario) for the period 2010-2050 in Article 5 Parties (ktonnes CO2-eq.) 

	 
	 
	2010
	2015
	2020
	2025
	2030

	A5 BAU
	HFC-134a
	70,712
	96,880
	130,210
	165,447
	209,440

	
	R-404A + R-507
	51,584
	143,511
	252,168
	441,229
	661,025

	
	R-407C
	26,799
	89,550
	163,971
	282,581
	462,511

	
	R-410A
	78,671
	204,789
	370,118
	546,589
	700,502

	
	Low GWP
	62
	115
	203
	314
	469

	
	Total
	227,828
	534,845
	916,670
	1,436,160
	2,033,947

	 
	 
	2030
	2035
	2040
	2045
	2050

	A5 BAU
	HFC-134a
	209,440
	265,234
	334,637
	421,897
	532,343

	
	R-404A + R-507
	661,025
	881,313
	1,134,195
	1,423,289
	1,772,283

	
	R-407C
	462,511
	604,256
	740,997
	862,474
	951,525

	
	R-410A
	700,502
	820,350
	920,809
	1,007,017
	1,087,066

	
	Low GWP
	478
	601
	752
	940
	1,171

	
	Total
	2,033,956
	2,571,754
	3,131,390
	3,715,617
	4,344,388


· The demand for various high-GWP HFCs in Article 5 Parties is (still) calculated to increase by a factor 3-4 in the BAU scenario in climate terms during 2015-2030 and by a factor of 7-8 during 2015-2050;

· The BAU scenario shows a large growth in demand for the high-GWP refrigerants  R-404A, R-407C and R-410A, mainly due to the external (economic growth) factors.

Table 4-9: Current and future refrigerant demand for (refrigerant) ODS alternatives (MIT-3 scenario) for the period 2010-2050 in Article 5 Parties (tonnes)

	MIT-3
	 
	2010
	2015
	2020
	2025
	2030

	A5 6-year conversion 2020
	HFC-134a
	54,393
	74,649
	91,265
	48,357
	39,331

	
	R-404A + R-507
	13,085
	36,679
	58,259
	36,123
	12,751

	
	R-407C
	16,543
	55,278
	92,804
	58,029
	20,684

	
	R-410A
	40,975
	106,661
	170,273
	65,015
	18,972

	
	Low GWP
	22,430
	29,318
	87,522
	562,500
	991,332

	
	Total
	147,426
	302,585
	500,123
	770,024
	1,083,070

	MIT-3 
	 
	2030
	2035
	2040
	2045
	2050

	A5 6-year conversion 2020
	HFC-134a
	39,331
	39,386
	47,809
	57,936
	70,499

	
	R-404A + R-507
	12,751
	2,970
	1,576
	3,306
	5,077

	
	R-407C
	20,684
	13,059
	4,411
	0
	0

	
	R-410A
	18,972
	13,467
	4,267
	0
	0

	
	Low GWP
	991,332
	1,244,943
	1,528,895
	1,808,828
	2,092,281

	
	Total
	1,083,070
	1,313,825
	1,586,958
	1,870,070
	2,167,857


Table 4-10: Current and future refrigerant demand for (refrigerant) ODS alternatives (MIT-3 scenario) for the period 2010-2050 in Article 5 Parties (ktonnes CO2-eq.)
	 
	 
	2010
	2015
	2020
	2025
	2030

	A5 6-year conversion 2020
	HFC-134a
	70,712
	96,880
	117,959
	61,810
	49,670

	
	R-404A + R-507
	51,584
	143,511
	227,693
	141,897
	50,899

	
	R-407C
	26,799
	89,550
	150,343
	94,007
	33,508

	
	R-410A
	78,671
	204,789
	326,924
	124,828
	36,425

	
	Low GWP
	62
	115
	11,394
	123,925
	230,156

	
	Total
	227,828
	534,858
	834,313
	546,467
	400,658

	 
	 
	2030
	2035
	2040
	2045
	2050

	A5 6-year conversion 2020
	HFC-134a
	49,670
	51,201
	62,151
	75,316
	91,649

	
	R-404A + R-507
	50,899
	11,716
	6,210
	13,024
	20,005

	
	R-407C
	33,508
	21,156
	7,146
	0
	0

	
	R-410A
	36,425
	25,856
	8,192
	0
	0

	
	Low GWP
	230,156
	299,573
	365,941
	426,394
	481,920

	
	Total
	400,658
	409,502
	449,640
	514,734
	593,574


The following can be observed for the Article 5 Parties, in the case of the MIT-3 scenario: 

· The demand for various high-GWP HFCs in Article 5 Parties is estimated to increase by more than 50% between 2015 and 2020 in climate terms, however, it decreases again to the 2015 level in the year 2025;

· The most surprising result is that the demand in climate terms is reduced by only 20-25% in the year 2030, compared to 2015 (of course, it is much higher in the year 2020). This is due to the high growth assumed, in particular, for stationary AC, where, for all sub-sectors together, the use of replacement refrigerant blends with a GWP of 300 (at one million tonnes) is calculated to represent a climate impact of 230 Mt CO2-eq. in 2030;   

· It should be realised that the proposed MIT-3 manufacturing conversion will be very demanding and the assumptions used here are based on the fact that institutional and industrial capacities can completely deal with the conversion in this timeframe.

Table 4-11: Current and future refrigerant demand for (refrigerant) ODS alternatives 

(MIT-5 scenario) for the period 2010-2050 in Article 5 Parties (tonnes)

	MIT-5
	 
	2010
	2015
	2020
	2025
	2030

	A5 6-year conversion 2025
	HFC-134a
	54,393
	74,524
	100,162
	115,545
	60,851

	
	R-404A + R-507
	13,085
	36,404
	63,963
	101,843
	54,014

	
	R-407C
	16,543
	55,278
	101,216
	160,942
	108,166

	
	R-410A
	40,975
	106,661
	192,770
	254,067
	104,162

	
	Low GWP
	22,430
	29,318
	39,132
	117,161
	714,856

	
	Total
	147,426
	302,185
	497,243
	749,558
	1,042,049

	 MIT-5
	 
	2030
	2035
	2040
	2045
	2050

	A5 6-year conversion 2025
	HFC-134a
	60,851
	44,532
	48,104
	58,047
	70,499

	
	R-404A + R-507
	54,014
	29,994
	11,445
	3,515
	5,077

	
	R-407C
	108,166
	30,160
	21,180
	7,194
	0

	
	R-410A
	104,162
	83,830
	55,193
	16,085
	0

	
	Low GWP
	714,856
	1,125,310
	1,451,035
	1,785,231
	2,092,281

	
	Total
	1,042,049
	1,313,826
	1,586,957
	1,870,072
	2,167,857


Table 4-12: Current and future refrigerant demand for (refrigerant) ODS alternatives

(MIT-5 scenario) for the period 2010-2050 in Article 5 Parties (ktonnes CO2-eq.)
	 
	 
	2010
	2015
	2020
	2025
	2030

	A5 6-year conversion 2025
	HFC-134a
	70,712
	96,880
	130,210
	150,208
	79,106

	
	R-404A + R-507
	51,584
	143,511
	252,168
	401,490
	213,054

	
	R-407C
	26,799
	89,550
	163,791
	260,727
	175,229

	
	R-410A
	78,761
	204,789
	370,118
	487,808
	199,992

	
	Low GWP
	62
	115
	203
	16,637
	166,480

	
	Total
	227,828
	534,845
	916,670
	1,316,870
	833,861

	 
	 
	2030
	2035
	2040
	2045
	2050

	A5 6-year conversion 2025
	HFC-134a
	79,106
	57,892
	62,535
	75,460
	91,649

	
	R-404A + R-507
	214,824
	118,243
	45,115
	13,846
	20,005

	
	R-407C
	175,229
	48,859
	34,312
	11,654
	0

	
	R-410A
	199,992
	160,953
	105,970
	30,882
	0

	
	Low GWP
	166,332
	265,216
	342,666
	419,344
	481,920

	
	Total
	835,483
	651,163
	590,598
	551,186
	593,574


In Tables 4-11 and 4-12 above, the following can be observed for the Article 5 Parties and the MIT-5 scenario: 

· The MIT-5 scenario represents a much higher climate impact than the MIT-3 scenario. For the future, the question remains which scenario could or would be the most likely one that Article 5 Parties can and will follow;
· The demand for various high-GWP HFCs in Article 5 Parties is calculated to increase by a factor of 1.7 between 2015 and 2020 and by a factor 1.45 between 2020 and 2025, expressed in ktonnes CO2-eq.. (this corresponds more or less to the same growth in refrigerant demand in tonnes);

· One might conclude that the proposed MIT-5 manufacturing conversion is not expected to be too demanding and that institutional and industrial capacities should be able to deal with the conversion in this timeframe, if not before. This, of course, assumes the gradual acceptance of alternatives for all sub-sectors before 2025, which seems to be definitely possible taking into account the pace of acceptance for many alternatives anticipated at present. 

Table 4-13: Refrigerant demand for (refrigerant) ODS alternatives in the BAU, MIT-3, MIT-4 and MIT-5 scenarios for various periods in Article 5 Parties (n.b., in Mt CO2-eq.); the total concerns the total refrigerant demand over the period 2020-2050 

	 Period
	2020-2030
	2031-2040
	2041-2050
	Total

	A5 BAU

A5 MIT-3

A5 MIT-4

A5 MIT-5
	16016
	26321
	37874
	80211

	
	6349
	4202
	5257
	15808

	
	9762
	5798
	5540
	21100

	
	12069
	6696
	5719
	24484


Table 4-14: Refrigerant demand for (refrigerant) ODS alternatives in the BAU, MIT-3, MIT-4 and MIT-5 scenarios for the periods 2020-2030, 2020-2040 and 2020-2050 in Article 5 Parties (n.b., in Mt CO2-eq.); in brackets the saving for the various MIT scenarios compared to BAU in that period is given

	 Period
	2020-2030
	2020-2040
	2020-2050

	A5 BAU

A5 MIT-3

A5 MIT-4

A5 MIT-5
	16016
	42337
	80211

	
	6349 (0,604)
	10551 (0,751)
	15808 (0,803)

	
	9762 (0,390)
	15560 (0,632)
	21100 (0,737)

	
	12069 (0,246)
	18765 (0,557)
	24484 (0,695)


(As already presented in the XXVI/9 report (UNEP, 2015)) Table 4-13 (and 4-14) shows the following (rounded) integrated total refrigerant demand for the three scenarios for the period 2020-2030 in Mt CO2-eq.:
BAU: 

16,000 Mt CO2-eq. 
MIT-3:
  
  6,400 Mt CO2-eq.

MIT-4:   
  9,800 Mt CO2-eq.

MIT-5:

12,000 Mt CO2-eq.

The MIT-3 reduction from BAU of 9,500 Mt CO2-eq. represents a saving of 60%. In the case of  the MIT-4 scenario, with a reduction of about 6200 Mt CO2-eq. compared to BAU, there is a saving of almost 40% from BAU. The MIT-5 reduction of 4,000 Mt CO2-eq. represents a smaller saving of 25% from BAU for this 2020-2030 period.

Values change calculated for the three scenarios in Mt CO2-eq. through 2050:
BAU: 

80,200 Mt CO2-eq. 
MIT-3:
  
15,800 Mt CO2-eq.

MIT-4:   
21,000 Mt CO2-eq.

MIT-5:

24,500 Mt CO2-eq.

The MIT-3 reduction from BAU represents a saving of 80%. In the case of  the MIT-4 scenario there is a saving of about 75% while the MIT-5 reduction of 56,000 Mt CO2-eq. compared to BAU represents a savings of 70% from BAU. There are still differences between the various MIT scenarios. However, the BAU demand for the entire period 2020-2050 becomes so large that the differences in reduction between the various mitigation scenarios MIT-3, -4 and -5 become less relevant. 

A more reasonable estimate of the savings that can be realised via the various MIT scenarios may be the consideration of the period 2020-2040;  

BAU: 

42,300 Mt CO2-eq. 
MIT-3:
  
10,600 Mt CO2-eq.

75% saving compared to BAU
MIT-4:   
15,600 Mt CO2-eq.

63% saving compared to BAU
MIT-5:

18,800 Mt CO2-eq.

56% saving compared to BAU.

Another way to look at this is to analyse the trends in demand that are observed, as follows:

· Peak values determined for the refrigerant demand increase with a later start of conversion. The peak value for MIT-3 in 2020 is about 820 Mt CO2-eq. The peak value for MIT-4 in the year 2023, with conversion of stationary AC starting in 2025, is 25% higher (at 1025 Mt CO2-eq.), whereas the peak value for demand for MIT-5 in the year 2025 is 62% higher than the one for MIT-3 (at 1330 Mt CO2-eq.). 
· For MIT-3, the average decline over a period of ten years after the peak year is 5.3% per year (from 820 down to 390 Mt CO2-eq. in 2030), for MIT-4 it is 4.5% per year (from 1025 down to 570 Mt CO2-eq. in 2033) and for MIT-5 it is 5.5% per year (from 1330 down to 605 Mt CO2-eq.). If the freeze year (which coincides with the peak year) is chosen as the starting point, an average annual reduction of 5% in total demand (manufacturing and servicing) seems feasible for all types of scenarios. These values all apply to a manufacturing conversion period of six years.

· For each separate Article 5 country the peak (freeze) values will still be in the same years for the various MIT scenarios considered, however, annual reduction percentages achievable thereafter may be significantly different per country. 
4.7

References

Campbell, 2015
Campbell, N., Presentation at OORG meeting World Bank, “HFC Production and Demand”, May 2015

Kaixian, 2015
Kaixian, W., Presentation at OORG meeting World Bank, “HCFCs/HFCs Production in China”, May 2015

Kuijpers, 2015
Kuijpers, L., Private communications from chemical manufacturers, May-July 2015 

McCulloch, 2015 
Private communications with L. Kuijpers, May 2015
Montzka, 2015
S. A. Montzka, M. McFarland, S. O. Andersen, B. R. Miller, D. W. Fahey, B. D. Hall, L. Hu, C. Siso, and J. W. Elkins, Recent Trends in Global Emissions of Hydrochlorofluorocarbons and Hydrofluorocarbons: Reflecting on the 2007 Adjustments to the Montreal Protocol, J. Phys. Chem., dx.doi.org/10,1021/jp5097376, 2015 
Rigby et al., 2013  
M. Rigby, R.G. Prinn, S. O’Doherty, B.R. Miller, D. Ivy, J. Muehle, C.M . Hart, P.K. Salameh, T. Arnolds, R.F. Weiss, P.B. Krummel, L.P. Steele, P.J. Fraser, D. Young and .P. Simmonds, “Recent and future trends in synthetic greenhouse gas radiative forcing”, Geophysical Research Letters, 10,1002/2013GL059099
RTOC, 2010
UNEP, Refrigeration, AC and Heat Pumps Technical Options Committee, 2010 Assessment Report, ISBN 978-9966-20-002-0
UNEP, 2015
UNEP, Update Report of the XXVI/9 TEAP Task Force, September 2015, ISBN 978-9966-076-14-4 

5
List of acronyms and abbreviations

AHRI
Air Conditioning, Heating and Refrigeration Institute 

AREP
Alternative Refrigerants Evaluation Program

ASHRAE
American Society of Heating, Refrigerating and Air Conditioning Engineers 

ASTM 
American Society for Testing and Materials

CEN 
European Committee for Standardisation

CFC 
Chlorofluorocarbon

CO2 
Carbon Dioxide

COP 
Coefficient of Performance

EPA 
US Environmental Protection Agency

EU 
European Union

GWP 
Global Warming Potential

HC
Hydrocarbon

HCC
Hydrochlorocarbon

HCFC 
Hydrochlorofluorocarbon

HCFO
Hydrochlorofluoroolefin

HCO
Oxygenated hydrocarbon

HFC 
Hydrofluorocarbon

HFO 
Hydrofluoroolefin
HTOC 
Halons Technical Options Committee

IIR
International Institute for Refrigeration

IPCC 
Intergovernmental Panel on Climate Change

ISO 
International Organisation for Standardisation

LCA
Life Cycle Analysis

LCCP
Life Cycle Climate Performance 

MBH
Thousand BTUs per Hour
ODP 
Ozone Depletion Potential

ODS 
Ozone Depleting Substance

OEL
Occupational Exposure Limit 

R/AC
Refrigeration and Air Conditioning (also RAC&HP)
RTOC
Refrigeration, AC and Heat Pumps Technical Options Committee

SNAP 
Significant New Alternatives Policy

TEAP 
Technology and Economic Assessment Panel

TEWI
Total Equivalent Warming Impact
TLV
Threshold Limit Value 

UL 
Underwriters Laboratories Inc.

UNEP
United Nations Environment Programme

VOC
Volatile Organic Compound
Annex 1 - Updated Tables for total, new manufacturing, and servicing demand

Below updated tables until 2050 (compared to 2030 in the XXVI/9 TF report) are given for the total demand, new manufacturing and servicing demand (data used for the scenario graphs in chapter 4):

· for non-Article 5 and Article 5 Parties

· for the major R/AC sub-sectors

· for the BAU, MIT-3 and MIT-5 scenarios:

· Table A6-1:  Demand in tonnes for new manufacturing plus servicing (total demand) for non-Article 5 Parties for the period 2010-2050 and for the six major sub-sectors for the BAU, MIT-3 and MIT-5 scenarios

· Table A6-2:  Demand in tonnes for new manufacturing only for non-Article 5 Parties for the period 2010-2050 for the six major sub-sectors and for the BAU, MIT-3 and MIT-5 scenarios

· Table A6-3:  Demand in tonnes for servicing only for non-Article 5 Parties for the period 2010-2050 for the six major sub-sectors and for the BAU, MIT-3 and MIT-5 scenarios

· Table A6-4:  Demand in ktonnes CO2-eq. for new manufacturing plus servicing (total demand) for non-Article 5 Parties for the period 2010-2050 and for the six major sub-sectors for the BAU, MIT-3 and MIT-5 scenarios

· Table A6-5:  Demand in ktonnes CO2-eq.for new manufacturing only for non-Article 5 Parties for the period 2010-2050 and for the six major sub-sectors for the BAU, MIT-3 and MIT-5 scenarios
· Table A6-6:  Demand in ktonnes CO2-eq.for servicing only for non-Article 5 Parties for the period 2010-2050 and for the six major sub-sectors for the BAU, MIT-3 and MIT-5 scenarios
· Table A6-7:  Demand in tonnes for servicing and new manufacturing (total demand) for Article 5 Parties for the period 2010-2050 for the six major sub-sectors and for the BAU, MIT-3 and MIT-5 scenarios

· Table A6-8:  Demand in tonnes for new manufacturing only for Article 5 Parties for the period 2010-2050 for the six major sub-sectors and for the BAU, MIT-3 and MIT-5 scenarios

· Table: A6-9:  Demand in tonnes for servicing only for Article 5 Parties for the period 2010-2050 for the six major sub-sectors and for the BAU, MIT-3 and MIT-5 scenarios

· Table A6-10:  Demand in ktonnes CO2-eq. for new manufacturing plus servicing (total demand) for Article 5 Parties for the period 2010-2050 and for the six major sub-sectors for the BAU, MIT-3 and MIT-5 scenarios

· Table A6-11:  Demand in ktonnes CO2-eq. for new manufacturing only for Article 5 Parties for the period 2010-2050 and for the six major sub-sectors for the BAU, MIT-3 and MIT-5 scenarios

· Table A6-12:  Demand in ktonnes CO2-eq. for servicing only for Article 5 Parties for the period 2010-2050 and for the six major sub-sectors for the BAU, MIT-3 and MIT-5 scenarios
Table A6-1:  Demand in tonnes for new manufacturing plus servicing (total demand) for non-Article 5 Parties for the period 2010-2050 and for the six major sub-sectors for the BAU, MIT-3 and MIT-5 scenarios

[image: image33.emf]In tonnes (new manufacturing plus servicing)

2010 2015 2020 2025 2030 2035 2040 2045 2050

HFC-134a 1876 1451 957 954 862 999 1158 1342 1556

HC-600a 362 415 545 786 1156 1340 1553 1801 2087

HFC-134a 2256 2373 2400 2395 2104 2013 2334 2705 3136

R-404A + R-507 15305 16093 11907 7478 5667 5457 6326 7334 8502

Low GWP 0 0 4373 9213 13988 18396 21326 24723 28661

HFC-134a 1041 1113 1148 1188 1233 1343 1484 1661 1875

R-404A + R-507 603 743 491 378 218 193 213 203 178

R-22 1323 675 455 306 206 139 0 0 0

Low GWP 6649 8898 11269 13764 16735 19994 23621 27625 32207

HFC-134a 222 213 302 371 483 585 679 787 912

R-404A + R-507 1176 1540 917 833 705 626 588 543 491

Low GWP 0 0 557 756 1014 1314 1662 2065 2532

HFC-134a 4032 4468 1422 994 226 0 0 0 0

R-410A 39385 77354 94230 114001 131319 151966 176170 204229 236758

R-407C 11195 26802 26172 30349 31368 32918 34890 37176 39826

Low GWP 0 0 8770 13597 19034 25337 32644 41115 50935

HFC-134a 69670 68359 48425 38118 27509 24564 28477 33013 38271

Low GWP 0 0 18218 32849 49939 63812 73975 85758 99417

HFC-134a 1876 1451 2 1 1 0 0 0 0

HC-600a 362 415 1500 1739 2017 2338 2710 3142 3642

HFC-134a 2256 2373 2400 2395 2104 2013 2334 2705 3136

R-404A + R-507 15305 16093 10320 4207 759 0 0 0 0

Low GWP 0 0 5962 12483 18896 23854 27653 32057 37163

HFC-134a 1041 1113 1148 1188 1233 1343 1484 1661 1875

R-404A + R-507 603 743 322 219 121 88 100 76 36

Low GWP 6649 8898 11438 13923 16831 20099 23736 27752 32348

HFC-134a 222 213 302 371 483 585 679 787 912

R-404A + R-507 1176 1540 730 484 162 0 0 0 0

Low GWP 0 0 744 1105 1558 1940 2249 2608 3023

HFC-134a 4032 4468 1422 994 226 0 0 0 0

R-410A 39385 77354 22337 15831 4127 0 0 0 0

R-407C 11195 26802 13904 11080 4215 0 0 0 0

Low GWP 0 0 92513 129552 170632 210221 243704 282520 327518

HFC-134a 69670 68359 41871 25932 8755 0 0 0 0

Low GWP 0 0 24772 45035 68704 88376 102452 118770 137687

HFC-134a 1876 1451 957 1 1 1 1 0 0

HC-600a 362 415 545 1739 2016 2338 2710 3142 3642

HFC-134a 2256 2373 2400 2395 2104 2013 2334 2705 3136

R-404A + R-507 15305 16093 11907 4983 1535 57 0 0 0

Low GWP 0 0 4690 12483 18896 23854 27653 32057 37163

HFC-134a 1041 1113 1148 1188 1233 1343 1484 1661 1875

R-404A + R-507 603 743 491 277 159 126 162 156 123

Low GWP 6649 8898 11269 13885 16793 20061 23674 27672 32262

HFC-134a 222 213 302 371 483 585 679 787 912

R-404A + R-507 1176 1540 872 531 209 23 0 0 0

Low GWP 0 0 602 1058 1511 1917 2249 2608 3023

HFC-134a 4032 4468 1422 994 226 0 0 0 0

R-410A 39385 77354 94230 26474 14768 1761 0 0 0

R-407C 11195 26802 26172 14906 8041 2012 0 0 0

Low GWP 0 0 8770 115904 156984 203045 243704 282520 327518

HFC-134a 69670 68359 48425 29702 12514 1943 0 0 0

Low GWP 0 0 18218 41265 64934 86433 102452 118770 137687

nA5 BAU

nA5 MIT-3

nA5 MIT-5

SAC

Transport

Industrial

Commercial

Domestic

MAC

Domestic

Commercial

Industrial

Transport

SAC

MAC

Domestic

Commercial

Industrial

Transport

SAC

MAC


Table A6-2:  Demand in tonnes for new manufacturing only for non-Article 5 Parties for the period 2010-2050 for the six major sub-sectors and for the BAU, MIT-3 and MIT-5 scenarios

[image: image34.emf]In tonnes (new manufacturing)

2010 2015 2020 2025 2030 2035 2040 2045 2050

HFC-134a 1872 1449 955 953 861 998 1157 1341 1554

HC-600a 362 415 545 786 1155 1339 1553 1800 2087

HFC-134a 2027 1786 665 771 894 1036 1201 1393 1614

R-404A + R-507 7006 3028 2262 1787 2072 2402 2784 3228 3742

Low GWP 0 0 3248 4600 5332 6182 7166 8308 9631

HFC-134a 327 397 418 439 461 535 620 719 833

R-404A + R-507 345 420 153 97 16 19 22 26 30

R-22 320 0 0 0 0 0 0 0 0

Low GWP 2412 3884 5013 5938 7027 8146 9444 10948 12692

HFC-134a 45 57 142 164 191 221 256 297 344

R-404A + R-507 578 738 89 131 152 176 204 236 274

Low GWP 0 0 482 531 616 714 827 959 1112

HFC-134a 3387 3118 0 0 0 0 0 0 0

R-410A 34160 61755 68084 78927 91499 106072 122966 142552 165257

R-407C 7513 16313 10791 12350 14317 16597 19241 22306 25858

Low GWP 0 0 7209 8516 9873 11445 13268 15382 17831

HFC-134a 17728 17622 4573 5430 6295 7297 8460 9807 11369

Low GWP 0 0 12279 14105 16352 18956 21976 25476 29533

HFC-134a 1872 1449 0 0 0 0 0 0 0

HC-600a 362 415 1500 1739 2016 2337 2709 3141 3641

HFC-134a 2027 1786 665 771 894 1036 1201 1393 1614

R-404A + R-507 7006 3028 990 0 0 0 0 0 0

Low GWP 0 0 4520 6387 7404 8584 9951 11536 13373

HFC-134a 327 397 418 439 461 535 620 719 833

R-404A + R-507 345 420 4 0 0 0 0 0 0

Low GWP 2412 3884 5162 6035 7044 8165 9466 10974 12721

HFC-134a 45 57 142 164 191 221 256 297 344

R-404A + R-507 578 738 0 0 0 0 0 0 0

Low GWP 0 0 601 662 767 890 1031 1195 1386

HFC-134a 3387 3118 0 0 0 0 0 0 0

R-410A 34160 61755 1268 0 0 0 0 0 0

R-407C 7513 16313 335 0 0 0 0 0 0

Low GWP 0 0 84480 99794 115688 134115 155476 180239 208946

HFC-134a 17728 17622 0 0 0 0 0 0 0

Low GWP 0 0 17005 19535 22647 26254 30435 35283 40902

HFC-134a 1872 1449 955 0 0 0 0 0 0

HC-600a 362 415 545 1739 2016 2337 2709 3141 3641

HFC-134a 2027 1786 665 771 894 1036 1201 1393 1614

R-404A + R-507 7006 3028 2262 0 0 0 0 0 0

Low GWP 0 0 3248 6387 7404 8584 9951 11536 13373

HFC-134a 327 397 418 439 461 535 620 719 833

R-404A + R-507 345 420 153 0 0 0 0 0 0

Low GWP 2412 3884 5013 6035 7044 8165 9466 10974 12721

HFC-134a 45 57 142 164 191 221 256 297 344

R-404A + R-507 578 738 89 0 0 0 0 0 0

Low GWP 0 0 482 662 767 890 1031 1195 1386

HFC-134a 3387 3118 0 0 0 0 0 0 0

R-410A 34160 61755 68084 0 0 0 0 0 0

R-407C 7513 16313 10791 0 0 0 0 0 0

Low GWP 0 0 7209 99794 115688 134115 155476 180239 208946

HFC-134a 17728 17622 4573 0 0 0 0 0 0

Low GWP 0 0 12279 19535 22647 26254 30435 35283 40902

nA5 BAU

nA5 MIT-3

nA5 MIT-5

Domestic

Commercial

Industrial

Transport

SAC

MAC

Domestic

Commercial

Industrial

Transport

SAC

MAC

Domestic

Commercial

Industrial

Transport

SAC

MAC


Table A6-3:  Demand in tonnes for servicing only for non-Article 5 Parties for the period 2010-2050 for the six major sub-sectors and for the BAU, MIT-3 and MIT-5 scenarios

[image: image35.emf]In tonnes (servicing)

2010 2015 2020 2025 2030 2035 2040 2045 2050

HFC-134a 4 2 2 1 1 1 1 1 2

HC-600a 0 0 0 0 1 1 0 1 0

HFC-134a 229 587 1735 1624 1210 977 1133 1312 1522

R-404A + R-507 8299 13065 9645 5691 3595 3055 3542 4106 4760

Low GWP 0 0 1125 4613 8656 12214 14160 16415 19030

HFC-134a 714 716 730 749 772 808 864 942 1042

R-404A + R-507 258 323 338 281 202 174 191 177 148

R-22 1003 675 455 306 206 139 0 0 0

Low GWP 4237 5014 6256 7826 9708 11848 14177 16677 19515

HFC-134a 177 156 160 207 292 364 423 490 568

R-404A + R-507 598 802 828 702 553 450 384 307 217

Low GWP 0 0 75 225 398 600 835 1106 1420

HFC-134a 645 1350 1422 994 226 0 0 0 0

R-410A 5225 15599 26146 35074 39820 45894 53204 61677 71501

R-407C 3682 10489 15381 17999 17051 16321 15649 14870 13968

Low GWP 0 0 1561 5081 9161 13892 19376 25733 33104

HFC-134a 51942 50737 43852 32688 21214 17267 20017 23206 26902

Low GWP 0 0 5939 18744 33587 44856 51999 60282 69884

HFC-134a 4 2 2 1 1 0 0 0 0

HC-600a 0 0 0 0 1 1 1 1 1

HFC-134a 229 587 1735 1624 1210 977 1133 1312 1522

R-404A + R-507 8299 13065 9330 4207 759 0 0 0 0

Low GWP 0 0 1442 6096 11492 15270 17702 20521 23790

HFC-134a 714 716 730 749 772 808 864 942 1042

R-404A + R-507 258 323 318 219 121 88 100 76 36

Low GWP 4237 5014 6276 7888 9787 11934 14270 16778 19627

HFC-134a 177 156 160 207 292 364 423 490 568

R-404A + R-507 598 802 730 484 162 0 0 0 0

Low GWP 0 0 143 443 791 1050 1218 1413 1637

HFC-134a 645 1350 1422 994 226 0 0 0 0

R-410A 5225 15599 21069 15831 4127 0 0 0 0

R-407C 3682 10489 13569 11080 4215 0 0 0 0

Low GWP 0 0 8033 29758 54944 76106 88228 102281 118572

HFC-134a 51942 50737 41871 25932 8755 0 0 0 0

Low GWP 0 0 7767 25500 46057 62122 72017 83487 96785

HFC-134a 4 2 2 1 1 1 1 0 0

HC-600a 0 0 0 0 0 1 1 1 1

HFC-134a 229 587 1735 1624 1210 977 1133 1312 1522

R-404A + R-507 8299 13065 9645 4983 1535 57 0 0 0

Low GWP 0 0 1442 6096 11492 15270 17702 20521 23790

HFC-134a 714 716 730 749 772 808 864 942 1042

R-404A + R-507 258 323 338 277 159 126 162 156 123

Low GWP 4237 5014 6256 7850 9749 11896 14208 16698 19541

HFC-134a 177 156 160 207 292 364 423 490 568

R-404A + R-507 598 802 783 531 209 23 0 0 0

Low GWP 0 0 120 396 744 1027 1218 1413 1637

HFC-134a 645 1350 1422 994 226 0 0 0 0

R-410A 5225 15599 26146 26474 14768 1761 0 0 0

R-407C 3682 10489 15381 14906 8041 2012 0 0 0

Low GWP 0 0 1561 16110 41296 68930 88228 102281 118572

HFC-134a 51942 50737 43852 29702 12514 1943 0 0 0

Low GWP 0 0 5939 21730 42287 60179 72017 83487 96785

nA5 BAU

nA5 MIT-3

nA5 MIT-5

Domestic

Commercial

Industrial

Transport

SAC

MAC

Domestic

Commercial

Industrial

Transport

SAC

MAC

Domestic

Commercial

Industrial

Transport

SAC

MAC


Table A6-4:  Demand in ktonnes CO2-eq.for new manufacturing plus servicing (total demand) for non-Article 5 Parties for the period 2010-2050 and for the six major sub-sectors for the BAU, MIT-3 and MIT-5 scenarios
             [image: image36.emf]In ktonnes CO2 equivalents (new manufacturing plus servicing)

2010 2015 2020 2025 2030 2035 2040 2045 2050

HFC-134a 2438 1887 1244 1240 1120 1298 1505 1745 2022

HC-600a 7 8 11 16 23 27 31 36 42

HFC-134a 2933 3084 3120 3113 2735 2617 3034 3517 4077

R-404A + R-507 60388 63498 46975 29512 22379 21555 24988 28968 33582

Low GWP 0 0 1312 2764 4196 5519 6398 7417 8598

HFC-134a 1353 1447 1492 1544 1603 1746 1930 2159 2437

R-404A + R-507 2375 2926 1935 1491 858 761 849 800 700

Low GWP 1 2 103 99 63 55 38 35 41

HFC-134a 289 277 393 483 629 761 882 1023 1186

R-404A + R-507 4634 6066 3614 3283 2780 2468 2316 2140 1936

Low GWP 0 0 167 227 304 394 498 619 759

HFC-134a 5241 5808 1848 1293 294 0 0 0 0

R-410A 75619 148520 180922 218882 252133 291774 338246 392120 454575

R-407C 18135 43419 42399 49165 50816 53328 56522 60225 64518

Low GWP 0 0 1315 2040 2855 3801 4897 6167 7640

HFC-134a 90571 88867 62952 49554 35762 31934 37020 42916 49752

Low GWP 0 0 18 33 50 64 74 86 99

HFC-134a 2438 1887 2 2 1 0 0 0 0

HC-600a 7 8 30 35 40 47 54 63 73

HFC-134a 2933 3084 3120 3113 2735 2617 3034 3517 4077

R-404A + R-507 60388 63498 40703 16597 2999 0 0 0 0

Low GWP 0 0 1788 3745 5669 7156 8296 9617 11149

HFC-134a 1353 1447 1492 1544 1603 1746 1930 2159 2437

R-404A + R-507 2375 2926 1267 862 478 347 393 298 143

Low GWP 1 2 154 146 92 86 72 74 83

HFC-134a 289 277 393 483 629 761 882 1023 1186

R-404A + R-507 4634 6066 2876 1908 638 0 0 0 0

Low GWP 0 0 223 331 467 582 675 782 907

HFC-134a 5241 5808 1848 1293 294 0 0 0 0

R-410A 75619 148520 42886 30396 7923 0 0 0 0

R-407C 18135 43419 22525 17949 6828 0 0 0 0

Low GWP 0 0 27754 38866 51190 63066 73111 84756 98255

HFC-134a 90571 88867 54432 33712 11367 0 0 0 0

Low GWP 0 0 25 45 69 88 102 119 138

HFC-134a 2438 1887 1244 2 1 1 1 0 0

HC-600a 7 8 11 35 40 47 54 63 73

HFC-134a 2933 3084 3120 3113 2735 2617 3034 3517 4077

R-404A + R-507 60388 63498 46975 19659 6060 227 0 0 0

Low GWP 0 0 1407 3745 5669 7156 8296 9617 11149

HFC-134a 1353 1447 1492 1544 1603 1746 1930 2159 2437

R-404A + R-507 2375 2926 1935 1012 627 496 638 613 483

Low GWP 1 2 103 135 81 75 54 50 58

HFC-134a 289 277 393 483 629 761 882 1023 1186

R-404A + R-507 4634 6066 3437 2092 822 92 0 0 0

Low GWP 0 0 180 317 453 575 675 782 907

HFC-134a 5241 5808 1848 1293 294 0 0 0 0

R-410A 75619 148520 180922 50829 28354 9915 0 0 0

R-407C 18135 43419 42399 24148 13027 3260 0 0 0

Low GWP 0 0 2631 34771 47095 60914 73111 84756 98255

HFC-134a 90571 88867 62952 38613 16269 2526 0 0 0

Low GWP 0 0 18 41 65 86 102 119 138

nA5 MIT-5

nA5 BAU

nA5 MIT-3

Domestic

Commercial

Industrial

Transport

SAC

MAC

Domestic

Commercial

Industrial

Transport

SAC

MAC

Domestic

Commercial

Industrial

Transport

SAC

MAC


Table A6-5  Demand in ktonnes CO2-eq. for new manufacturing only for non-Article 5 Parties for the period 2010-2050 and for the six major sub-sectors for the BAU, MIT-3 and MIT-5 scenarios
[image: image37.emf]In ktonnes CO2 equivalents (new manufacturing)

2010 2015 2020 2025 2030 2035 2040 2045 2050

HFC-134a 2434 1883 1241 1238 1119 1297 1503 1743 2021

HC-600a 7 8 11 16 23 27 31 36 42

HFC-134a 2635 2321 865 1002 1162 1347 1562 1810 2099

R-404A + R-507 27645 11962 8932 7063 8187 9491 11003 12756 14787

Low GWP 0 0 974 1380 1600 1855 2150 2492 2889

HFC-134a 424 516 543 570 600 695 806 934 1083

R-404A + R-507 1359 1653 604 383 65 75 87 101 117

Low GWP 1 1 88 58 11 13 15 18 21

HFC-134a 58 74 184 214 248 287 333 386 448

R-404A + R-507 2278 2907 350 516 598 693 803 931 1079

Low GWP 0 0 145 159 185 214 248 288 334

HFC-134a 4403 4053 0 0 0 0 0 0 0

R-410A 65586 118570 130720 151541 175677 203658 236095 273699 317293

R-407C 12171 26428 17481 20007 23194 26888 31170 36135 41890

Low GWP 0 0 1081 1277 1481 1717 1990 2307 2675

HFC-134a 23046 22908 5944 7059 8183 9486 10997 12749 14780

Low GWP 0 0 12 14 16 19 22 25 30

HFC-134a 2434 1883 0 0 0 0 0 0 0

HC-600a 7 8 30 35 40 47 54 63 73

HFC-134a 2635 2321 865 1002 1162 1347 1562 1810 2099

R-404A + R-507 27645 11962 3906 0 0 0 0 0 0

Low GWP 0 0 1356 1916 2221 2575 2985 3461 4012

HFC-134a 424 516 543 570 600 695 806 934 1083

R-404A + R-507 1359 1653 17 0 0 0 0 0 0

Low GWP 1 1 132 87 16 19 22 26 30

HFC-134a 58 74 184 214 248 287 333 386 448

R-404A + R-507 2278 2907 0 0 0 0 0 0 0

Low GWP 0 0 180 199 230 267 309 359 416

HFC-134a 4403 4053 0 0 0 0 0 0 0

R-410A 65586 118570 2434 0 0 0 0 0 0

R-407C 12171 26428 543 0 0 0 0 0 0

Low GWP 0 0 25344 29938 34707 40234 46643 54072 62684

HFC-134a 23046 22908 0 0 0 0 0 0 0

Low GWP 0 0 17 20 23 26 30 35 41

HFC-134a 2434 1883 1241 0 0 0 0 0 0

HC-600a 7 8 11 35 40 47 54 63 73

HFC-134a 2635 2321 865 1002 1162 1347 1562 1810 2099

R-404A + R-507 27645 11962 8932 0 0 0 0 0 0

Low GWP 0 0 974 1916 2221 2575 2985 3461 4012

HFC-134a 424 516 543 570 600 695 806 934 1083

R-404A + R-507 1359 1653 604 0 0 0 0 0 0

Low GWP 1 1 88 87 16 19 22 26 30

HFC-134a 58 74 184 214 248 287 333 386 448

R-404A + R-507 2278 2907 350 0 0 0 0 0 0

Low GWP 0 0 145 199 230 267 309 359 416

HFC-134a 4403 4053 0 0 0 0 0 0 0

R-410A 65586 118570 130720 0 0 0 0 0 0

R-407C 12171 26428 17481 0 0 0 0 0 0

Low GWP 0 0 2163 29938 34707 40234 46643 54072 62684

HFC-134a 23046 22908 5944 0 0 0 0 0 0

Low GWP 0 0 12 20 23 26 30 35 41

nA5 MIT-5

nA5 BAU

nA5 MIT-3

Domestic

Commercial

Industrial

Transport

SAC

MAC

Domestic

Commercial

Industrial

Transport

SAC

MAC

Domestic

Commercial

Industrial

Transport

SAC

MAC


Table A6-6:  Demand in ktonnes CO2-eq. for servicing only for non-Article 5 Parties for the period 2010-2050 and for the six major sub-sectors for the BAU, MIT-3 and MIT-5 scenarios
[image: image38.emf]In ktonnes CO2 equivalents (servicing)

2010 2015 2020 2025 2030 2035 2040 2045 2050

HFC-134a 4 4 3 2 1 1 2 2 1

HC-600a 0 0 0 0 0 0 0 0 0

HFC-134a 298 763 2255 2111 1573 1270 1472 1707 1978

R-404A + R-507 32743 51536 38043 22449 14192 12064 13985 16212 18795

Low GWP 0 0 338 1384 2596 3664 4248 4925 5709

HFC-134a 929 931 949 974 1003 1051 1124 1225 1354

R-404A + R-507 1016 1273 1331 1108 793 686 762 699 583

Low GWP 0 1 15 41 52 42 23 17 20

HFC-134a 231 203 209 269 381 474 549 637 738

R-404A + R-507 2356 3159 3264 2767 2182 1775 1513 1209 857

Low GWP 0 0 22 68 119 180 250 331 425

HFC-134a 838 1755 1848 1293 294 0 0 0 0

R-410A 10033 29950 50202 67341 76456 88116 102151 118421 137282

R-407C 5964 16991 24918 29158 27622 26440 25352 24090 22628

Low GWP 0 0 234 763 1374 2084 2907 3860 4965

HFC-134a 67525 65959 57008 42495 27579 22448 26023 30167 34972

Low GWP 0 0 6 19 34 45 52 61 69

HFC-134a 4 4 2 2 1 0 0 0 0

HC-600a 0 0 0 0 0 0 0 0 0

HFC-134a 298 763 2255 2111 1573 1270 1472 1707 1978

R-404A + R-507 32743 51536 36797 16597 2999 0 0 0 0

Low GWP 0 0 432 1829 3448 4581 5311 6156 7137

HFC-134a 929 931 949 974 1003 1051 1124 1225 1354

R-404A + R-507 1016 1273 1250 862 478 347 393 298 143

Low GWP 0 1 22 59 76 67 50 48 53

HFC-134a 231 203 209 269 381 474 549 637 738

R-404A + R-507 2356 3159 2876 1908 638 0 0 0 0

Low GWP 0 0 43 132 237 315 366 423 491

HFC-134a 838 1755 1848 1293 294 0 0 0 0

R-410A 10033 29950 40452 30396 7923 0 0 0 0

R-407C 5964 16991 21982 17949 6828 0 0 0 0

Low GWP 0 0 2410 8928 16483 22832 26468 30684 35571

HFC-134a 67525 65959 54432 33712 11367 0 0 0 0

Low GWP 0 0 8 25 46 62 72 84 97

HFC-134a 4 4 3 2 1 1 1 0 0

HC-600a 0 0 0 0 0 0 0 0 0

HFC-134a 298 763 2255 2111 1573 1270 1472 1707 1978

R-404A + R-507 32743 51536 38043 19659 6060 227 0 0 0

Low GWP 0 0 433 1829 3448 4581 5311 6156 7137

HFC-134a 929 931 949 974 1003 1051 1124 1225 1354

R-404A + R-507 1016 1273 1331 1012 627 496 638 613 483

Low GWP 0 1 15 48 65 56 32 24 28

HFC-134a 231 203 209 269 381 474 549 637 738

R-404A + R-507 2356 3159 3087 2092 822 92 0 0 0

Low GWP 0 0 35 118 223 308 366 423 491

HFC-134a 838 1755 1848 1293 294 0 0 0 0

R-410A 10033 29950 50202 50829 28354 9915 0 0 0

R-407C 5964 16991 24918 24148 13027 3260 0 0 0

Low GWP 0 0 468 4833 12388 20680 26468 30684 35571

HFC-134a 67525 65959 57008 38613 16269 2526 0 0 0

Low GWP 0 0 6 21 42 60 72 84 97

nA5 MIT-5

nA5 BAU

nA5 MIT-3

Domestic

Commercial

Industrial

Transport

SAC

MAC

Domestic

Commercial

Industrial

Transport

SAC

MAC

Domestic

Commercial

Industrial

Transport

SAC

MAC


Table A6-7:  Demand in tonnes for servicing and new manufacturing (total demand) for Article 5 Parties for the period 2010-2050 for the six major sub-sectors and for the BAU, MIT-3 and MIT-5 scenarios

[image: image39.emf]In tonnes (new manufacturing plus servicing)

2010 2015 2020 2025 2030 2035 2040 2045 2050

Domestic HFC-134a 12941 13329 15333 18242 21634 26893 33468 41682 51935

HC-600a 3083 5747 10141 15684 23446 29496 36965 46197 57613

Commercial HFC-134a 2743 5089 9356 11910 15018 18781 23404 29166 36346

R-404A + R-507 11343 31391 55505 97823 148283 198343 255658 320891 399889

Low GWP 0 0 0 0 0 0 0 0 0

Industrial HFC-134a 720 1320 2255 3730 6074 8301 10829 13737 17118

R-404A + R-507 599 3132 6266 10969 15212 20001 25495 31870 39332

Low GWP 19347 23571 28991 36291 46469 56461 67842 81380 97596

Transport HFC-134a 544 1075 1982 2608 3104 3798 4521 5424 6697

R-404A + R-507 1143 1881 2192 3135 4195 5235 6592 8316 10393

Low GWP 0 0 0 0 0 0 0 0 0

SAC HFC-134a 1091 2315 4556 5849 7087 8173 8961 9609 10338

R-410A 40975 106661 192770 284682 364845 427266 479588 524488 566180

R-407C 16543 55278 101216 174433 285500 372998 457406 532391 587361

Low GWP 0 0 0 0 0 0 0 0 0

MAC HFC-134a 36354 51396 66680 84928 108190 138081 176230 224919 287060

Low GWP 0 0 0 0 0 0 0 0 0

Domestic HFC-134a 12941 13329 12953 1296 549 333 94 0 0

HC-600a 3083 5747 12521 32630 44531 56056 70339 87879 109548

Commercial HFC-134a 2743 5089 9356 11910 15018 18781 23404 29166 36346

R-404A + R-507 11343 31391 50015 30001 9356 1285 0 0 0

Low GWP 0 0 5490 67822 140098 197058 255658 320891 399889

Industrial HFC-134a 720 1320 2255 3730 6074 8301 10829 13737 17118

R-404A + R-507 599 3132 5774 4392 2883 1131 1412 3306 5077

Low GWP 19347 23571 29484 42868 58798 75331 91924 109944 131850

Transport HFC-134a 544 1075 1982 2608 3104 3798 4521 5424 6697

R-404A + R-507 1143 1881 1976 1265 928 554 164 0 0

Low GWP 0 0 216 1871 3267 4680 6428 8316 10393

SAC HFC-134a 1091 2315 4556 5849 7087 8173 8961 9609 10338

R-410A 40975 106661 170273 65015 18972 13467 4267 0 0

R-407C 16543 55278 92804 58029 20684 13059 4411 0 0

Low GWP 0 0 30909 336071 610690 773737 928316 1056879 1153541

MAC HFC-134a 36354 51396 59636 22153 6375 0 0 0 0

Low GWP 0 0 7044 62775 101815 138081 176230 224919 287060

Domestic HFC-134a 12941 13329 15333 15442 1541 636 389 111 0

HC-600a 3083 5747 10141 18484 43539 55752 70044 87768 109548

Commercial HFC-134a 2743 5089 9356 11910 15018 18781 23404 29166 36346

R-404A + R-507 11343 31391 55505 88798 45752 23639 7810 0 0

Low GWP 0 0 0 9024 102531 174704 247847 320891 399889

Industrial HFC-134a 720 1320 2255 3730 6074 8301 10829 13737 17118

R-404A + R-507 599 3132 6266 10200 7134 5289 2973 3306 5077

Low GWP 19347 23571 28991 37060 54546 71173 90363 109944 131850

Transport HFC-134a 544 1075 1982 2608 3104 3798 4521 5424 6697

R-404A + R-507 1143 1881 2192 2860 1577 1066 662 209 0

Low GWP 0 0 0 275 2618 4169 5930 8108 10393

SAC HFC-134a 1091 2315 4556 5849 7087 8173 8961 9609 10338

R-410A 40975 106661 192770 254067 104162 83830 55193 16085 0

R-407C 16543 55278 101216 160942 108166 30160 21180 7194 0

Low GWP 0 0 0 44105 438017 686274 860621 1033601 1153541

MAC HFC-134a 36354 51396 66680 76006 28027 4843 0 0 0

Low GWP 0 0 0 8922 80163 133238 176230 224919 287060

A5 BAU

A5 MIT-3

A5 MIT-5


Table A6-8:  Demand in tonnes for new manufacturing only for Article 5 Parties for the period 2010-2050 for the six major sub-sectors and for the BAU, MIT-3 and MIT-5 scenarios

[image: image40.emf]In tonnes (new manufacturing)

2010 2015 2020 2025 2030 2035 2040 2045 2050

Domestic HFC-134a 11234 12812 14610 17323 20540 25597 31899 39751 49537

HC-600a 2622 5557 9740 14957 22252 27730 34557 43064 53666

Commercial HFC-134a 2617 4779 8726 10874 13551 16887 21045 26225 32682

R-404A + R-507 9216 20804 31030 52412 76790 95695 119253 148611 185196

Low GWP 0 0 0 0 0 0 0 0 0

Industrial HFC-134a 406 650 1040 1663 2661 3191 3827 4590 5504

R-404A + R-507 238 1613 2532 3972 4435 5319 6379 7649 9173

Low GWP 3305 4242 5579 7566 10645 12766 15309 18358 22015

Transport HFC-134a 321 551 948 964 981 1223 1524 1899 2367

R-404A + R-507 877 1241 1158 1660 2290 2853 3556 4431 5522

Low GWP 0 0 0 0 0 0 0 0 0

SAC HFC-134a 862 1587 2923 3072 3229 3478 3747 4036 4348

R-410A 34583 82577 134702 178540 206625 222594 239796 258329 278294

R-407C 6107 26645 43128 69810 112998 121731 131139 141274 152192

Low GWP 0 0 0 0 0 0 0 0 0

MAC HFC-134a 25061 32577 40822 52100 66495 84866 108313 138238 176430

Low GWP 0 0 0 0 0 0 0 0 0

Domestic HFC-134a 11234 12812 12238 580 0 0 0 0 0

HC-600a 2622 5557 12112 31700 42792 53327 66455 82815 103203

Commercial HFC-134a 2617 4779 8726 10874 13551 16887 21045 26225 32682

R-404A + R-507 9216 20804 26172 4495 0 0 0 0 0

Low GWP 0 0 4858 47916 76790 95695 119253 148611 185196

Industrial HFC-134a 406 650 1040 1663 2661 3191 3827 4590 5504

R-404A + R-507 238 1613 2132 230 0 0 0 0 0

Low GWP 3305 4242 5979 11308 15080 18085 21687 26007 31188

Transport HFC-134a 321 551 948 964 981 1223 1524 1899 2367

R-404A + R-507 877 1241 956 110 0 0 0 0 0

Low GWP 0 0 203 1551 2290 2853 3556 4431 5522

SAC HFC-134a 862 1587 2923 3072 3229 3478 3747 4036 4348

R-410A 34583 82577 113983 10182 0 0 0 0 0

R-407C 6107 26645 36495 3981 0 0 0 0 0

Low GWP 0 0 27353 234187 319623 344324 370935 399603 430485

MAC HFC-134a 25061 32577 34293 2481 0 0 0 0 0

Low GWP 0 0 6529 49619 66495 84866 108313 138238 176430

Domestic HFC-134a 11234 12812 14610 14533 688 0 0 0 0

HC-600a 2622 5557 9740 17747 42104 53327 66455 82815 103203

Commercial HFC-134a 2617 4779 8726 10874 13551 16887 21045 26225 32682

R-404A + R-507 9216 20804 31030 44426 5149 0 0 0 0

Low GWP 0 0 0 7986 71642 95695 119253 148611 185196

Industrial HFC-134a 406 650 1040 1663 2661 3191 3827 4590 5504

R-404A + R-507 238 1613 2532 3348 0 0 0 0 0

Low GWP 3305 4242 5579 8190 15080 18085 21687 26007 31188

Transport HFC-134a 321 551 948 964 981 1223 1524 1899 2367

R-404A + R-507 877 1241 1158 1402 137 0 0 0 0

Low GWP 0 0 0 258 2152 2853 3556 4431 5522

SAC HFC-134a 862 1587 2923 3072 3229 3478 3747 4036 4348

R-410A 34583 82577 134702 150481 9255 0 0 0 0

R-407C 6107 26645 43128 58838 5061 0 0 0 0

Low GWP 0 0 0 39031 305306 344324 370935 399603 430485

MAC HFC-134a 25061 32577 40822 43830 3166 0 0 0 0

Low GWP 0 0 0 8270 63328 84866 108313 138238 176430

A5 BAU

A5 MIT-3

A5 MIT-5


Table: A6-9  Demand in tonnes for servicing only for Article 5 Parties for the period 2010-2050 for the six major sub-sectors and for the BAU, MIT-3 and MIT-5 scenarios

[image: image41.emf]In tonnes (servicing)

2010 2015 2020 2025 2030 2035 2040 2045 2050

Domestic HFC-134a 1707 517 723 919 1094 1296 1569 1931 2398

HC-600a 461 190 401 727 1194 1766 2408 3133 3947

Commercial HFC-134a 126 310 630 1036 1467 1894 2359 2941 3664

R-404A + R-507 2127 10587 24475 45411 71493 102648 136405 172280 214693

Low GWP 0 0 0 0 0 0 0 0 0

Industrial HFC-134a 314 670 1215 2067 3413 5110 7002 9147 11614

R-404A + R-507 361 1519 3734 6997 10777 14682 19116 24221 30159

Low GWP 16042 19329 23412 28725 35824 43695 52533 63022 75581

Transport HFC-134a 223 524 1034 1644 2123 2575 2997 3525 4330

R-404A + R-507 266 640 1034 1475 1905 2382 3036 3885 4871

Low GWP 0 0 0 0 0 0 0 0 0

Industrial HFC-134a 229 728 1633 2777 3858 4695 5214 5573 5990

R-410A 6392 24084 58068 106142 158220 204672 239792 266159 287886

R-407C 10436 28633 58088 104623 172502 251267 326267 391117 435169

Low GWP 0 0 0 0 0 0 0 0 0

MAC HFC-134a 11293 18819 25858 32828 41695 53215 67917 86681 110630

Low GWP 0 0 0 0 0 0 0 0 0

Domestic HFC-134a 1707 517 715 716 549 333 94 0 0

HC-600a 461 190 409 930 1739 2729 3884 5064 6345

Commercial HFC-134a 126 310 630 1036 1467 1894 2359 2941 3664

R-404A + R-507 2127 10587 23843 25506 9356 1285 0 0 0

Low GWP 0 0 632 19906 63308 101363 136405 172280 214693

Industrial HFC-134a 314 670 1215 2067 3413 5110 7002 9147 11614

R-404A + R-507 361 1519 3642 4162 2883 1131 1412 3306 5077

Low GWP 16042 19329 23505 31560 43718 57246 70237 83937 100662

Transport HFC-134a 223 556 1217 2073 2825 2825 2825 2825 2825

R-404A + R-507 266 684 1159 962 0 0 0 0 0

Low GWP 0 0 33 853 2535 2535 2535 2535 2535

SAC HFC-134a 229 728 1633 2777 3858 4695 5214 5573 5990

R-410A 6392 24084 56290 54833 18972 13467 4267 0 0

R-407C 10436 28633 56309 54048 20684 13059 4411 0 0

Low GWP 0 0 3556 101884 291067 429413 557381 657276 723056

MAC HFC-134a 11293 18819 25343 19672 6375 0 0 0 0

Low GWP 0 0 515 13156 35320 53215 67917 86681 110630

Domestic HFC-134a 1707 517 723 909 853 636 389 111 0

HC-600a 461 190 401 737 1435 2425 3589 4953 6345

Commercial HFC-134a 126 310 630 1036 1467 1894 2359 2941 3664

R-404A + R-507 2127 10587 24475 44372 40603 23639 7810 0 0

Low GWP 0 0 0 1038 30889 79009 128594 172280 214693

Industrial HFC-134a 314 670 1215 2067 3413 5110 7002 9147 11614

R-404A + R-507 361 1519 3734 6852 7134 5289 2973 3306 5077

Low GWP 16042 19329 23412 28870 39466 53088 68676 83937 100662

Transport HFC-134a 223 524 1034 1644 2123 2575 2997 3525 4330

R-404A + R-507 266 640 1034 1458 1440 1066 662 209 0

Low GWP 0 0 0 17 466 1316 2374 3677 4871

Industrial HFC-134a 229 728 1633 2777 3858 4695 5214 5573 5990

R-410A 6392 24084 58068 103586 94907 83830 55193 16085 0

R-407C 10436 28633 58088 102104 103105 30160 21180 7194 0

Low GWP 0 0 0 5074 132711 341950 489686 633998 723056

MAC HFC-134a 11293 18819 25858 32176 24861 4843 0 0 0

Low GWP 0 0 0 652 16835 48372 67917 86681 110630

A5 BAU

A5 MIT-3

A5 MIT-5


Table A6-10:  Demand in ktonnes CO2-eq. for new manufacturing plus servicing (total demand) for Article 5 Parties for the period 2010-2050 and for the six major sub-sectors for the BAU, MIT-3 and MIT-5 scenarios

[image: image42.emf]In ktonnes CO2 equivalents (new manufacturing plus servicing)

2010 2015 2020 2025 2030 2035 2040 2045 2050

Domestic HFC-134a 16823 17327 19933 23715 28125 34960 43509 54186 67516

HC-600a 62 115 203 314 469 590 739 924 1152

Commercial HFC-134a 3566 6615 12162 15484 19524 24415 30425 37915 47250

R-404A + R-507 44723 123759 218844 385658 584559 781886 1007810 1264957 1576367

Low GWP 0 0 0 0 0 0 0 0 0

Industrial HFC-134a 937 1716 2931 4849 7896 10792 14078 17858 22253

R-404A + R-507 2359 12341 24689 43217 59936 78802 100448 125566 154966

Low GWP 1 1 3 5 9 11 13 16 19

Transport HFC-134a 707 1398 2577 3390 4035 4938 5877 7051 8706

R-404A + R-507 4502 7411 8635 12354 16530 20625 25937 32766 40950

Low GWP 0 0 0 0 0 0 0 0 0

SAC HFC-134a 1418 3009 5923 7603 9213 10624 11649 12492 13440

R-410A 78671 204789 370118 546589 700502 820350 920809 1007017 1087066

R-407C 26799 89550 163971 282581 462511 604256 740997 862474 951525

Low GWP 0 0 0 0 0 0 0 0 0

MAC HFC-134a 47261 66815 86684 110406 140647 179505 229099 292395 373178

Low GWP 0 0 0 0 0 0 0 0 0

Domestic HFC-134a 16823 17327 16839 1685 714 432 122 0 0

HC-600a 62 115 250 653 891 1121 1407 1758 2191

Commercial HFC-134a 3566 6615 12162 15484 19524 24415 30425 37915 47250

R-404A + R-507 44723 123759 197206 118371 32484 5078 0 0 0

Low GWP 0 0 1647 20347 42029 59117 76697 96267 119967

Industrial HFC-134a 937 1716 2931 4849 7896 10792 14078 17858 22253

R-404A + R-507 2359 12341 22749 17303 11359 4454 5564 13024 20005

Low GWP 1 1 150 1078 3707 5672 7238 8585 10295

Transport HFC-134a 707 1398 2577 3390 4035 4938 5877 7051 8706

R-404A + R-507 4502 7411 7785 4984 3657 2184 646 0 0

Low GWP 0 0 68 648 980 1404 1928 2495 3118

SAC HFC-134a 1418 3009 5923 7603 9213 10624 11649 12492 13440

R-410A 78671 204789 326924 124828 36425 25856 8192 0 0

R-407C 26799 89550 150343 94007 33508 21156 7146 0 0

Low GWP 0 0 9273 100821 183207 232121 278495 317064 346062

MAC HFC-134a 47261 66815 77527 28799 8288 0 0 0 0

Low GWP 0 0 7 63 102 138 176 225 287

Domestic HFC-134a 16823 17327 19933 20074 2003 827 506 144 0

HC-600a 62 115 203 370 871 1115 1401 1755 2191

Commercial HFC-134a 3566 6615 12162 15484 19524 24415 30425 37915 47250

R-404A + R-507 44723 123759 218844 350091 180501 93204 30793 0 0

Low GWP 0 0 0 2707 30759 52411 74354 96267 119967

Industrial HFC-134a 937 1716 2931 4849 7896 10792 14078 17858 22253

R-404A + R-507 2359 12341 24689 40190 28109 20839 11712 13024 20005

Low GWP 1 1 3 235 2432 4424 6770 8585 10295

Transport HFC-134a 707 1398 2577 3390 4035 4938 5877 7051 8706

R-404A + R-507 4502 7411 8635 11269 6214 4200 2610 822 0

Low GWP 0 0 0 83 785 1251 1779 2432 3118

SAC HFC-134a 1418 3009 5923 7603 9213 10624 11649 12492 13440

R-410A 78671 204789 370118 487808 199992 160953 105970 30882 0

R-407C 26799 89550 163971 260727 175229 48859 34312 11654 0

Low GWP 0 0 0 13232 131405 205882 258186 310080 346062

MAC HFC-134a 47261 66815 86684 98808 36435 6296 0 0 0

Low GWP 0 0 0 9 80 133 176 225 287

A5 MIT-5

A5 BAU

A5 MIT-3


Table A6-11:  Demand in ktonnes CO2-eq. for new manufacturing only for Article 5 Parties for the period 2010-2050 and for the six major sub-sectors for the BAU, MIT-3 and MIT-5 scenarios

[image: image43.emf]In ktonnes CO2 equivalents (new manufacturing)

2010 2015 2020 2025 2030 2035 2040 2045 2050

Domestic HFC-134a 14993 16655 18993 22520 26702 33276 41468 51677 64399

HC-600a 52 111 195 299 445 555 691 861 1073

Commercial HFC-134a 3402 6213 11344 14136 17617 21953 27358 34093 42486

R-404A + R-507 36328 81998 122316 206575 302644 377150 469997 585702 729891

Low GWP 0 0 0 0 0 0 0 0 0

Industrial HFC-134a 528 845 1352 2162 3460 4149 4975 5966 7155

R-404A + R-507 937 6354 9976 15650 17476 20957 25131 30138 36141

Low GWP 0 1 1 2 4 5 6 8 9

Transport HFC-134a 417 717 1232 1254 1276 1590 1981 2469 3077

R-404A + R-507 3455 4891 4564 6542 9022 11243 14010 17460 21758

Low GWP 0 0 0 0 0 0 0 0 0

SAC HFC-134a 1121 2063 3800 3993 4197 4521 4871 5247 5653

R-410A 66400 158547 258628 342797 396720 427380 460409 495991 534324

R-407C 9893 43164 69868 113092 183057 197204 212445 228863 246551

Low GWP 0 0 0 0 0 0 0 0 0

MAC HFC-134a 32579 42350 53069 67730 86443 110326 140807 179709 229359

Low GWP 0 0 0 0 0 0 0 0 0

Domestic HFC-134a 14604 16655 15910 754 0 0 0 0 0

HC-600a 52 111 242 634 856 1067 1329 1656 2064

Commercial HFC-134a 3402 6213 11344 14136 17617 21953 27358 34093 42486

R-404A + R-507 36328 81998 103166 17714 0 0 0 0 0

Low GWP 0 0 1457 14375 23037 28708 35776 44583 55559

Industrial HFC-134a 528 845 1352 2162 3460 4149 4975 5966 7155

R-404A + R-507 937 6354 8401 908 0 0 0 0 0

Low GWP 0 1 1221 1125 1335 1601 1920 2302 2761

Transport HFC-134a 417 717 1232 1254 1276 1590 1981 2469 3077

R-404A + R-507 3455 4891 3766 432 0 0 0 0 0

Low GWP 0 0 61 465 687 856 1067 1329 1657

SAC HFC-134a 1121 2063 3800 3993 4197 4521 4871 5247 5653

R-410A 66400 158547 218847 19549 0 0 0 0 0

R-407C 9893 43164 59121 6449 0 0 0 0 0

Low GWP 0 0 8206 70256 95887 103297 111281 119881 129146

MAC HFC-134a 32579 42350 44581 3225 0 0 0 0 0

Low GWP 0 0 7 50 66 85 108 138 176

Domestic HFC-134a 14604 16655 18994 18893 894 0 0 0 0

HC-600a 52 111 195 355 842 1067 1329 1656 2064

Commercial HFC-134a 3402 6213 11344 14136 17617 21953 27358 34093 42486

R-404A + R-507 36328 81998 122316 175098 20289 0 0 0 0

Low GWP 0 0 0 2396 21493 28708 35776 44583 55559

Industrial HFC-134a 528 845 1352 2162 3460 4149 4975 5966 7155

R-404A + R-507 937 6354 9976 13193 0 0 0 0 0

Low GWP 0 1 1 190 1335 1601 1920 2302 2761

Transport HFC-134a 417 717 1232 1254 1276 1590 1981 2469 3077

R-404A + R-507 3455 4891 4564 5524 542 0 0 0 0

Low GWP 0 0 0 78 646 856 1067 1329 1657

SAC HFC-134a 1121 2063 3800 3993 4197 4521 4871 5247 5653

R-410A 66400 158547 258628 288923 19076 0 0 0 0

R-407C 9893 43164 69868 95318 8802 0 0 0 0

Low GWP 0 0 0 11709 91276 103297 111281 119881 129146

MAC HFC-134a 32579 42350 53069 56980 4116 0 0 0 0

Low GWP 0 0 0 8 63 85 108 138 176

A5 MIT-5

A5 BAU

A5 MIT-3


Table A6-12:  Demand in ktonnes CO2-eq. for servicing only for Article 5 Parties for the period 2010-2050 and for the six major sub-sectors for the BAU, MIT-3 and MIT-5 scenarios

[image: image44.emf]In ktonnes CO2 equivalents (servicing)

2010 2015 2020 2025 2030 2035 2040 2045 2050

Domestic HFC-134a 1830 672 940 1195 1423 1684 2041 2509 3117

HC-600a 10 4 8 15 24 35 48 63 79

Commercial HFC-134a 164 402 818 1348 1907 2462 3067 3822 4764

R-404A + R-507 8395 41761 96528 179083 281915 404736 537813 679255 846476

Low GWP 0 0 0 0 0 0 0 0 0

Industrial HFC-134a 409 871 1579 2687 4436 6643 9103 11892 15098

R-404A + R-507 1422 5987 14713 27567 42460 57845 75317 95428 118825

Low GWP 1 0 2 3 5 6 7 8 10

Transport HFC-134a 290 681 1345 2136 2759 3348 3896 4582 5629

R-404A + R-507 1047 2520 4071 5812 7508 9382 11927 15306 19192

Low GWP 0 0 0 0 0 0 0 0 0

SAC HFC-134a 297 946 2123 3610 5016 6103 6778 7245 7787

R-410A 12271 46242 111490 203792 303782 392970 460400 511026 552742

R-407C 16906 46386 94103 169489 279454 407052 528552 633611 704974

Low GWP 0 0 0 0 0 0 0 0 0

MAC HFC-134a 14682 24465 33615 42676 54204 69179 88292 112686 143819

Low GWP 0 0 0 0 0 0 0 0 0

Domestic HFC-134a 2219 672 929 931 714 432 122 0 0

HC-600a 10 4 8 19 35 54 78 102 127

Commercial HFC-134a 164 402 818 1348 1907 2462 3067 3822 4764

R-404A + R-507 8395 41761 94040 100657 32484 5078 0 0 0

Low GWP 0 0 190 5972 18992 30409 40921 51684 64408

Industrial HFC-134a 409 871 1579 2687 4436 6643 9103 11892 15098

R-404A + R-507 1422 5987 14348 16395 11359 4454 5564 13024 20005

Low GWP 1 0 -1071 -47 2372 4071 5318 6283 7534

Transport HFC-134a 290 681 1345 2136 2759 3348 3896 4582 5629

R-404A + R-507 1047 2520 4019 4552 3657 2184 646 0 0

Low GWP 0 0 7 183 293 548 861 1166 1461

SAC HFC-134a 297 946 2123 3610 5016 6103 6778 7245 7787

R-410A 12271 46242 108077 105279 36425 25856 8192 0 0

R-407C 16906 46386 91222 87558 33508 21156 7146 0 0

Low GWP 0 0 1067 30565 87320 128824 167214 197183 216916

MAC HFC-134a 14682 24465 32946 25574 8288 0 0 0 0

Low GWP 0 0 0 13 36 53 68 87 111

Domestic HFC-134a 2219 672 939 1181 1109 827 506 144 0

HC-600a 10 4 8 15 29 48 72 99 127

Commercial HFC-134a 164 402 818 1348 1907 2462 3067 3822 4764

R-404A + R-507 8395 41761 96528 174993 160212 93204 30793 0 0

Low GWP 0 0 0 311 9266 23703 38578 51684 64408

Industrial HFC-134a 409 871 1579 2687 4436 6643 9103 11892 15098

R-404A + R-507 1422 5987 14713 26997 28109 20839 11712 13024 20005

Low GWP 1 0 2 45 1097 2823 4850 6283 7534

Transport HFC-134a 290 681 1345 2136 2759 3348 3896 4582 5629

R-404A + R-507 1047 2520 4071 5745 5672 4200 2610 822 0

Low GWP 0 0 0 5 139 395 712 1103 1461

SAC HFC-134a 297 946 2123 3610 5016 6103 6778 7245 7787

R-410A 12271 46242 111490 198885 180916 160953 105970 30882 0

R-407C 16906 46386 94103 165409 166427 48859 34312 11654 0

Low GWP 0 0 0 1523 40129 102585 146905 190199 216916

MAC HFC-134a 14682 24465 33615 41828 32319 6296 0 0 0

Low GWP 0 0 0 1 17 48 68 87 111

A5 MIT-5

A5 BAU

A5 MIT-3


� These are the four main HFCs used in the R/AC (including MACs) sector; HFC-134a is also used in foams, MDIs, aerosols. 


� This section includes substantial contributions from J. Steven Brown, Ph.D., P.E., of The Catholic University of America, Washington, D.C., USA





x
March 2016 TEAP XXVII/4 Task Force Report


ix
March 2016 TEAP XXVII/4 Task Force Report


[image: image1.wmf][image: image45.png]1400000

1200000

1000000

800 000

600 000

400 000

200 000

o - o
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

BMAC ®DOMESTIC ®CommRef INDUSTRIAL WTRANSPORT MSAC




[image: image46.png]AS MITS - Total demand HFC (kt CO2)

1400000

1200000

1000000

800 000

600 000

400 000

200000

0
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

BMAC WDOMESTIC mCommRef =INDUSTRIAL BTRANSPORT M SAC




[image: image47.png]A5 MIT4 servicing demand HFC (kt CO2)

1400000

1200000

1000000

800 000

600 000

400 000

200 000

0 . .
1990 1995 2000 2005 2010 2015 2020 2025 2030 2035 2040 2045 2050

BMAC ®DOMESTIC ®CommRef ®INDUSTRIAL MTRANSPORT M SAC




